## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S22475222
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 179.2684 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.1295 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 683.89 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1752 | 0.5 | 0.03 | 0.019085 | PASS
Radius Red | 0.1752 | 0.5287 | 0.03 | 0.00086023 | PASS
Radius Green | 0.1752 | 0.5613 | 0.03 | 0.013119 | PASS
Radius Blue | 0.1752 | 0.3083 | 0.03 | 0.02587 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.078033 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 59.0732 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 57.6533 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1752 | 0.5 | 0.019085 | PASS | -0.0018 | 0.019 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4515 | 0.5287 | 0.00086023 | PASS | 0.0005 | 0.0007 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1251 | 0.5613 | 0.013119 | PASS | 0.0131 | -0.0007 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1176 | 0.3083 | 0.02587 | PASS | -0.0054 | 0.0253 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 225.4354
Point 1 | 205.2676
Point 2 | 197.8543
Point 3 | 198.4964
Point 4 | 199.7222

## Curves
CURVES
Step | Luminance | Status
1 | 0.10694 | 0
2 | 0.048537 | 0
3 | 0.077811 | 0
4 | 0.077752 | 0
5 | 0.10945 | 0
6 | 0.14882 | 0
7 | 0.069376 | 0
8 | 0.10951 | 0
9 | 0.1293 | 0
10 | 0.1293 | 0
11 | 0.16949 | 0
12 | 0.16951 | 0
13 | 0.22152 | 0
14 | 0.23988 | 0
15 | 0.11424 | 0
16 | 0.1776 | 0
17 | 0.20874 | 0
18 | 0.20874 | 0
19 | 0.2677 | 0
20 | 0.26778 | 0
21 | 0.34586 | 0
22 | 0.34557 | 0
23 | 0.4448 | 0
24 | 0.44509 | 0
25 | 0.5738 | 0
26 | 0.61583 | 0
27 | 0.30091 | 0
28 | 0.4591 | 0
29 | 0.53674 | 0
30 | 0.53703 | 0
31 | 0.68559 | 0
32 | 0.68588 | 0
33 | 0.87559 | 0
34 | 0.87413 | 0
35 | 1.124 | 0
36 | 1.121 | 0
37 | 1.4325 | 0
38 | 1.4284 | 0
39 | 1.8276 | 0
40 | 1.8323 | 0
41 | 2.3381 | 0
42 | 2.3244 | 0
43 | 2.9507 | 0
44 | 2.977 | 0
45 | 3.7592 | 0
46 | 3.7592 | 0
47 | 4.8187 | 0
48 | 4.8245 | 0
49 | 6.1379 | 0
50 | 6.0795 | 0
51 | 7.7577 | 0
52 | 7.8599 | 0
53 | 10.0168 | 0
54 | 9.7366 | 0
55 | 12.41 | 0
56 | 12.6494 | 0
57 | 16.2364 | 0
58 | 16.1663 | 0
59 | 20.0656 | 0
60 | 20.5676 | 0
61 | 26.7493 | 0
62 | 26.7143 | 0
63 | 34.5858 | 0
64 | 35.5198 | 0
65 | 18.4108 | 0
66 | 27.4089 | 0
67 | 29.8576 | 0
68 | 31.0835 | 0
69 | 33.1557 | 0
70 | 42.5829 | 0
71 | 42.5537 | 0
72 | 54.1699 | 0
73 | 54.0823 | 0
74 | 68.6463 | 0
75 | 68.9673 | 0
76 | 88.172 | 0
77 | 87.0337 | 0
78 | 112.1923 | 0
79 | 110.4995 | 0
80 | 141.4079 | 0
81 | 140.9117 | 0
82 | 205.2384 | 0
83 | 102.123 | 0
84 | 153.8413 | 0
85 | 179.3793 | 0
86 | 132.506 | 0
87 | 133.2065 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 196.7744
150 | 200 | 179.2684 | PASS | Point 1 | 179.3501
|  |  |  | Point 2 | 172.8416
|  |  |  | Point 3 | 173.0167
Uniformity Test |  |  |  | Point 4 | 174.3593
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.1295 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 196.6284 | White
100 | 683.89 | PASS | 0.28751 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.085779
0.05 | 0.1 | 0.078033 | PASS | Point 1 | 0.078161
|  |  |  | Point 2 | 0.075301
|  |  |  | Point 3 | 0.075359
|  |  |  | Point 4 | 0.075563

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 196.8327 | 75.2716 | 176.9568 | 64.5602
50 | 59.0732 | PASS | Point 1 | 179.3793 | 71.1563 | 173.542 | 67.0702
|  |  | Point 2 | 173.0459 | 69.9305 | 168.2885 | 64.4435
|  |  | Point 3 | 172.8124 | 76.7017 | 161.2838 | 59.8904
|  |  | Point 4 | 174.2717 | 74.1333 | 163.7062 | 59.0732

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 196.4825 | 75.2132 | 176.665 | 64.4726
20 | 57.6533 | PASS | Point 0 | Black | 0.28854 | 0.38555 | 0.30412 | 1.0889
|  |  | Point 1 | White | 179.4085 | 71.2147 | 173.4253 | 67.0994
|  |  | Point 1 | Black | 0.26198 | 0.34849 | 0.2942 | 1.1038
|  |  | Point 2 | White | 172.8999 | 69.9013 | 168.055 | 64.3851
|  |  | Point 2 | Black | 0.25789 | 0.34936 | 0.29075 | 1.0633
|  |  | Point 3 | White | 172.4913 | 76.6142 | 160.9627 | 59.8028
|  |  | Point 3 | Black | 0.27736 | 0.38847 | 0.29624 | 1.0373
|  |  | Point 4 | White | 174.0382 | 74.075 | 163.3852 | 58.9272
|  |  | Point 4 | Black | 0.25865 | 0.37971 | 0.28512 | 0.9938

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.078424 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12994 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.17007 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20912 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.2679 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34615 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.44509 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53674 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.68617 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.87326 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1222 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4281 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8227 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3229 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9537 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.7621 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8012 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1408 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.7665 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.081 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.5706 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.7402 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.7136 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 26.7259 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 32.3093 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 40.6274 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 54.3742 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 68.5587 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 86.5959 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 112.3966 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 141.3495 | PASS
31 | 148.75 | 175 | 201.25 | 179.2626 | PASS