## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S22475226
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 179.9105 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.13141 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 661.002 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1736 | 0.5002 | 0.03 | 0.019499 | PASS
Radius Red | 0.1736 | 0.5284 | 0.03 | 0.0013601 | PASS
Radius Green | 0.1736 | 0.562 | 0.03 | 0.0121 | PASS
Radius Blue | 0.1736 | 0.306 | 0.03 | 0.023537 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.076293 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 61.0578 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 56.8469 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1736 | 0.5002 | 0.019499 | PASS | -0.0034 | 0.0192 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4523 | 0.5284 | 0.0013601 | PASS | 0.0013 | 0.0004 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1241 | 0.562 | 0.0121 | PASS | 0.0121 | 0 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.118 | 0.306 | 0.023537 | PASS | -0.005 | 0.023 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 243.4725
Point 1 | 216.5335
Point 2 | 213.5857
Point 3 | 219.9192
Point 4 | 220.678

## Curves
CURVES
Step | Luminance | Status
1 | 0.11444 | 0
2 | 0.05131 | 0
3 | 0.082831 | 0
4 | 0.067187 | 0
5 | 0.07498 | 0
6 | 0.075009 | 0
7 | 0.10621 | 0
8 | 0.15982 | 0
9 | 0.073696 | 0
10 | 0.11683 | 0
11 | 0.13869 | 0
12 | 0.12781 | 0
13 | 0.12784 | 0
14 | 0.16791 | 0
15 | 0.16803 | 0
16 | 0.21995 | 0
17 | 0.25815 | 0
18 | 0.12191 | 0
19 | 0.18997 | 0
20 | 0.22421 | 0
21 | 0.2067 | 0
22 | 0.2069 | 0
23 | 0.26565 | 0
24 | 0.2656 | 0
25 | 0.34323 | 0
26 | 0.34323 | 0
27 | 0.44217 | 0
28 | 0.44217 | 0
29 | 0.5703 | 0
30 | 0.66341 | 0
31 | 0.32163 | 0
32 | 0.49179 | 0
33 | 0.57643 | 0
34 | 0.53353 | 0
35 | 0.53411 | 0
36 | 0.68267 | 0
37 | 0.68209 | 0
38 | 0.86975 | 0
39 | 0.8715 | 0
40 | 1.1167 | 0
41 | 1.1164 | 0
42 | 1.4246 | 0
43 | 1.426 | 0
44 | 1.825 | 0
45 | 1.825 | 0
46 | 2.3197 | 0
47 | 2.3142 | 0
48 | 2.9507 | 0
49 | 2.9303 | 0
50 | 3.7855 | 0
51 | 3.7913 | 0
52 | 4.8128 | 0
53 | 4.7632 | 0
54 | 6.1233 | 0
55 | 6.1145 | 0
56 | 7.9007 | 0
57 | 7.819 | 0
58 | 10.0284 | 0
59 | 10.0284 | 0
60 | 12.7223 | 0
61 | 12.5997 | 0
62 | 16.1284 | 0
63 | 15.5943 | 0
64 | 20.1911 | 0
65 | 20.7106 | 0
66 | 27.2717 | 0
67 | 31.4921 | 0
68 | 16.0058 | 0
69 | 23.6439 | 0
70 | 28.734 | 0
71 | 26.4545 | 0
72 | 26.6501 | 0
73 | 32.5136 | 0
74 | 33.0389 | 0
75 | 42.3202 | 0
76 | 43.9546 | 0
77 | 53.6153 | 0
78 | 53.411 | 0
79 | 67.7707 | 0
80 | 68.0626 | 0
81 | 86.0122 | 0
82 | 86.917 | 0
83 | 110.0034 | 0
84 | 109.9742 | 0
85 | 139.6859 | 0
86 | 139.6567 | 0
87 | 221.1158 | 0
88 | 109.2445 | 0
89 | 164.8153 | 0
90 | 192.5424 | 0
91 | 178.5913 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 196.4533
150 | 200 | 179.9105 | PASS | Point 1 | 174.6219
|  |  |  | Point 2 | 172.2287
|  |  |  | Point 3 | 177.7157
Uniformity Test |  |  |  | Point 4 | 178.5329
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.13141 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 196.395 | White
100 | 661.002 | PASS | 0.29712 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.083415
0.05 | 0.1 | 0.076293 | PASS | Point 1 | 0.074075
|  |  |  | Point 2 | 0.073053
|  |  |  | Point 3 | 0.075563
|  |  |  | Point 4 | 0.075359

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 196.5701 | 78.1027 | 176.4607 | 66.8659
50 | 61.0578 | PASS | Point 1 | 174.5344 | 73.5788 | 169.1933 | 68.7047
|  |  | Point 2 | 172.1411 | 72.6156 | 166.2746 | 66.8367
|  |  | Point 3 | 177.7741 | 78.6864 | 162.9182 | 61.6708
|  |  | Point 4 | 178.6497 | 77.1687 | 165.1364 | 61.0578

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 196.2198 | 78.0735 | 176.198 | 66.8951
20 | 56.8469 | PASS | Point 0 | Black | 0.29858 | 0.37154 | 0.31813 | 1.0986
|  |  | Point 1 | White | 174.2717 | 73.5204 | 168.9014 | 68.6463
|  |  | Point 1 | Black | 0.24327 | 0.32397 | 0.27596 | 1.0668
|  |  | Point 2 | White | 171.9076 | 72.5865 | 166.012 | 66.8367
|  |  | Point 2 | Black | 0.23743 | 0.32601 | 0.27499 | 1.0449
|  |  | Point 3 | White | 177.5989 | 78.5988 | 162.8307 | 61.6708
|  |  | Point 3 | Black | 0.40131 | 0.37592 | 0.37417 | 1.0849
|  |  | Point 4 | White | 178.5621 | 77.1395 | 165.078 | 61.0287
|  |  | Point 4 | Black | 0.2747 | 0.36687 | 0.30529 | 0.99409

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.075709 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12842 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16855 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20716 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.2658 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34323 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.44217 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53323 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.68267 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.87092 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.119 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4252 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8198 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3197 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9653 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.7913 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.7866 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.0532 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.7285 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.8358 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.3196 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.5709 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.9547 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 27.3622 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.8131 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 41.6489 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 52.944 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 68.6755 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 87.0629 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 110.0034 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 140.3572 | PASS
31 | 148.75 | 175 | 201.25 | 178.6205 | PASS