## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S22475227
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 182.8058 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.14521 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 711.0974 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1736 | 0.5002 | 0.03 | 0.019499 | PASS
Radius Red | 0.1736 | 0.5286 | 0.03 | 0.0017088 | PASS
Radius Green | 0.1736 | 0.5625 | 0.03 | 0.011511 | PASS
Radius Blue | 0.1736 | 0.3057 | 0.03 | 0.023142 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.079317 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 62.0502 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 58.5346 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1736 | 0.5002 | 0.019499 | PASS | -0.0034 | 0.0192 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4526 | 0.5286 | 0.0017088 | PASS | 0.0016 | 0.0006 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1235 | 0.5625 | 0.011511 | PASS | 0.0115 | 0.0005 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1185 | 0.3057 | 0.023142 | PASS | -0.0045 | 0.0227 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 231.331
Point 1 | 206.5226
Point 2 | 199.3428
Point 3 | 202.9327
Point 4 | 205.647

## Curves
CURVES
Step | Luminance | Status
1 | 0.10729 | 0
2 | 0.048128 | 0
3 | 0.077694 | 0
4 | 0.077636 | 0
5 | 0.10945 | 0
6 | 0.14955 | 0
7 | 0.068997 | 0
8 | 0.10948 | 0
9 | 0.12953 | 0
10 | 0.12956 | 0
11 | 0.1701 | 0
12 | 0.17007 | 0
13 | 0.2224 | 0
14 | 0.24128 | 0
15 | 0.11383 | 0
16 | 0.17748 | 0
17 | 0.20941 | 0
18 | 0.2095 | 0
19 | 0.26828 | 0
20 | 0.26831 | 0
21 | 0.34732 | 0
22 | 0.34732 | 0
23 | 0.44684 | 0
24 | 0.48041 | 0
25 | 0.23127 | 0
26 | 0.3552 | 0
27 | 0.41736 | 0
28 | 0.41736 | 0
29 | 0.5379 | 0
30 | 0.5379 | 0
31 | 0.68821 | 0
32 | 0.6888 | 0
33 | 0.87617 | 0
34 | 0.87793 | 0
35 | 1.1289 | 0
36 | 1.1272 | 0
37 | 1.4333 | 0
38 | 1.4354 | 0
39 | 1.83 | 0
40 | 1.8349 | 0
41 | 2.3381 | 0
42 | 2.3478 | 0
43 | 2.9741 | 0
44 | 2.9887 | 0
45 | 3.7942 | 0
46 | 3.7709 | 0
47 | 4.8508 | 0
48 | 4.8508 | 0
49 | 6.1583 | 0
50 | 6.1029 | 0
51 | 7.9562 | 0
52 | 7.8832 | 0
53 | 10.1072 | 0
54 | 9.7833 | 0
55 | 12.9967 | 0
56 | 12.7048 | 0
57 | 15.6964 | 0
58 | 16.0291 | 0
59 | 20.2962 | 0
60 | 20.8653 | 0
61 | 26.8631 | 0
62 | 29.3907 | 0
63 | 14.4648 | 0
64 | 22.6836 | 0
65 | 26.866 | 0
66 | 24.7967 | 0
67 | 24.7442 | 0
68 | 28.8857 | 0
69 | 37.3877 | 0
70 | 17.8445 | 0
71 | 27.4556 | 0
72 | 31.4337 | 0
73 | 30.6165 | 0
74 | 41.1819 | 0
75 | 41.6489 | 0
76 | 50.5799 | 0
77 | 50.7259 | 0
78 | 64.531 | 0
79 | 65.1147 | 0
80 | 82.2763 | 0
81 | 81.7218 | 0
82 | 104.2536 | 0
83 | 104.5455 | 0
84 | 132.2725 | 0
85 | 132.7395 | 0
86 | 207.0188 | 0
87 | 101.8604 | 0
88 | 154.3374 | 0
89 | 180.4592 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 201.7944
150 | 200 | 182.8058 | PASS | Point 1 | 180.3716
|  |  |  | Point 2 | 174.476
|  |  |  | Point 3 | 177.3655
Uniformity Test |  |  |  | Point 4 | 180.0214
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.14521 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 201.7944 | White
100 | 711.0974 | PASS | 0.28378 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.087734
0.05 | 0.1 | 0.079317 | PASS | Point 1 | 0.078336
|  |  |  | Point 2 | 0.075768
|  |  |  | Point 3 | 0.07711
|  |  |  | Point 4 | 0.077636

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 202.0279 | 77.7524 | 180.0506 | 67.7999
50 | 62.0502 | PASS | Point 1 | 180.6927 | 72.5865 | 175.6143 | 69.9013
|  |  | Point 2 | 174.7679 | 70.6602 | 170.0397 | 67.187
|  |  | Point 3 | 177.3655 | 79.2993 | 163.4728 | 62.8674
|  |  | Point 4 | 179.9922 | 76.7893 | 166.7124 | 62.0502

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 201.882 | 77.8692 | 180.0214 | 67.9458
20 | 58.5346 | PASS | Point 0 | Black | 0.28521 | 0.39197 | 0.30091 | 1.1237
|  |  | Point 1 | White | 180.6343 | 72.7324 | 175.6726 | 70.0764
|  |  | Point 1 | Black | 0.2656 | 0.35024 | 0.29052 | 1.1097
|  |  | Point 2 | White | 174.8846 | 70.8061 | 170.244 | 67.3913
|  |  | Point 2 | Black | 0.25754 | 0.34352 | 0.28784 | 1.0507
|  |  | Point 3 | White | 177.1903 | 79.3577 | 163.356 | 62.955
|  |  | Point 3 | Black | 0.28786 | 0.39548 | 0.29099 | 1.0755
|  |  | Point 4 | White | 179.9047 | 76.906 | 166.7124 | 62.0794
|  |  | Point 4 | Black | 0.26802 | 0.38935 | 0.285 | 1.0376

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.07892 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.13102 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.1717 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21113 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.27021 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34965 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42028 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.5417 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.69259 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.88143 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1324 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4368 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8449 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.344 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9858 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8117 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8916 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1875 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.9299 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.151 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 13.0025 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.9036 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.9675 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 22.9813 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 30.7624 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 37.1542 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 50.4048 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 64.4143 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 82.1596 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 104.9249 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 132.8563 | PASS
31 | 148.75 | 175 | 201.25 | 181.1305 | PASS