## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S22475228
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 176.3147 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.17046 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 829.6717 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1744 | 0.5002 | 0.03 | 0.019375 | PASS
Radius Red | 0.1744 | 0.5288 | 0.03 | 0.0013601 | PASS
Radius Green | 0.1744 | 0.5614 | 0.03 | 0.013314 | PASS
Radius Blue | 0.1744 | 0.3091 | 0.03 | 0.026715 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.076573 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 60.8244 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 85.304 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1744 | 0.5002 | 0.019375 | PASS | -0.0026 | 0.0192 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4499 | 0.5288 | 0.0013601 | PASS | -0.0011 | 0.0008 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1253 | 0.5614 | 0.013314 | PASS | 0.0133 | -0.0006 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1173 | 0.3091 | 0.026715 | PASS | -0.0057 | 0.0261 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 225.4646
Point 1 | 197.9418
Point 2 | 190.0907
Point 3 | 199.4303
Point 4 | 199.8389

## Curves
CURVES
Step | Luminance | Status
1 | 0.10344 | 0
2 | 0.046815 | 0
3 | 0.075009 | 0
4 | 0.075009 | 0
5 | 0.10577 | 0
6 | 0.14441 | 0
7 | 0.067129 | 0
8 | 0.10583 | 0
9 | 0.12544 | 0
10 | 0.12547 | 0
11 | 0.16479 | 0
12 | 0.16479 | 0
13 | 0.21545 | 0
14 | 0.21542 | 0
15 | 0.27619 | 0
16 | 0.29945 | 0
17 | 0.14374 | 0
18 | 0.22097 | 0
19 | 0.26011 | 0
20 | 0.26005 | 0
21 | 0.33652 | 0
22 | 0.33652 | 0
23 | 0.43342 | 0
24 | 0.43342 | 0
25 | 0.55775 | 0
26 | 0.55863 | 0
27 | 0.7139 | 0
28 | 0.71361 | 0
29 | 0.91149 | 0
30 | 0.90857 | 0
31 | 1.1683 | 0
32 | 1.1698 | 0
33 | 1.4835 | 0
34 | 1.4873 | 0
35 | 1.898 | 0
36 | 2.046 | 0
37 | 1.0104 | 0
38 | 1.5206 | 0
39 | 1.7792 | 0
40 | 1.7734 | 0
41 | 2.2581 | 0
42 | 2.2678 | 0
43 | 2.8789 | 0
44 | 2.8699 | 0
45 | 3.6979 | 0
46 | 3.6716 | 0
47 | 4.7048 | 0
48 | 4.664 | 0
49 | 5.9394 | 0
50 | 5.9657 | 0
51 | 7.5418 | 0
52 | 7.5768 | 0
53 | 9.4681 | 0
54 | 9.5177 | 0
55 | 12.305 | 0
56 | 12.0335 | 0
57 | 15.3374 | 0
58 | 15.3199 | 0
59 | 20.1853 | 0
60 | 20.2232 | 0
61 | 26.0138 | 0
62 | 25.6723 | 0
63 | 30.4414 | 0
64 | 36.2786 | 0
65 | 17.935 | 0
66 | 26.6647 | 0
67 | 29.6533 | 0
68 | 31.0835 | 0
69 | 31.6964 | 0
70 | 41.7657 | 0
71 | 43.225 | 0
72 | 52.9149 | 0
73 | 52.8857 | 0
74 | 67.5664 | 0
75 | 66.3989 | 0
76 | 85.6036 | 0
77 | 85.0198 | 0
78 | 108.2814 | 0
79 | 107.289 | 0
80 | 138.4017 | 0
81 | 137.4969 | 0
82 | 200.1892 | 0
83 | 99.4087 | 0
84 | 149.4925 | 0
85 | 174.4176 | 0
86 | 132.506 | 0
87 | 133.2065 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 196.2198
150 | 200 | 176.3147 | PASS | Point 1 | 172.0535
|  |  |  | Point 2 | 165.399
|  |  |  | Point 3 | 173.5712
Uniformity Test |  |  |  | Point 4 | 174.3301
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.17046 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 196.1907 | White
100 | 829.6717 | PASS | 0.23647 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.085312
0.05 | 0.1 | 0.076573 | PASS | Point 1 | 0.074805
|  |  |  | Point 2 | 0.071974
|  |  |  | Point 3 | 0.075534
|  |  |  | Point 4 | 0.075242

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 196.3366 | 78.1319 | 176.9568 | 66.7492
50 | 60.8244 | PASS | Point 1 | 172.287 | 72.0319 | 168.7847 | 68.3252
|  |  | Point 2 | 165.6617 | 71.1855 | 164.2608 | 67.0119
|  |  | Point 3 | 173.542 | 78.3945 | 160.2914 | 61.2913
|  |  | Point 4 | 174.3301 | 77.4314 | 161.9842 | 60.8244

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 196.0739 | 78.1027 | 176.8109 | 66.7492
20 | 85.304 | PASS | Point 0 | Black | 0.2372 | 0.31492 | 0.25115 | 0.78249
|  |  | Point 1 | White | 172.0827 | 72.0611 | 168.7847 | 68.4128
|  |  | Point 1 | Black | 0.2217 | 0.29245 | 0.24651 | 0.80146
|  |  | Point 2 | White | 165.545 | 71.2731 | 164.2024 | 67.1286
|  |  | Point 2 | Black | 0.21227 | 0.28398 | 0.2421 | 0.78307
|  |  | Point 3 | White | 173.3086 | 78.3945 | 160.1455 | 61.2622
|  |  | Point 3 | Black | 0.21113 | 0.31142 | 0.22447 | 0.70777
|  |  | Point 4 | White | 174.009 | 77.4606 | 161.6924 | 60.7952
|  |  | Point 4 | Black | 0.21067 | 0.31171 | 0.22973 | 0.70456

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.075505 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12585 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16499 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21557 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.25985 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.33593 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.43196 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.55688 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.71215 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.90682 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1645 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4833 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.7737 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.2614 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.8708 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.6629 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.7048 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 5.9482 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.5155 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.7307 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.2758 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.6964 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.4585 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 24.68 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 30.2954 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 42.8164 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 52.4187 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 66.9535 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 84.1151 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 107.7852 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 136.5629 | PASS
31 | 148.75 | 175 | 201.25 | 174.0966 | PASS