## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S22475235
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 168.1251 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.13286 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 649.36 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1747 | 0.4962 | 0.03 | 0.015373 | PASS
Radius Red | 0.4496 | 0.5284 | 0.03 | 0.001456 | PASS
Radius Green | 0.1246 | 0.5604 | 0.03 | 0.012701 | PASS
Radius Blue | 0.1189 | 0.3052 | 0.03 | 0.022575 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.07324 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 56.534 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 60.6965 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1747 | 0.4962 | 0.015373 | PASS | -0.0023 | 0.0152 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4496 | 0.5284 | 0.001456 | PASS | -0.0014 | 0.0004 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1246 | 0.5604 | 0.012701 | PASS | 0.0126 | -0.0016 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1189 | 0.3052 | 0.022575 | PASS | -0.0041 | 0.0222 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 210.1125
Point 1 | 190.1783
Point 2 | 183.9032
Point 3 | 189.3027
Point 4 | 188.4271

## Curves
CURVES
Step | Luminance | Status
1 | 0.10002 | 0
2 | 0.045122 | 0
3 | 0.07247 | 0
4 | 0.07247 | 0
5 | 0.10177 | 0
6 | 0.13907 | 0
7 | 0.064356 | 0
8 | 0.10171 | 0
9 | 0.12051 | 0
10 | 0.12985 | 0
11 | 0.12979 | 0
12 | 0.17004 | 0
13 | 0.17004 | 0
14 | 0.22193 | 0
15 | 0.2238 | 0
16 | 0.10577 | 0
17 | 0.16479 | 0
18 | 0.19412 | 0
19 | 0.20921 | 0
20 | 0.20915 | 0
21 | 0.26723 | 0
22 | 0.26726 | 0
23 | 0.34557 | 0
24 | 0.34615 | 0
25 | 0.4448 | 0
26 | 0.4448 | 0
27 | 0.57264 | 0
28 | 0.57264 | 0
29 | 0.278 | 0
30 | 0.42466 | 0
31 | 0.49792 | 0
32 | 0.53469 | 0
33 | 0.53499 | 0
34 | 0.6853 | 0
35 | 0.68325 | 0
36 | 0.8718 | 0
37 | 0.87121 | 0
38 | 1.1178 | 0
39 | 1.1158 | 0
40 | 1.4255 | 0
41 | 1.4231 | 0
42 | 1.8227 | 0
43 | 1.8259 | 0
44 | 2.3168 | 0
45 | 2.3232 | 0
46 | 2.9537 | 0
47 | 2.9332 | 0
48 | 3.768 | 0
49 | 3.7855 | 0
50 | 4.8187 | 0
51 | 4.8333 | 0
52 | 6.1116 | 0
53 | 6.1204 | 0
54 | 7.7285 | 0
55 | 7.7431 | 0
56 | 9.7191 | 0
57 | 9.7132 | 0
58 | 12.3225 | 0
59 | 12.3429 | 0
60 | 16.1079 | 0
61 | 16.1576 | 0
62 | 20.7019 | 0
63 | 21.0463 | 0
64 | 25.4126 | 0
65 | 26.6384 | 0
66 | 32.3385 | 0
67 | 34.0605 | 0
68 | 43.9255 | 0
69 | 43.8087 | 0
70 | 20.4626 | 0
71 | 31.4921 | 0
72 | 37.0375 | 0
73 | 41.2111 | 0
74 | 41.2403 | 0
75 | 50.434 | 0
76 | 50.3465 | 0
77 | 63.9181 | 0
78 | 64.1808 | 0
79 | 80.9338 | 0
80 | 80.6711 | 0
81 | 103.4656 | 0
82 | 103.1738 | 0
83 | 131.1343 | 0
84 | 131.5721 | 0
85 | 190.8204 | 0
86 | 94.3011 | 0
87 | 142.4002 | 0
88 | 166.2746 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 183.6697
150 | 200 | 168.1251 | PASS | Point 1 | 166.1579
|  |  |  | Point 2 | 160.7876
|  |  |  | Point 3 | 165.3407
Uniformity Test |  |  |  | Point 4 | 164.6694
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.13286 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 183.6113 | White
100 | 649.36 | PASS | 0.28276 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.080117
0.05 | 0.1 | 0.07324 | PASS | Point 1 | 0.072411
|  |  |  | Point 2 | 0.070047
|  |  |  | Point 3 | 0.072265
|  |  |  | Point 4 | 0.071361

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 183.9324 | 71.1855 | 166.6541 | 61.2038
50 | 56.534 | PASS | Point 1 | 166.3622 | 65.8736 | 160.4082 | 62.4296
|  |  | Point 2 | 160.846 | 64.677 | 156.4972 | 60.766
|  |  | Point 3 | 165.4282 | 72.1487 | 152.3819 | 56.9718
|  |  | Point 4 | 164.6694 | 70.6018 | 153.3451 | 56.534

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 183.4946 | 71.1271 | 166.5081 | 61.1746
20 | 60.6965 | PASS | Point 0 | Black | 0.28302 | 0.36395 | 0.30033 | 0.98329
|  |  | Point 1 | White | 166.0411 | 65.8736 | 160.2623 | 62.4296
|  |  | Point 1 | Black | 0.27053 | 0.32893 | 0.28366 | 0.99234
|  |  | Point 2 | White | 160.7 | 64.677 | 156.3221 | 60.7368
|  |  | Point 2 | Black | 0.26145 | 0.32864 | 0.28439 | 0.98971
|  |  | Point 3 | White | 165.2531 | 72.0903 | 152.2652 | 56.9718
|  |  | Point 3 | Black | 0.28632 | 0.3657 | 0.28652 | 0.93863
|  |  | Point 4 | White | 164.5526 | 70.6018 | 153.2283 | 56.5048
|  |  | Point 4 | Black | 0.25982 | 0.36191 | 0.27689 | 0.89223

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.072557 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.13 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.17007 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20897 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26711 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34557 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.44451 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53469 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.68296 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.8718 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1178 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.422 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8119 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3191 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9653 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.7475 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.7807 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.062 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.7198 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.9117 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.661 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.8657 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.6756 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 26.6092 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 30.9959 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 36.5997 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 50.0838 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 63.8597 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 81.1672 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 102.9986 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 131.4261 | PASS
31 | 148.75 | 175 | 201.25 | 166.2746 | PASS