## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S23036819
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 173.2677 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.13414 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 659.2622 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1763 | 0.4972 | 0.03 | 0.016215 | PASS
Radius Red | 0.4506 | 0.5286 | 0.03 | 0.00072111 | PASS
Radius Green | 0.1257 | 0.5607 | 0.03 | 0.013762 | PASS
Radius Blue | 0.1197 | 0.3026 | 0.03 | 0.019876 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.075803 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 58.2268 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 58.101 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1763 | 0.4972 | 0.016215 | PASS | -0.0007 | 0.0162 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4506 | 0.5286 | 0.00072111 | PASS | -0.0004 | 0.0006 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1257 | 0.5607 | 0.013762 | PASS | 0.0137 | -0.0013 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1197 | 0.3026 | 0.019876 | PASS | -0.0033 | 0.0196 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 219.4814
Point 1 | 193.5639
Point 2 | 192.1629
Point 3 | 193.4763
Point 4 | 194.1476

## Curves
CURVES
Step | Luminance | Status
1 | 0.10142 | 0
2 | 0.045735 | 0
3 | 0.073491 | 0
4 | 0.073491 | 0
5 | 0.10347 | 0
6 | 0.14147 | 0
7 | 0.065407 | 0
8 | 0.10352 | 0
9 | 0.12276 | 0
10 | 0.12276 | 0
11 | 0.16099 | 0
12 | 0.16105 | 0
13 | 0.21043 | 0
14 | 0.2104 | 0
15 | 0.26968 | 0
16 | 0.26983 | 0
17 | 0.34819 | 0
18 | 0.34819 | 0
19 | 0.44801 | 0
20 | 0.45385 | 0
21 | 0.21893 | 0
22 | 0.33564 | 0
23 | 0.39431 | 0
24 | 0.42437 | 0
25 | 0.42408 | 0
26 | 0.54695 | 0
27 | 0.54754 | 0
28 | 0.6993 | 0
29 | 0.70076 | 0
30 | 0.89164 | 0
31 | 0.89018 | 0
32 | 1.1473 | 0
33 | 1.1441 | 0
34 | 1.4561 | 0
35 | 1.4584 | 0
36 | 1.8568 | 0
37 | 1.8665 | 0
38 | 2.3679 | 0
39 | 2.3872 | 0
40 | 3.012 | 0
41 | 3.0325 | 0
42 | 3.8497 | 0
43 | 3.8351 | 0
44 | 4.8654 | 0
45 | 4.8916 | 0
46 | 6.2721 | 0
47 | 6.2663 | 0
48 | 7.9037 | 0
49 | 7.9066 | 0
50 | 10.2181 | 0
51 | 10.7756 | 0
52 | 5.3148 | 0
53 | 8.105 | 0
54 | 9.3776 | 0
55 | 9.3892 | 0
56 | 11.9606 | 0
57 | 11.9898 | 0
58 | 15.1623 | 0
59 | 15.3345 | 0
60 | 19.1258 | 0
61 | 19.1871 | 0
62 | 24.2042 | 0
63 | 28.0101 | 0
64 | 13.9978 | 0
65 | 21.9919 | 0
66 | 24.1926 | 0
67 | 27.2279 | 0
68 | 26.2736 | 0
69 | 26.0897 | 0
70 | 31.6088 | 0
71 | 30.0911 | 0
72 | 43.2542 | 0
73 | 39.0513 | 0
74 | 52.5354 | 0
75 | 52.5646 | 0
76 | 66.8076 | 0
77 | 66.6908 | 0
78 | 85.8371 | 0
79 | 84.4069 | 0
80 | 107.6684 | 0
81 | 108.4565 | 0
82 | 137.0591 | 0
83 | 138.4309 | 0
84 | 194.8481 | 0
85 | 96.0231 | 0
86 | 145.2605 | 0
87 | 169.8354 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 191.55
150 | 200 | 173.2677 | PASS | Point 1 | 168.522
|  |  |  | Point 2 | 167.4713
|  |  |  | Point 3 | 169.0765
Uniformity Test |  |  |  | Point 4 | 169.7186
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.13414 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 191.4333 | White
100 | 659.2622 | PASS | 0.29038 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.083852
0.05 | 0.1 | 0.075803 | PASS | Point 1 | 0.073754
|  |  |  | Point 2 | 0.073258
|  |  |  | Point 3 | 0.074221
|  |  |  | Point 4 | 0.073929

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 191.6376 | 74.9505 | 173.6296 | 64.2975
50 | 58.2268 | PASS | Point 1 | 168.4636 | 68.5587 | 164.8153 | 65.4358
|  |  | Point 2 | 167.4129 | 68.8506 | 164.5235 | 65.1147
|  |  | Point 3 | 169.1641 | 74.6879 | 156.6431 | 58.4603
|  |  | Point 4 | 169.8354 | 74.1917 | 159.0656 | 58.2268

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 191.1706 | 74.8338 | 173.3377 | 64.2392
20 | 58.101 | PASS | Point 0 | Black | 0.29169 | 0.38993 | 0.30996 | 1.0834
|  |  | Point 1 | White | 168.1134 | 68.5004 | 164.3483 | 65.3191
|  |  | Point 1 | Black | 0.26513 | 0.35111 | 0.28982 | 1.0851
|  |  | Point 2 | White | 167.0919 | 68.763 | 164.2024 | 65.0564
|  |  | Point 2 | Black | 0.25083 | 0.34236 | 0.2855 | 1.0633
|  |  | Point 3 | White | 168.843 | 74.5711 | 156.3805 | 58.4019
|  |  | Point 3 | Black | 0.27771 | 0.39372 | 0.29216 | 1.0052
|  |  | Point 4 | White | 169.5435 | 74.1333 | 158.8905 | 58.1976
|  |  | Point 4 | Black | 0.26282 | 0.38468 | 0.28705 | 0.97395

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.074075 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.1232 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16134 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21052 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26965 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.3479 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42379 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.54637 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.6996 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.88989 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1412 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4494 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8565 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3784 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 3.0266 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8409 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8829 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.2634 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 8.0087 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.3104 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 11.9606 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.5913 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.6278 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 26.2006 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.7839 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 40.248 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 52.6522 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 67.2745 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 84.5529 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 108.1938 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 136.9715 | PASS
31 | 148.75 | 175 | 201.25 | 169.5727 | PASS