## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S23036825
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 184.376 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.096091 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 671.6551 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1755 | 0.4956 | 0.03 | 0.014677 | PASS
Radius Red | 0.4514 | 0.5285 | 0.03 | 0.00064031 | PASS
Radius Green | 0.124 | 0.5608 | 0.03 | 0.01206 | PASS
Radius Blue | 0.1205 | 0.3001 | 0.03 | 0.017282 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.076994 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 61.8459 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 62.16 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1755 | 0.4956 | 0.014677 | PASS | -0.0015 | 0.0146 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4514 | 0.5285 | 0.00064031 | PASS | 0.0004 | 0.0005 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.124 | 0.5608 | 0.01206 | PASS | 0.012 | -0.0012 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1205 | 0.3001 | 0.017282 | PASS | -0.0025 | 0.0171 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 198.3504
Point 1 | 182.8525
Point 2 | 180.2257
Point 3 | 180.2841
Point 4 | 181.364

## Curves
CURVES
Step | Luminance | Status
1 | 0.095527 | 0
2 | 0.043488 | 0
3 | 0.069522 | 0
4 | 0.082451 | 0
5 | 0.075972 | 0
6 | 0.075972 | 0
7 | 0.10662 | 0
8 | 0.13306 | 0
9 | 0.13309 | 0
10 | 0.17386 | 0
11 | 0.164 | 0
12 | 0.16403 | 0
13 | 0.21432 | 0
14 | 0.21443 | 0
15 | 0.27432 | 0
16 | 0.27435 | 0
17 | 0.35432 | 0
18 | 0.3517 | 0
19 | 0.17048 | 0
20 | 0.26063 | 0
21 | 0.30616 | 0
22 | 0.32864 | 0
23 | 0.32864 | 0
24 | 0.42291 | 0
25 | 0.4232 | 0
26 | 0.54462 | 0
27 | 0.54462 | 0
28 | 0.69609 | 0
29 | 0.69639 | 0
30 | 0.88668 | 0
31 | 0.88639 | 0
32 | 1.138 | 0
33 | 1.1403 | 0
34 | 1.45 | 0
35 | 1.4497 | 0
36 | 1.8563 | 0
37 | 1.8472 | 0
38 | 2.3542 | 0
39 | 2.3609 | 0
40 | 2.9887 | 0
41 | 3.0004 | 0
42 | 3.8263 | 0
43 | 3.8292 | 0
44 | 4.8245 | 0
45 | 4.8946 | 0
46 | 6.1904 | 0
47 | 6.1554 | 0
48 | 7.854 | 0
49 | 7.9445 | 0
50 | 10.0576 | 0
51 | 9.8679 | 0
52 | 13.0988 | 0
53 | 12.6523 | 0
54 | 13.128 | 0
55 | 16.5516 | 0
56 | 16.5691 | 0
57 | 8.2043 | 0
58 | 12.0627 | 0
59 | 14.4035 | 0
60 | 15.0923 | 0
61 | 15.4542 | 0
62 | 18.761 | 0
63 | 21.1951 | 0
64 | 10.3728 | 0
65 | 15.2791 | 0
66 | 17.4972 | 0
67 | 19.1579 | 0
68 | 19.8613 | 0
69 | 23.6935 | 0
70 | 27.1783 | 0
71 | 13.2068 | 0
72 | 19.5782 | 0
73 | 22.3859 | 0
74 | 25.0185 | 0
75 | 24.4056 | 0
76 | 31.2586 | 0
77 | 30.8208 | 0
78 | 42.1451 | 0
79 | 42.1451 | 0
80 | 51.4555 | 0
81 | 50.8134 | 0
82 | 65.1147 | 0
83 | 65.4066 | 0
84 | 82.5098 | 0
85 | 83.1227 | 0
86 | 105.246 | 0
87 | 105.1876 | 0
88 | 133.1773 | 0
89 | 134.7826 | 0
90 | 182.7357 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 198.0002
150 | 200 | 184.376 | PASS | Point 1 | 182.5314
|  |  |  | Point 2 | 179.8463
|  |  |  | Point 3 | 180.1382
Uniformity Test |  |  |  | Point 4 | 181.364
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.096091 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 197.7959 | White
100 | 671.6551 | PASS | 0.29449 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.082772
0.05 | 0.1 | 0.076994 | PASS | Point 1 | 0.076176
|  |  |  | Point 2 | 0.075096
|  |  |  | Point 3 | 0.075505
|  |  |  | Point 4 | 0.075418

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 198.0294 | 77.9859 | 179.175 | 67.1578
50 | 61.8459 | PASS | Point 1 | 182.4731 | 74.9797 | 175.8186 | 69.376
|  |  | Point 2 | 179.7004 | 73.7247 | 171.4698 | 67.0702
|  |  | Point 3 | 180.3716 | 79.1242 | 166.012 | 62.6339
|  |  | Point 4 | 181.5391 | 77.2271 | 168.4636 | 61.8459

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 197.5916 | 77.9276 | 179.0874 | 67.2454
20 | 62.16 | PASS | Point 0 | Black | 0.29595 | 0.38672 | 0.31054 | 1.0752
|  |  | Point 1 | White | 181.9769 | 74.9505 | 175.4683 | 69.376
|  |  | Point 1 | Black | 0.27718 | 0.37504 | 0.30412 | 1.1161
|  |  | Point 2 | White | 179.2334 | 73.6955 | 171.1779 | 67.0702
|  |  | Point 2 | Black | 0.26554 | 0.35899 | 0.2942 | 1.0671
|  |  | Point 3 | White | 180.1965 | 79.2118 | 165.9828 | 62.7215
|  |  | Point 3 | Black | 0.27015 | 0.39139 | 0.28851 | 0.98125
|  |  | Point 4 | White | 181.3932 | 77.2271 | 168.4052 | 61.9918
|  |  | Point 4 | Black | 0.28007 | 0.38176 | 0.29712 | 0.99234

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.076235 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.13306 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16359 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21367 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.27345 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.32718 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42087 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.54199 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.6923 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.8823 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1327 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4415 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8393 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3413 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9858 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8409 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8187 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1846 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.9212 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.1423 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.8391 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.0018 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.7738 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 25.2929 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 32.893 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 41.9116 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 50.9302 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 64.7353 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 82.1012 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 104.779 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 133.5567 | PASS
31 | 148.75 | 175 | 201.25 | 181.9477 | PASS