## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S23065546
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 180.0506 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.091443 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 798.1084 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1742 | 0.4981 | 0.03 | 0.017328 | PASS
Radius Red | 0.451 | 0.5284 | 0.03 | 0.0004 | PASS
Radius Green | 0.1249 | 0.562 | 0.03 | 0.0129 | PASS
Radius Blue | 0.12 | 0.3008 | 0.03 | 0.018051 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.078418 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 64.0932 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 81.176 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1742 | 0.4981 | 0.017328 | PASS | -0.0028 | 0.0171 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.451 | 0.5284 | 0.0004 | PASS | 0 | 0.0004 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1249 | 0.562 | 0.0129 | PASS | 0.0129 | 0 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.12 | 0.3008 | 0.018051 | PASS | -0.003 | 0.0178 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 220.4445
Point 1 | 203.8375
Point 2 | 201.9695
Point 3 | 201.1815
Point 4 | 203.3997

## Curves
CURVES
Step | Luminance | Status
1 | 0.10577 | 0
2 | 0.048333 | 0
3 | 0.07714 | 0
4 | 0.07714 | 0
5 | 0.10854 | 0
6 | 0.14742 | 0
7 | 0.069142 | 0
8 | 0.1086 | 0
9 | 0.12839 | 0
10 | 0.12836 | 0
11 | 0.16849 | 0
12 | 0.16852 | 0
13 | 0.22021 | 0
14 | 0.23842 | 0
15 | 0.11397 | 0
16 | 0.17643 | 0
17 | 0.20749 | 0
18 | 0.20746 | 0
19 | 0.2656 | 0
20 | 0.26548 | 0
21 | 0.34352 | 0
22 | 0.34352 | 0
23 | 0.44217 | 0
24 | 0.44159 | 0
25 | 0.56943 | 0
26 | 0.61116 | 0
27 | 0.29974 | 0
28 | 0.45531 | 0
29 | 0.53294 | 0
30 | 0.53265 | 0
31 | 0.68267 | 0
32 | 0.68092 | 0
33 | 0.86888 | 0
34 | 0.86829 | 0
35 | 1.1135 | 0
36 | 1.1173 | 0
37 | 1.4199 | 0
38 | 1.4185 | 0
39 | 1.816 | 0
40 | 1.8186 | 0
41 | 2.3075 | 0
42 | 2.3081 | 0
43 | 2.9391 | 0
44 | 2.9478 | 0
45 | 3.7738 | 0
46 | 3.7475 | 0
47 | 4.807 | 0
48 | 4.734 | 0
49 | 6.0387 | 0
50 | 6.0912 | 0
51 | 7.8395 | 0
52 | 7.7607 | 0
53 | 9.7891 | 0
54 | 9.8679 | 0
55 | 12.807 | 0
56 | 12.5676 | 0
57 | 15.7256 | 0
58 | 16.0846 | 0
59 | 20.4334 | 0
60 | 19.4877 | 0
61 | 25.6315 | 0
62 | 24.8201 | 0
63 | 32.6012 | 0
64 | 32.4552 | 0
65 | 43.8087 | 0
66 | 45.2097 | 0
67 | 22.7741 | 0
68 | 34.6442 | 0
69 | 41.2403 | 0
70 | 41.2695 | 0
71 | 50.4048 | 0
72 | 49.9962 | 0
73 | 63.9473 | 0
74 | 63.7722 | 0
75 | 81.7218 | 0
76 | 80.6711 | 0
77 | 103.3197 | 0
78 | 104.0202 | 0
79 | 131.3386 | 0
80 | 131.397 | 0
81 | 204.2753 | 0
82 | 101.6561 | 0
83 | 152.8489 | 0
84 | 178.241 | 0
85 | 103.9618 | 0
86 | 132.506 | 0
87 | 133.2065 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 192.2505
150 | 200 | 180.0506 | PASS | Point 1 | 178.2119
|  |  |  | Point 2 | 176.7525
|  |  |  | Point 3 | 175.4392
Uniformity Test |  |  |  | Point 4 | 177.5989
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.091443 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 192.1046 | White
100 | 798.1084 | PASS | 0.2407 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.083823
0.05 | 0.1 | 0.078418 | PASS | Point 1 | 0.077665
|  |  |  | Point 2 | 0.077052
|  |  |  | Point 3 | 0.076556
|  |  |  | Point 4 | 0.076994

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 192.2213 | 80.6127 | 173.8631 | 70.2807
50 | 64.0932 | PASS | Point 1 | 178.2702 | 77.3438 | 170.8861 | 71.8276
|  |  | Point 2 | 176.8401 | 76.8477 | 169.6603 | 71.2439
|  |  | Point 3 | 175.41 | 80.4084 | 160.7876 | 64.0932
|  |  | Point 4 | 177.5989 | 80.0873 | 164.0565 | 64.8521

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 191.7543 | 80.5543 | 173.542 | 70.2515
20 | 81.176 | PASS | Point 0 | Black | 0.2414 | 0.34498 | 0.2672 | 0.82656
|  |  | Point 1 | White | 177.9784 | 77.3438 | 170.6526 | 71.7984
|  |  | Point 1 | Black | 0.22158 | 0.3228 | 0.24738 | 0.86071
|  |  | Point 2 | White | 176.5774 | 76.8477 | 169.3976 | 71.2731
|  |  | Point 2 | Black | 0.2454 | 0.31696 | 0.26697 | 0.80846
|  |  | Point 3 | White | 175.0889 | 80.3208 | 160.6125 | 64.064
|  |  | Point 3 | Black | 0.19651 | 0.33827 | 0.22112 | 0.7892
|  |  | Point 4 | White | 177.3655 | 80.0582 | 163.9105 | 64.8229
|  |  | Point 4 | Black | 0.25719 | 0.34382 | 0.26387 | 0.75184

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.077782 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.129 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16896 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.2076 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.2658 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34352 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.44217 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53294 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.68033 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.86683 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1126 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4173 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8081 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3037 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9332 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.765 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.7866 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.027 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.6818 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.9409 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.5239 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.9591 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.9284 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 26.3144 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 30.4997 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 41.1528 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 49.7335 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 63.4803 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 81.4591 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 102.9403 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 131.1635 | PASS
31 | 148.75 | 175 | 201.25 | 177.8908 | PASS