## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S23065561
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 174.3126 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.17093 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 633.3009 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1737 | 0.4943 | 0.03 | 0.013703 | PASS
Radius Red | 0.4506 | 0.5283 | 0.03 | 0.0005 | PASS
Radius Green | 0.1225 | 0.5626 | 0.03 | 0.010517 | PASS
Radius Blue | 0.1208 | 0.3007 | 0.03 | 0.017836 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.077723 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 58.1392 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 66.2019 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1737 | 0.4943 | 0.013703 | PASS | -0.0033 | 0.0133 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4506 | 0.5283 | 0.0005 | PASS | -0.0004 | 0.0003 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1225 | 0.5626 | 0.010517 | PASS | 0.0105 | 0.0006 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1208 | 0.3007 | 0.017836 | PASS | -0.0022 | 0.0177 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 202.7284
Point 1 | 184.9247
Point 2 | 170.8861
Point 3 | 181.2472
Point 4 | 190.6744

## Curves
CURVES
Step | Luminance | Status
1 | 0.096432 | 0
2 | 0.044247 | 0
3 | 0.070456 | 0
4 | 0.083444 | 0
5 | 0.076877 | 0
6 | 0.076877 | 0
7 | 0.10784 | 0
8 | 0.13434 | 0
9 | 0.063188 | 0
10 | 0.099058 | 0
11 | 0.11689 | 0
12 | 0.12579 | 0
13 | 0.12582 | 0
14 | 0.16487 | 0
15 | 0.1649 | 0
16 | 0.21522 | 0
17 | 0.21528 | 0
18 | 0.27514 | 0
19 | 0.27511 | 0
20 | 0.35607 | 0
21 | 0.35607 | 0
22 | 0.17354 | 0
23 | 0.26466 | 0
24 | 0.31054 | 0
25 | 0.3336 | 0
26 | 0.33389 | 0
27 | 0.42875 | 0
28 | 0.42846 | 0
29 | 0.55221 | 0
30 | 0.55221 | 0
31 | 0.70631 | 0
32 | 0.70602 | 0
33 | 0.8969 | 0
34 | 0.89865 | 0
35 | 1.1537 | 0
36 | 1.1546 | 0
37 | 1.4701 | 0
38 | 1.466 | 0
39 | 1.8729 | 0
40 | 1.8773 | 0
41 | 2.3874 | 0
42 | 2.3889 | 0
43 | 3.0295 | 0
44 | 3.0383 | 0
45 | 3.9081 | 0
46 | 3.9051 | 0
47 | 1.9508 | 0
48 | 2.9134 | 0
49 | 3.3944 | 0
50 | 3.6541 | 0
51 | 3.66 | 0
52 | 4.6523 | 0
53 | 4.6815 | 0
54 | 5.9423 | 0
55 | 5.8869 | 0
56 | 7.4338 | 0
57 | 7.4571 | 0
58 | 9.4272 | 0
59 | 9.6169 | 0
60 | 12.2875 | 0
61 | 12.2145 | 0
62 | 15.6643 | 0
63 | 15.495 | 0
64 | 19.5928 | 0
65 | 18.9857 | 0
66 | 24.9777 | 0
67 | 24.9222 | 0
68 | 31.1126 | 0
69 | 33.4476 | 0
70 | 38.8178 | 0
71 | 42.8456 | 0
72 | 42.8456 | 0
73 | 52.3895 | 0
74 | 51.9809 | 0
75 | 65.9612 | 0
76 | 66.4865 | 0
77 | 84.8447 | 0
78 | 84.9323 | 0
79 | 107.289 | 0
80 | 107.2598 | 0
81 | 136.6797 | 0
82 | 137.1175 | 0
83 | 185.2166 | 0
84 | 92.2872 | 0
85 | 138.7519 | 0
86 | 161.7799 | 0
87 | 173.3961 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 189.974
150 | 200 | 174.3126 | PASS | Point 1 | 173.2502
|  |  |  | Point 2 | 160.0579
|  |  |  | Point 3 | 169.7186
Uniformity Test |  |  |  | Point 4 | 178.5621
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.17093 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 189.828 | White
100 | 633.3009 | PASS | 0.29974 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.084728
0.05 | 0.1 | 0.077723 | PASS | Point 1 | 0.077315
|  |  |  | Point 2 | 0.071448
|  |  |  | Point 3 | 0.075826
|  |  |  | Point 4 | 0.079299

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 190.2074 | 73.9582 | 174.3593 | 63.9765
50 | 58.1392 | PASS | Point 1 | 173.5129 | 70.8936 | 166.6541 | 64.8813
|  |  | Point 2 | 160.2623 | 67.0119 | 157.6063 | 62.3129
|  |  | Point 3 | 169.7478 | 74.3084 | 158.19 | 58.1392
|  |  | Point 4 | 178.6497 | 73.5496 | 166.2455 | 59.2775

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 189.7113 | 73.9582 | 174.2133 | 64.064
20 | 66.2019 | PASS | Point 0 | Black | 0.3012 | 0.37037 | 0.32484 | 0.9649
|  |  | Point 1 | White | 173.2794 | 70.8936 | 166.4498 | 64.9104
|  |  | Point 1 | Black | 0.29916 | 0.35257 | 0.31375 | 0.96869
|  |  | Point 2 | White | 160.0871 | 67.0119 | 157.5479 | 62.4004
|  |  | Point 2 | Black | 0.27027 | 0.33039 | 0.29945 | 0.93338
|  |  | Point 3 | White | 169.3976 | 74.3376 | 158.0149 | 58.1976
|  |  | Point 3 | Black | 0.26513 | 0.36658 | 0.28836 | 0.87909
|  |  | Point 4 | White | 178.4162 | 73.5496 | 166.1871 | 59.4234
|  |  | Point 4 | Black | 0.30033 | 0.36921 | 0.31638 | 0.88814

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.077548 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12641 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16534 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.2156 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.27543 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.33389 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42904 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.55104 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.70573 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.89806 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.154 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4666 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8776 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3997 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 3.0237 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.657 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.6494 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 5.881 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.5739 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.6432 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.0014 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.7168 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.0919 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 25.503 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.3461 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 41.7073 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 52.0393 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 65.786 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 84.7863 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 106.2675 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 137.2342 | PASS
31 | 148.75 | 175 | 201.25 | 173.5712 | PASS