## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S23124826
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 172.7073 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.12786 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 666.0369 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1738 | 0.4951 | 0.03 | 0.014459 | PASS
Radius Red | 0.4514 | 0.5282 | 0.03 | 0.00044721 | PASS
Radius Green | 0.1217 | 0.5629 | 0.03 | 0.0097417 | PASS
Radius Blue | 0.12 | 0.3028 | 0.03 | 0.020026 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.076702 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 59.3067 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 61.2183 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1738 | 0.4951 | 0.014459 | PASS | -0.0032 | 0.0141 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4514 | 0.5282 | 0.00044721 | PASS | 0.0004 | 0.0002 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1217 | 0.5629 | 0.0097417 | PASS | 0.0097 | 0.0009 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.12 | 0.3028 | 0.020026 | PASS | -0.003 | 0.0198 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 197.8835
Point 1 | 183.2611
Point 2 | 174.2133
Point 3 | 182.6482
Point 4 | 184.9539

## Curves
CURVES
Step | Luminance | Status
1 | 0.096373 | 0
2 | 0.043429 | 0
3 | 0.069872 | 0
4 | 0.083123 | 0
5 | 0.076468 | 0
6 | 0.076439 | 0
7 | 0.10738 | 0
8 | 0.13408 | 0
9 | 0.062109 | 0
10 | 0.0983 | 0
11 | 0.1164 | 0
12 | 0.12536 | 0
13 | 0.12538 | 0
14 | 0.16435 | 0
15 | 0.16438 | 0
16 | 0.21467 | 0
17 | 0.21452 | 0
18 | 0.27426 | 0
19 | 0.27447 | 0
20 | 0.35491 | 0
21 | 0.35491 | 0
22 | 0.17106 | 0
23 | 0.26309 | 0
24 | 0.30938 | 0
25 | 0.33214 | 0
26 | 0.33243 | 0
27 | 0.42758 | 0
28 | 0.42729 | 0
29 | 0.55016 | 0
30 | 0.55075 | 0
31 | 0.70281 | 0
32 | 0.7031 | 0
33 | 0.89515 | 0
34 | 0.89602 | 0
35 | 1.1517 | 0
36 | 1.1491 | 0
37 | 1.4631 | 0
38 | 1.4646 | 0
39 | 1.8723 | 0
40 | 1.8743 | 0
41 | 2.3787 | 0
42 | 2.3839 | 0
43 | 3.0325 | 0
44 | 3.0354 | 0
45 | 3.873 | 0
46 | 3.8993 | 0
47 | 4.9383 | 0
48 | 4.877 | 0
49 | 6.2926 | 0
50 | 6.2867 | 0
51 | 8.0379 | 0
52 | 8.1342 | 0
53 | 3.9518 | 0
54 | 6.0766 | 0
55 | 6.9726 | 0
56 | 7.4921 | 0
57 | 7.6468 | 0
58 | 9.579 | 0
59 | 9.6928 | 0
60 | 12.2232 | 0
61 | 12.2262 | 0
62 | 16.0846 | 0
63 | 15.638 | 0
64 | 20.0335 | 0
65 | 19.5782 | 0
66 | 23.781 | 0
67 | 28.1502 | 0
68 | 13.5804 | 0
69 | 20.3137 | 0
70 | 24.2188 | 0
71 | 23.889 | 0
72 | 31.1126 | 0
73 | 29.7117 | 0
74 | 35.2863 | 0
75 | 41.3862 | 0
76 | 38.2925 | 0
77 | 52.0976 | 0
78 | 51.8641 | 0
79 | 66.3114 | 0
80 | 66.6908 | 0
81 | 84.4945 | 0
82 | 84.1151 | 0
83 | 106.968 | 0
84 | 107.2307 | 0
85 | 135.5122 | 0
86 | 136.1251 | 0
87 | 184.8955 | 0
88 | 91.3241 | 0
89 | 138.1098 | 0
90 | 161.2838 | 0
91 | 173.1626 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 185.3041
150 | 200 | 172.7073 | PASS | Point 1 | 171.3823
|  |  |  | Point 2 | 163.035
|  |  |  | Point 3 | 170.7693
Uniformity Test |  |  |  | Point 4 | 173.0459
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.12786 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 185.2166 | White
100 | 666.0369 | PASS | 0.27809 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.082451
0.05 | 0.1 | 0.076702 | PASS | Point 1 | 0.076176
|  |  |  | Point 2 | 0.072382
|  |  |  | Point 3 | 0.07606
|  |  |  | Point 4 | 0.076439

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 185.2166 | 74.075 | 167.0335 | 64.0057
50 | 59.3067 | PASS | Point 1 | 171.5282 | 71.5941 | 164.6986 | 65.8736
|  |  | Point 2 | 163.0641 | 69.23 | 158.9489 | 63.6846
|  |  | Point 3 | 170.7693 | 75.5343 | 156.5848 | 59.5693
|  |  | Point 4 | 172.9875 | 73.8707 | 159.445 | 59.3067

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 184.808 | 73.9874 | 166.8292 | 63.9473
20 | 61.2183 | PASS | Point 0 | Black | 0.27861 | 0.36337 | 0.29595 | 1.0218
|  |  | Point 1 | White | 171.2947 | 71.5357 | 164.6402 | 65.9028
|  |  | Point 1 | Black | 0.26052 | 0.34527 | 0.28897 | 1.0373
|  |  | Point 2 | White | 162.889 | 69.23 | 158.7446 | 63.6554
|  |  | Point 2 | Black | 0.26276 | 0.33243 | 0.28641 | 0.98037
|  |  | Point 3 | White | 170.5067 | 75.4759 | 156.3513 | 59.5402
|  |  | Point 3 | Black | 0.25272 | 0.36921 | 0.27368 | 0.94768
|  |  | Point 4 | White | 172.7248 | 73.8123 | 159.2407 | 59.2483
|  |  | Point 4 | Black | 0.26583 | 0.36191 | 0.28401 | 0.96782

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.076556 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12518 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16391 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21388 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.2733 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.33097 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42554 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.54695 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.70018 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.89252 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1424 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4567 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.858 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3863 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 3.0004 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8322 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.9004 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.3188 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.5476 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.5264 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.0686 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.4658 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.5023 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 24.4407 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 29.9452 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 42.3202 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 51.6307 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 65.9903 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 83.8816 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 105.8297 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 134.695 | PASS
31 | 148.75 | 175 | 201.25 | 172.4038 | PASS