## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S23124829
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 171.1546 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.15569 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 629.561 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1734 | 0.4926 | 0.03 | 0.012146 | PASS
Radius Red | 0.4508 | 0.5281 | 0.03 | 0.00022361 | PASS
Radius Green | 0.1226 | 0.5626 | 0.03 | 0.010617 | PASS
Radius Blue | 0.1221 | 0.2974 | 0.03 | 0.014428 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.077968 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 64.4435 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 68.1917 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1734 | 0.4926 | 0.012146 | PASS | -0.0036 | 0.0116 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4508 | 0.5281 | 0.00022361 | PASS | -0.0002 | 0.0001 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1226 | 0.5626 | 0.010617 | PASS | 0.0106 | 0.0006 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1221 | 0.2974 | 0.014428 | PASS | -0.0009 | 0.0144 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 188.8065
Point 1 | 167.8507
Point 2 | 161.4297
Point 3 | 169.6311
Point 4 | 169.6019

## Curves
CURVES
Step | Luminance | Status
1 | 0.089193 | 0
2 | 0.040919 | 0
3 | 0.065202 | 0
4 | 0.077169 | 0
5 | 0.07714 | 0
6 | 0.10776 | 0
7 | 0.12387 | 0
8 | 0.1239 | 0
9 | 0.16201 | 0
10 | 0.16204 | 0
11 | 0.21116 | 0
12 | 0.21119 | 0
13 | 0.26959 | 0
14 | 0.2698 | 0
15 | 0.34819 | 0
16 | 0.3479 | 0
17 | 0.44743 | 0
18 | 0.39548 | 0
19 | 0.4877 | 0
20 | 0.48683 | 0
21 | 0.45823 | 0
22 | 0.42729 | 0
23 | 0.42787 | 0
24 | 0.55016 | 0
25 | 0.54958 | 0
26 | 0.70368 | 0
27 | 0.70368 | 0
28 | 0.89631 | 0
29 | 0.89573 | 0
30 | 1.1485 | 0
31 | 1.1485 | 0
32 | 1.459 | 0
33 | 1.4582 | 0
34 | 1.8665 | 0
35 | 1.8641 | 0
36 | 2.3775 | 0
37 | 2.3898 | 0
38 | 3.0179 | 0
39 | 3.015 | 0
40 | 3.8614 | 0
41 | 3.8614 | 0
42 | 4.9062 | 0
43 | 4.915 | 0
44 | 6.2109 | 0
45 | 6.2663 | 0
46 | 7.9212 | 0
47 | 7.9153 | 0
48 | 9.9642 | 0
49 | 10.0138 | 0
50 | 13.1134 | 0
51 | 11.9285 | 0
52 | 11.9547 | 0
53 | 14.9026 | 0
54 | 15.6614 | 0
55 | 15.2907 | 0
56 | 19.4761 | 0
57 | 19.2396 | 0
58 | 24.1284 | 0
59 | 24.1721 | 0
60 | 31.171 | 0
61 | 30.7916 | 0
62 | 28.661 | 0
63 | 28.0744 | 0
64 | 24.3385 | 0
65 | 26.2677 | 0
66 | 33.681 | 0
67 | 30.2371 | 0
68 | 40.8609 | 0
69 | 43.0207 | 0
70 | 52.5646 | 0
71 | 52.5062 | 0
72 | 66.6908 | 0
73 | 67.187 | 0
74 | 84.582 | 0
75 | 84.6404 | 0
76 | 108.0187 | 0
77 | 109.5072 | 0
78 | 137.0007 | 0
79 | 137.6428 | 0
80 | 169.3684 | 0
81 | 64.1224 | 0
82 | 81.4299 | 0
83 | 82.0428 | 0
84 | 103.845 | 0
85 | 103.9618 | 0
86 | 132.506 | 0
87 | 133.2065 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 188.5146
150 | 200 | 171.1546 | PASS | Point 1 | 167.588
|  |  |  | Point 2 | 161.2838
|  |  |  | Point 3 | 169.1057
Uniformity Test |  |  |  | Point 4 | 169.2808
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.15569 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 188.3395 | White
100 | 629.561 | PASS | 0.29916 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.085925
0.05 | 0.1 | 0.077968 | PASS | Point 1 | 0.076468
|  |  |  | Point 2 | 0.073608
|  |  |  | Point 3 | 0.07711
|  |  |  | Point 4 | 0.076731

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 188.4855 | 82.3931 | 170.1856 | 70.6893
50 | 64.4435 | PASS | Point 1 | 167.7631 | 76.5558 | 163.4144 | 71.9735
|  |  | Point 2 | 161.4297 | 75.4175 | 159.7369 | 70.8645
|  |  | Point 3 | 168.989 | 82.6849 | 156.0302 | 64.6478
|  |  | Point 4 | 169.2516 | 81.7802 | 157.6355 | 64.4435

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 188.0477 | 82.2763 | 169.8646 | 70.6602
20 | 68.1917 | PASS | Point 0 | Black | 0.30033 | 0.37125 | 0.3158 | 1.011
|  |  | Point 1 | White | 167.5005 | 76.585 | 163.2684 | 71.9444
|  |  | Point 1 | Black | 0.28033 | 0.34498 | 0.3085 | 0.99496
|  |  | Point 2 | White | 161.167 | 75.4759 | 159.5326 | 70.8645
|  |  | Point 2 | Black | 0.26752 | 0.3336 | 0.30179 | 0.97482
|  |  | Point 3 | White | 168.6095 | 82.5974 | 155.6508 | 64.6186
|  |  | Point 3 | Black | 0.26811 | 0.37359 | 0.28795 | 0.92579
|  |  | Point 4 | White | 168.9598 | 81.6926 | 157.3144 | 64.3851
|  |  | Point 4 | Black | 0.27202 | 0.3695 | 0.29303 | 0.94418

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.077227 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12363 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.1614 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21023 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26814 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34615 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42495 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.54637 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.69989 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.88931 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1415 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4538 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8522 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3545 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9974 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8351 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.9091 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1729 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.965 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.8767 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 11.8584 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.2032 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.12 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 24.7938 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 30.1495 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 42.9915 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 52.5938 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 66.3114 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 85.0198 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 108.2814 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 136.2127 | PASS
31 | 148.75 | 175 | 201.25 | 168.522 | PASS