## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S23166788
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 181.5333 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.16464 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 627.3056 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1744 | 0.4952 | 0.03 | 0.014436 | PASS
Radius Red | 0.4514 | 0.5282 | 0.03 | 0.00044721 | PASS
Radius Green | 0.1228 | 0.5627 | 0.03 | 0.010823 | PASS
Radius Blue | 0.1208 | 0.3001 | 0.03 | 0.017241 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.075785 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 63.0133 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 64.0244 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1744 | 0.4952 | 0.014436 | PASS | -0.0026 | 0.0142 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4514 | 0.5282 | 0.00044721 | PASS | 0.0004 | 0.0002 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1228 | 0.5627 | 0.010823 | PASS | 0.0108 | 0.0007 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1208 | 0.3001 | 0.017241 | PASS | -0.0022 | 0.0171 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 202.7576
Point 1 | 172.9583
Point 2 | 171.499
Point 3 | 179.7879
Point 4 | 179.9339

## Curves
CURVES
Step | Luminance | Status
1 | 0.093659 | 0
2 | 0.042729 | 0
3 | 0.068296 | 0
4 | 0.08108 | 0
5 | 0.074746 | 0
6 | 0.074746 | 0
7 | 0.1049 | 0
8 | 0.13073 | 0
9 | 0.13078 | 0
10 | 0.17109 | 0
11 | 0.16131 | 0
12 | 0.1614 | 0
13 | 0.21081 | 0
14 | 0.21078 | 0
15 | 0.26986 | 0
16 | 0.26994 | 0
17 | 0.34819 | 0
18 | 0.34849 | 0
19 | 0.44772 | 0
20 | 0.41941 | 0
21 | 0.4197 | 0
22 | 0.54053 | 0
23 | 0.54111 | 0
24 | 0.69084 | 0
25 | 0.69084 | 0
26 | 0.87851 | 0
27 | 0.88143 | 0
28 | 1.1298 | 0
29 | 1.1283 | 0
30 | 1.4377 | 0
31 | 1.4371 | 0
32 | 1.8396 | 0
33 | 1.8431 | 0
34 | 2.3442 | 0
35 | 2.3302 | 0
36 | 2.9945 | 0
37 | 2.977 | 0
38 | 3.7796 | 0
39 | 3.803 | 0
40 | 4.8157 | 0
41 | 4.8303 | 0
42 | 6.2284 | 0
43 | 6.17 | 0
44 | 7.8891 | 0
45 | 7.9066 | 0
46 | 9.8387 | 0
47 | 10.0051 | 0
48 | 12.8945 | 0
49 | 12.6961 | 0
50 | 15.9941 | 0
51 | 16.2597 | 0
52 | 20.6406 | 0
53 | 20.9003 | 0
54 | 26.831 | 0
55 | 26.5508 | 0
56 | 27.5286 | 0
57 | 30.8792 | 0
58 | 31.6672 | 0
59 | 39.4016 | 0
60 | 44.3341 | 0
61 | 53.8488 | 0
62 | 53.8196 | 0
63 | 68.4128 | 0
64 | 68.2961 | 0
65 | 87.2088 | 0
66 | 86.8002 | 0
67 | 111.0249 | 0
68 | 111.0249 | 0
69 | 140.9409 | 0
70 | 140.2112 | 0
71 | 180.3716 | 0
72 | 45.7058 | 0
73 | 45.7058 | 0
74 | 23.5651 | 0
75 | 35.3739 | 0
76 | 40.248 | 0
77 | 36.9499 | 0
78 | 50.8426 | 0
79 | 50.4632 | 0
80 | 63.8597 | 0
81 | 64.1224 | 0
82 | 81.4299 | 0
83 | 82.0428 | 0
84 | 103.845 | 0
85 | 103.9618 | 0
86 | 132.506 | 0
87 | 133.2065 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 202.6116
150 | 200 | 181.5333 | PASS | Point 1 | 173.2502
|  |  |  | Point 2 | 171.7909
|  |  |  | Point 3 | 179.8755
Uniformity Test |  |  |  | Point 4 | 180.1382
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.16464 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 202.4949 | White
100 | 627.3056 | PASS | 0.3228 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.08467
0.05 | 0.1 | 0.075785 | PASS | Point 1 | 0.072411
|  |  |  | Point 2 | 0.071828
|  |  |  | Point 3 | 0.075184
|  |  |  | Point 4 | 0.074834

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 202.6992 | 79.2409 | 185.5084 | 69.1133
50 | 63.0133 | PASS | Point 1 | 173.5129 | 73.9874 | 171.2363 | 69.0257
|  |  | Point 2 | 172.0244 | 72.353 | 168.3761 | 67.3037
|  |  | Point 3 | 179.8463 | 79.5912 | 168.8722 | 63.9473
|  |  | Point 4 | 180.109 | 78.1027 | 170.3607 | 63.0133

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 202.2322 | 79.1826 | 185.0998 | 69.0841
20 | 64.0244 | PASS | Point 0 | Black | 0.32368 | 0.39489 | 0.34177 | 1.0595
|  |  | Point 1 | White | 173.2502 | 73.929 | 171.0612 | 69.0257
|  |  | Point 1 | Black | 0.278 | 0.36804 | 0.31259 | 1.0528
|  |  | Point 2 | White | 171.7617 | 72.3238 | 168.2009 | 67.4205
|  |  | Point 2 | Black | 0.27187 | 0.3587 | 0.30879 | 1.053
|  |  | Point 3 | White | 179.4961 | 79.562 | 168.4636 | 63.9473
|  |  | Point 3 | Black | 0.29566 | 0.39139 | 0.31317 | 0.94681
|  |  | Point 4 | White | 179.7295 | 78.1319 | 170.0689 | 63.0425
|  |  | Point 4 | Black | 0.29332 | 0.38964 | 0.31901 | 0.96315

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.075126 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.13099 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16143 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21061 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26962 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.3479 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.41912 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53936 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.6888 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.87938 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1266 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.431 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8288 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.341 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9595 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.7884 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8099 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1466 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.7811 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.0926 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.9237 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 16.61 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.2145 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 25.5731 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.8131 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 42.437 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 53.3235 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 68.6171 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 87.2964 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 111.5794 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 139.9777 | PASS
31 | 148.75 | 175 | 201.25 | 179.8755 | PASS