## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S23239330
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 175.5092 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.15262 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 860.8616 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1733 | 0.4958 | 0.03 | 0.015255 | PASS
Radius Red | 0.4517 | 0.5281 | 0.03 | 0.00070711 | PASS
Radius Green | 0.1235 | 0.5614 | 0.03 | 0.011516 | PASS
Radius Blue | 0.1208 | 0.2985 | 0.03 | 0.015655 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.071723 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 60.2698 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 79.9231 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1733 | 0.4958 | 0.015255 | PASS | -0.0037 | 0.0148 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4517 | 0.5281 | 0.00070711 | PASS | 0.0007 | 0.0001 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1235 | 0.5614 | 0.011516 | PASS | 0.0115 | -0.0006 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1208 | 0.2985 | 0.015655 | PASS | -0.0022 | 0.0155 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 206.0556
Point 1 | 187.7266
Point 2 | 176.8985
Point 3 | 180.8386
Point 4 | 185.2166

## Curves
CURVES
Step | Luminance | Status
1 | 0.098416 | 0
2 | 0.045268 | 0
3 | 0.071769 | 0
4 | 0.071711 | 0
5 | 0.10069 | 0
6 | 0.13662 | 0
7 | 0.064443 | 0
8 | 0.10066 | 0
9 | 0.11882 | 0
10 | 0.12775 | 0
11 | 0.12778 | 0
12 | 0.16715 | 0
13 | 0.16721 | 0
14 | 0.21826 | 0
15 | 0.21998 | 0
16 | 0.1058 | 0
17 | 0.16298 | 0
18 | 0.19146 | 0
19 | 0.20568 | 0
20 | 0.20571 | 0
21 | 0.26341 | 0
22 | 0.26349 | 0
23 | 0.34002 | 0
24 | 0.34002 | 0
25 | 0.4375 | 0
26 | 0.43692 | 0
27 | 0.56388 | 0
28 | 0.56359 | 0
29 | 0.7209 | 0
30 | 0.72003 | 0
31 | 0.91908 | 0
32 | 0.91674 | 0
33 | 1.1756 | 0
34 | 1.1774 | 0
35 | 0.58548 | 0
36 | 0.87997 | 0
37 | 1.0268 | 0
38 | 1.1006 | 0
39 | 1.1035 | 0
40 | 1.4042 | 0
41 | 1.4027 | 0
42 | 1.7947 | 0
43 | 1.7941 | 0
44 | 2.2812 | 0
45 | 2.2955 | 0
46 | 2.9067 | 0
47 | 2.8959 | 0
48 | 3.7096 | 0
49 | 3.7096 | 0
50 | 4.7194 | 0
51 | 4.7136 | 0
52 | 6.0124 | 0
53 | 6.0912 | 0
54 | 7.606 | 0
55 | 7.7811 | 0
56 | 9.7336 | 0
57 | 9.7074 | 0
58 | 12.4655 | 0
59 | 12.413 | 0
60 | 16.2422 | 0
61 | 16.251 | 0
62 | 20.553 | 0
63 | 20.3896 | 0
64 | 25.8037 | 0
65 | 25.1294 | 0
66 | 33.9145 | 0
67 | 31.8131 | 0
68 | 42.8164 | 0
69 | 43.1082 | 0
70 | 52.7105 | 0
71 | 52.623 | 0
72 | 67.041 | 0
73 | 66.4281 | 0
74 | 84.5237 | 0
75 | 84.6696 | 0
76 | 107.3474 | 0
77 | 107.3766 | 0
78 | 137.205 | 0
79 | 138.4309 | 0
80 | 187.5807 | 0
81 | 94.0384 | 0
82 | 140.795 | 0
83 | 164.0273 | 0
84 | 175.7602 | 0
85 | 103.9618 | 0
86 | 132.506 | 0
87 | 133.2065 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 193.0677
150 | 200 | 175.5092 | PASS | Point 1 | 175.731
|  |  |  | Point 2 | 165.6909
|  |  |  | Point 3 | 169.4268
Uniformity Test |  |  |  | Point 4 | 173.6296
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.15262 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 193.0385 | White
100 | 860.8616 | PASS | 0.22424 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.079007
0.05 | 0.1 | 0.071723 | PASS | Point 1 | 0.071828
|  |  |  | Point 2 | 0.067742
|  |  |  | Point 3 | 0.069376
|  |  |  | Point 4 | 0.07066

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 193.2428 | 76.4682 | 175.0305 | 65.9903
50 | 60.2698 | PASS | Point 1 | 175.8186 | 72.0611 | 170.4483 | 67.9458
|  |  | Point 2 | 165.7785 | 69.5219 | 163.9981 | 65.3482
|  |  | Point 3 | 169.5435 | 77.7524 | 158.9197 | 60.5909
|  |  | Point 4 | 173.7755 | 75.8553 | 162.568 | 60.2698

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 193.0969 | 76.5266 | 175.0597 | 66.0195
20 | 79.9231 | PASS | Point 0 | Black | 0.22476 | 0.33039 | 0.24484 | 0.80204
|  |  | Point 1 | White | 175.7602 | 72.1487 | 170.4483 | 68.0042
|  |  | Point 1 | Black | 0.20591 | 0.30704 | 0.23054 | 0.82918
|  |  | Point 2 | White | 165.7785 | 69.6094 | 164.1149 | 65.4066
|  |  | Point 2 | Black | 0.21931 | 0.30004 | 0.23924 | 0.76468
|  |  | Point 3 | White | 169.5143 | 77.8108 | 159.0072 | 60.6492
|  |  | Point 3 | Black | 0.19018 | 0.32689 | 0.21172 | 0.75885
|  |  | Point 4 | White | 173.8047 | 75.8845 | 162.7139 | 60.299
|  |  | Point 4 | Black | 0.2135 | 0.32951 | 0.22897 | 0.73725

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.072061 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12813 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16738 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20594 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26364 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34031 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.43721 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.5633 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.71915 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.91704 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1009 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4065 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.7926 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.2859 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.8947 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.6921 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.7282 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 5.9861 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.6468 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.7336 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.2087 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.5184 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.3546 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 26.2123 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 32.9806 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 43.225 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 52.4771 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 67.508 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 84.2318 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 108.223 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 138.3725 | PASS
31 | 148.75 | 175 | 201.25 | 175.7018 | PASS