## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S23263100
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 170.8627 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.15999 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 678.7789 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1735 | 0.4972 | 0.03 | 0.016574 | PASS
Radius Red | 0.4503 | 0.5284 | 0.03 | 0.00080623 | PASS
Radius Green | 0.1231 | 0.5633 | 0.03 | 0.011176 | PASS
Radius Blue | 0.1199 | 0.3035 | 0.03 | 0.020733 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.074962 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 58.6062 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 61.4731 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1735 | 0.4972 | 0.016574 | PASS | -0.0035 | 0.0162 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4503 | 0.5284 | 0.00080623 | PASS | -0.0007 | 0.0004 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1231 | 0.5633 | 0.011176 | PASS | 0.0111 | 0.0013 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1199 | 0.3035 | 0.020733 | PASS | -0.0031 | 0.0205 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 215.4245
Point 1 | 188.3687
Point 2 | 183.3778
Point 3 | 198.7882
Point 4 | 194.1476

## Curves
CURVES
Step | Luminance | Status
1 | 0.10145 | 0
2 | 0.045823 | 0
3 | 0.073812 | 0
4 | 0.073812 | 0
5 | 0.1037 | 0
6 | 0.14123 | 0
7 | 0.065465 | 0
8 | 0.10373 | 0
9 | 0.12273 | 0
10 | 0.12279 | 0
11 | 0.16093 | 0
12 | 0.16096 | 0
13 | 0.21011 | 0
14 | 0.21029 | 0
15 | 0.26889 | 0
16 | 0.26872 | 0
17 | 0.34732 | 0
18 | 0.34761 | 0
19 | 0.44655 | 0
20 | 0.45239 | 0
21 | 0.2184 | 0
22 | 0.33535 | 0
23 | 0.39402 | 0
24 | 0.42379 | 0
25 | 0.42379 | 0
26 | 0.54549 | 0
27 | 0.54549 | 0
28 | 0.69755 | 0
29 | 0.6993 | 0
30 | 0.88814 | 0
31 | 0.88902 | 0
32 | 1.1432 | 0
33 | 1.1415 | 0
34 | 1.4514 | 0
35 | 1.452 | 0
36 | 1.8542 | 0
37 | 1.8516 | 0
38 | 2.3539 | 0
39 | 2.3749 | 0
40 | 3.0062 | 0
41 | 2.9945 | 0
42 | 3.8351 | 0
43 | 3.838 | 0
44 | 4.9121 | 0
45 | 4.8391 | 0
46 | 6.1729 | 0
47 | 6.2371 | 0
48 | 7.9708 | 0
49 | 7.8978 | 0
50 | 10.0605 | 0
51 | 10.186 | 0
52 | 12.842 | 0
53 | 12.591 | 0
54 | 16.7063 | 0
55 | 17.0711 | 0
56 | 8.5399 | 0
57 | 12.7311 | 0
58 | 15.2878 | 0
59 | 14.8996 | 0
60 | 19.5986 | 0
61 | 19.6278 | 0
62 | 25.1557 | 0
63 | 24.4903 | 0
64 | 30.704 | 0
65 | 34.7026 | 0
66 | 16.3589 | 0
67 | 23.8715 | 0
68 | 28.8069 | 0
69 | 30.9083 | 0
70 | 32.9222 | 0
71 | 38.2633 | 0
72 | 42.0575 | 0
73 | 44.9178 | 0
74 | 54.8412 | 0
75 | 54.1407 | 0
76 | 69.3468 | 0
77 | 69.4051 | 0
78 | 87.9093 | 0
79 | 88.1136 | 0
80 | 112.4258 | 0
81 | 112.4258 | 0
82 | 143.7428 | 0
83 | 142.7796 | 0
84 | 194.1476 | 0
85 | 95.6145 | 0
86 | 144.7643 | 0
87 | 169.2516 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 187.7558
150 | 200 | 170.8627 | PASS | Point 1 | 164.3192
|  |  |  | Point 2 | 159.9412
|  |  |  | Point 3 | 173.221
Uniformity Test |  |  |  | Point 4 | 169.0765
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.15999 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 187.5515 | White
100 | 678.7789 | PASS | 0.27631 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.082451
0.05 | 0.1 | 0.074962 | PASS | Point 1 | 0.072149
|  |  |  | Point 2 | 0.070222
|  |  |  | Point 3 | 0.076147
|  |  |  | Point 4 | 0.073841

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 187.9893 | 73.8707 | 169.6019 | 64.2683
50 | 58.6062 | PASS | Point 1 | 164.5235 | 69.376 | 160.1455 | 65.4066
|  |  | Point 2 | 159.9996 | 68.2669 | 156.3805 | 63.3928
|  |  | Point 3 | 173.2502 | 75.0673 | 159.4742 | 59.7736
|  |  | Point 4 | 168.989 | 73.0534 | 157.869 | 58.6062

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 187.2596 | 73.7247 | 169.2516 | 64.1808
20 | 61.4731 | PASS | Point 0 | Black | 0.27692 | 0.35053 | 0.28465 | 1.0358
|  |  | Point 1 | White | 164.0565 | 69.3176 | 159.912 | 65.3482
|  |  | Point 1 | Black | 0.28994 | 0.32601 | 0.28991 | 1.0563
|  |  | Point 2 | White | 159.5618 | 68.1209 | 156.1178 | 63.3344
|  |  | Point 2 | Black | 0.2273 | 0.31346 | 0.26484 | 1.0303
|  |  | Point 3 | White | 172.8708 | 74.9505 | 159.2115 | 59.6861
|  |  | Point 3 | Black | 0.22891 | 0.34907 | 0.25322 | 0.93601
|  |  | Point 4 | White | 168.522 | 72.9367 | 157.5771 | 58.5186
|  |  | Point 4 | Black | 0.23083 | 0.34644 | 0.25553 | 0.93192

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.073929 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12267 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16067 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20965 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26796 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34615 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42203 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.54345 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.69522 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.88639 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1386 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4497 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.853 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3615 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.977 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8468 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8946 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.2138 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.9883 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.0459 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.7895 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 14.8588 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.1842 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 23.1419 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 29.5658 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 44.0422 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 54.7536 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 69.23 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 88.2012 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 113.1555 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 142.2251 | PASS
31 | 148.75 | 175 | 201.25 | 168.6387 | PASS