## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S24017776
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 181.4282 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.14308 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 584.8976 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1723 | 0.5005 | 0.03 | 0.020058 | PASS
Radius Red | 0.4508 | 0.5286 | 0.03 | 0.00063246 | PASS
Radius Green | 0.1244 | 0.5614 | 0.03 | 0.012415 | PASS
Radius Blue | 0.1167 | 0.311 | 0.03 | 0.0287 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.072295 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 64.8521 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 92.2822 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1723 | 0.5005 | 0.020058 | PASS | -0.0047 | 0.0195 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4508 | 0.5286 | 0.00063246 | PASS | -0.0002 | 0.0006 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1244 | 0.5614 | 0.012415 | PASS | 0.0124 | -0.0006 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1167 | 0.311 | 0.0287 | PASS | -0.0063 | 0.028 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 229.0545
Point 1 | 207.369
Point 2 | 198.6423
Point 3 | 198.6715
Point 4 | 203.7499

## Curves
CURVES
Step | Luminance | Status
1 | 0.10849 | 0
2 | 0.050055 | 0
3 | 0.079183 | 0
4 | 0.064706 | 0
5 | 0.071944 | 0
6 | 0.071974 | 0
7 | 0.10142 | 0
8 | 0.15107 | 0
9 | 0.071448 | 0
10 | 0.11129 | 0
11 | 0.13128 | 0
12 | 0.13134 | 0
13 | 0.17211 | 0
14 | 0.18659 | 0
15 | 0.089164 | 0
16 | 0.13805 | 0
17 | 0.16219 | 0
18 | 0.16216 | 0
19 | 0.21169 | 0
20 | 0.21181 | 0
21 | 0.27105 | 0
22 | 0.27105 | 0
23 | 0.35053 | 0
24 | 0.35082 | 0
25 | 0.45064 | 0
26 | 0.48362 | 0
27 | 0.23898 | 0
28 | 0.36133 | 0
29 | 0.42203 | 0
30 | 0.42145 | 0
31 | 0.54374 | 0
32 | 0.54316 | 0
33 | 0.69405 | 0
34 | 0.69434 | 0
35 | 0.88551 | 0
36 | 0.88551 | 0
37 | 1.1377 | 0
38 | 1.1394 | 0
39 | 1.4491 | 0
40 | 1.4465 | 0
41 | 1.8411 | 0
42 | 1.851 | 0
43 | 2.3542 | 0
44 | 2.3434 | 0
45 | 3.012 | 0
46 | 2.977 | 0
47 | 3.8526 | 0
48 | 3.8526 | 0
49 | 4.8508 | 0
50 | 4.9062 | 0
51 | 6.2342 | 0
52 | 6.1496 | 0
53 | 7.892 | 0
54 | 7.9358 | 0
55 | 10.0197 | 0
56 | 9.8533 | 0
57 | 12.7895 | 0
58 | 13.0988 | 0
59 | 15.9474 | 0
60 | 16.5399 | 0
61 | 21.0171 | 0
62 | 21.02 | 0
63 | 27.0441 | 0
64 | 27.9313 | 0
65 | 15.2382 | 0
66 | 23.5096 | 0
67 | 26.8923 | 0
68 | 24.7004 | 0
69 | 24.429 | 0
70 | 30.4706 | 0
71 | 37.6212 | 0
72 | 18.1452 | 0
73 | 26.7289 | 0
74 | 30.8792 | 0
75 | 29.3031 | 0
76 | 41.7949 | 0
77 | 41.4446 | 0
78 | 50.9594 | 0
79 | 50.9302 | 0
80 | 65.0564 | 0
81 | 65.0564 | 0
82 | 82.6266 | 0
83 | 82.6849 | 0
84 | 104.9833 | 0
85 | 105.0709 | 0
86 | 133.7902 | 0
87 | 132.7687 | 0
88 | 207.2815 | 0
89 | 104.4288 | 0
90 | 155.8259 | 0
91 | 181.1597 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 200.2184
150 | 200 | 181.4282 | PASS | Point 1 | 181.1013
|  |  |  | Point 2 | 173.7755
|  |  |  | Point 3 | 173.4837
Uniformity Test |  |  |  | Point 4 | 178.5621
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.14308 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 200.0724 | White
100 | 584.8976 | PASS | 0.34206 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.079825
0.05 | 0.1 | 0.072295 | PASS | Point 1 | 0.072149
|  |  |  | Point 2 | 0.069318
|  |  |  | Point 3 | 0.069288
|  |  |  | Point 4 | 0.070894

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 200.3059 | 83.8816 | 180.7511 | 71.3898
50 | 64.8521 | PASS | Point 1 | 181.0429 | 76.3223 | 174.5052 | 73.1994
|  |  | Point 2 | 173.8923 | 75.5926 | 169.9229 | 71.4482
|  |  | Point 3 | 173.6004 | 83.8816 | 161.6924 | 64.8521
|  |  | Point 4 | 178.7664 | 83.2395 | 167.2086 | 65.4942

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 200.0432 | 83.9108 | 180.6635 | 71.419
20 | 92.2822 | PASS | Point 0 | Black | 0.34294 | 0.35958 | 0.37563 | 0.75155
|  |  | Point 1 | White | 180.8386 | 76.3807 | 174.2717 | 73.2286
|  |  | Point 1 | Black | 0.26131 | 0.31083 | 0.30004 | 0.78628
|  |  | Point 2 | White | 173.7463 | 75.651 | 169.8062 | 71.5357
|  |  | Point 2 | Black | 0.3015 | 0.31142 | 0.32747 | 0.74717
|  |  | Point 3 | White | 173.3669 | 83.9108 | 161.6924 | 64.9104
|  |  | Point 3 | Black | 0.26201 | 0.34586 | 0.28979 | 0.70339
|  |  | Point 4 | White | 178.6788 | 83.327 | 167.2086 | 65.5525
|  |  | Point 4 | Black | 0.37942 | 0.36016 | 0.37563 | 0.68734

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.072324 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.13143 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.1621 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21146 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.27044 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34994 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42087 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.54199 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.69318 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.88405 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1342 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4412 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8484 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3451 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9858 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.803 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8449 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1963 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.9971 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.1744 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.9908 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.9241 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.2437 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 24.8347 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 30.7916 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 41.3279 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 51.1929 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 64.7937 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 82.9184 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 104.7498 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 133.5276 | PASS
31 | 148.75 | 175 | 201.25 | 180.897 | PASS