## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S24017779
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 185.9579 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.15007 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 769.1293 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1741 | 0.4996 | 0.03 | 0.018825 | PASS
Radius Red | 0.4508 | 0.5284 | 0.03 | 0.00044721 | PASS
Radius Green | 0.1257 | 0.5612 | 0.03 | 0.013723 | PASS
Radius Blue | 0.1172 | 0.3086 | 0.03 | 0.026249 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.074338 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 62.1669 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 81.4868 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1741 | 0.4996 | 0.018825 | PASS | -0.0029 | 0.0186 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4508 | 0.5284 | 0.00044721 | PASS | -0.0002 | 0.0004 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1257 | 0.5612 | 0.013723 | PASS | 0.0137 | -0.0008 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1172 | 0.3086 | 0.026249 | PASS | -0.0058 | 0.0256 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 233.1114
Point 1 | 208.7408
Point 2 | 200.7437
Point 3 | 209.4121
Point 4 | 209.4413

## Curves
CURVES
Step | Luminance | Status
1 | 0.10954 | 0
2 | 0.050463 | 0
3 | 0.079971 | 0
4 | 0.065348 | 0
5 | 0.072703 | 0
6 | 0.072645 | 0
7 | 0.10244 | 0
8 | 0.15247 | 0
9 | 0.07209 | 0
10 | 0.11246 | 0
11 | 0.13274 | 0
12 | 0.13277 | 0
13 | 0.17418 | 0
14 | 0.18854 | 0
15 | 0.090069 | 0
16 | 0.13954 | 0
17 | 0.16406 | 0
18 | 0.16409 | 0
19 | 0.21432 | 0
20 | 0.21443 | 0
21 | 0.27435 | 0
22 | 0.27423 | 0
23 | 0.35461 | 0
24 | 0.40365 | 0
25 | 0.19832 | 0
26 | 0.30091 | 0
27 | 0.35228 | 0
28 | 0.3263 | 0
29 | 0.3266 | 0
30 | 0.4197 | 0
31 | 0.4197 | 0
32 | 0.54053 | 0
33 | 0.54082 | 0
34 | 0.69172 | 0
35 | 0.6923 | 0
36 | 0.88055 | 0
37 | 0.88376 | 0
38 | 1.1301 | 0
39 | 1.1313 | 0
40 | 1.4447 | 0
41 | 1.4447 | 0
42 | 1.8417 | 0
43 | 1.8411 | 0
44 | 2.3521 | 0
45 | 2.3501 | 0
46 | 2.9974 | 0
47 | 3.0004 | 0
48 | 3.8117 | 0
49 | 3.8088 | 0
50 | 4.8508 | 0
51 | 4.8333 | 0
52 | 6.1262 | 0
53 | 6.1612 | 0
54 | 7.8803 | 0
55 | 7.9329 | 0
56 | 9.9876 | 0
57 | 9.973 | 0
58 | 12.4713 | 0
59 | 12.4713 | 0
60 | 15.9124 | 0
61 | 16.356 | 0
62 | 20.2524 | 0
63 | 20.4246 | 0
64 | 27.549 | 0
65 | 28.1619 | 0
66 | 15.0514 | 0
67 | 22.4793 | 0
68 | 27.2075 | 0
69 | 25.4213 | 0
70 | 24.105 | 0
71 | 30.9083 | 0
72 | 29.1834 | 0
73 | 41.2987 | 0
74 | 40.6274 | 0
75 | 51.0177 | 0
76 | 51.1637 | 0
77 | 64.8521 | 0
78 | 65.3191 | 0
79 | 82.8892 | 0
80 | 82.1596 | 0
81 | 104.4579 | 0
82 | 104.5163 | 0
83 | 133.7027 | 0
84 | 133.6443 | 0
85 | 210.1709 | 0
86 | 105.6546 | 0
87 | 157.8398 | 0
88 | 183.6697 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 204.2753
150 | 200 | 185.9579 | PASS | Point 1 | 182.7357
|  |  |  | Point 2 | 175.7602
|  |  |  | Point 3 | 183.4362
Uniformity Test |  |  |  | Point 4 | 183.5821
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.15007 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 204.1877 | White
100 | 769.1293 | PASS | 0.26548 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.081751
0.05 | 0.1 | 0.074338 | PASS | Point 1 | 0.073083
|  |  |  | Point 2 | 0.070281
|  |  |  | Point 3 | 0.07355
|  |  |  | Point 4 | 0.073024

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 204.3628 | 78.6864 | 185.4793 | 67.6831
50 | 62.1669 | PASS | Point 1 | 182.9984 | 71.5649 | 175.9937 | 68.8798
|  |  | Point 2 | 175.9061 | 70.0764 | 171.0028 | 66.4281
|  |  | Point 3 | 183.7281 | 79.7955 | 170.5358 | 62.8674
|  |  | Point 4 | 183.8156 | 77.7816 | 171.7909 | 62.1669

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 204.1585 | 78.6864 | 185.3917 | 67.7123
20 | 81.4868 | PASS | Point 0 | Black | 0.26612 | 0.34119 | 0.28214 | 0.81226
|  |  | Point 1 | White | 182.7941 | 71.6525 | 175.8769 | 68.9673
|  |  | Point 1 | Black | 0.2259 | 0.30471 | 0.25748 | 0.80729
|  |  | Point 2 | White | 175.7602 | 70.1348 | 170.9153 | 66.5449
|  |  | Point 2 | Black | 0.20095 | 0.28924 | 0.23568 | 0.81663
|  |  | Point 3 | White | 183.4946 | 79.7955 | 170.5067 | 62.8966
|  |  | Point 3 | Black | 0.2658 | 0.34732 | 0.27289 | 0.72966
|  |  | Point 4 | White | 183.6989 | 77.8108 | 171.7909 | 62.2837
|  |  | Point 4 | Black | 0.28191 | 0.33739 | 0.28296 | 0.74104

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.073404 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.13359 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16473 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21502 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.27496 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.32689 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42028 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.54199 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.69172 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.88143 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1356 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4436 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8437 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3434 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 3.0004 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8147 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.877 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1466 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.819 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.1539 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.7369 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.7986 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.3867 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 23.6906 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 29.6241 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 40.4231 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 51.0177 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 64.5602 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 82.5682 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 104.4288 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 133.2941 | PASS
31 | 148.75 | 175 | 201.25 | 183.9324 | PASS