## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S24046073
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 181.2706 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.14064 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 660.7977 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1732 | 0.4962 | 0.03 | 0.015668 | PASS
Radius Red | 0.4514 | 0.5282 | 0.03 | 0.00044721 | PASS
Radius Green | 0.124 | 0.5611 | 0.03 | 0.012034 | PASS
Radius Blue | 0.1196 | 0.3019 | 0.03 | 0.019203 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.072014 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 61.2622 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 59.8347 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1732 | 0.4962 | 0.015668 | PASS | -0.0038 | 0.0152 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4514 | 0.5282 | 0.00044721 | PASS | 0.0004 | 0.0002 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.124 | 0.5611 | 0.012034 | PASS | 0.012 | -0.0009 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1196 | 0.3019 | 0.019203 | PASS | -0.0034 | 0.0189 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 227.0406
Point 1 | 197.0954
Point 2 | 196.9203
Point 3 | 207.5733
Point 4 | 209.4121

## Curves
CURVES
Step | Luminance | Status
1 | 0.10846 | 0
2 | 0.049734 | 0
3 | 0.079153 | 0
4 | 0.064473 | 0
5 | 0.07174 | 0
6 | 0.071769 | 0
7 | 0.10096 | 0
8 | 0.15072 | 0
9 | 0.070864 | 0
10 | 0.11108 | 0
11 | 0.13105 | 0
12 | 0.13108 | 0
13 | 0.17182 | 0
14 | 0.18618 | 0
15 | 0.088289 | 0
16 | 0.13738 | 0
17 | 0.16175 | 0
18 | 0.16181 | 0
19 | 0.21131 | 0
20 | 0.21122 | 0
21 | 0.27032 | 0
22 | 0.27041 | 0
23 | 0.34936 | 0
24 | 0.34965 | 0
25 | 0.44918 | 0
26 | 0.48245 | 0
27 | 0.2353 | 0
28 | 0.35899 | 0
29 | 0.42058 | 0
30 | 0.42028 | 0
31 | 0.54111 | 0
32 | 0.54111 | 0
33 | 0.69288 | 0
34 | 0.69172 | 0
35 | 0.88318 | 0
36 | 0.8826 | 0
37 | 1.1313 | 0
38 | 1.1318 | 0
39 | 1.4366 | 0
40 | 1.4401 | 0
41 | 1.8402 | 0
42 | 1.8387 | 0
43 | 2.3434 | 0
44 | 2.3533 | 0
45 | 3.0004 | 0
46 | 2.9741 | 0
47 | 3.838 | 0
48 | 3.8292 | 0
49 | 4.7982 | 0
50 | 4.88 | 0
51 | 6.2079 | 0
52 | 6.17 | 0
53 | 7.8395 | 0
54 | 7.8482 | 0
55 | 9.8183 | 0
56 | 9.83 | 0
57 | 12.7486 | 0
58 | 12.5968 | 0
59 | 15.7519 | 0
60 | 16.1809 | 0
61 | 20.9441 | 0
62 | 20.947 | 0
63 | 26.904 | 0
64 | 29.4198 | 0
65 | 14.6399 | 0
66 | 23.2674 | 0
67 | 26.9507 | 0
68 | 23.8861 | 0
69 | 23.9416 | 0
70 | 26.2385 | 0
71 | 26.4574 | 0
72 | 30.2662 | 0
73 | 37.5336 | 0
74 | 17.5381 | 0
75 | 27.9547 | 0
76 | 29.449 | 0
77 | 34.9069 | 0
78 | 31.7547 | 0
79 | 30.2371 | 0
80 | 38.4676 | 0
81 | 45.6183 | 0
82 | 22.0211 | 0
83 | 35.8117 | 0
84 | 38.5844 | 0
85 | 44.7719 | 0
86 | 43.1958 | 0
87 | 41.2695 | 0
88 | 52.8273 | 0
89 | 52.7397 | 0
90 | 66.8659 | 0
91 | 66.4865 | 0
92 | 85.7203 | 0
93 | 84.9031 | 0
94 | 107.5517 | 0
95 | 109.0986 | 0
96 | 137.1758 | 0
97 | 138.0514 | 0
98 | 206.8729 | 0
99 | 102.9986 | 0
100 | 154.8628 | 0
101 | 180.6927 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 198.3504
150 | 200 | 181.2706 | PASS | Point 1 | 172.287
|  |  |  | Point 2 | 172.433
|  |  |  | Point 3 | 180.5468
Uniformity Test |  |  |  | Point 4 | 182.7357
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.14064 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 198.2629 | White
100 | 660.7977 | PASS | 0.30004 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.078949
0.05 | 0.1 | 0.072014 | PASS | Point 1 | 0.06853
|  |  |  | Point 2 | 0.06853
|  |  |  | Point 3 | 0.071828
|  |  |  | Point 4 | 0.072236

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 198.4672 | 78.6572 | 182.1228 | 67.975
50 | 61.2622 | PASS | Point 1 | 172.5205 | 72.7908 | 170.244 | 68.1209
|  |  | Point 2 | 172.4038 | 72.4697 | 168.8139 | 66.9243
|  |  | Point 3 | 180.4884 | 78.9199 | 168.8139 | 61.6124
|  |  | Point 4 | 182.7649 | 77.8692 | 172.2287 | 61.2622

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 198.2045 | 78.6572 | 181.7726 | 67.975
20 | 59.8347 | PASS | Point 0 | Black | 0.3015 | 0.37796 | 0.31959 | 1.1129
|  |  | Point 1 | White | 172.3162 | 72.7908 | 170.0689 | 68.0918
|  |  | Point 1 | Black | 0.27937 | 0.34498 | 0.29828 | 1.103
|  |  | Point 2 | White | 172.5497 | 72.5281 | 168.7847 | 66.9827
|  |  | Point 2 | Black | 0.26743 | 0.33973 | 0.29653 | 1.0638
|  |  | Point 3 | White | 180.1965 | 78.8615 | 168.522 | 61.6124
|  |  | Point 3 | Black | 0.26393 | 0.37475 | 0.29017 | 0.98533
|  |  | Point 4 | White | 182.5606 | 77.8692 | 172.0244 | 61.2622
|  |  | Point 4 | Black | 0.28635 | 0.37592 | 0.30587 | 1.0239

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.072032 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.13108 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16143 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21049 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26939 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.3479 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.41853 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53878 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.68938 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.87705 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1281 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4336 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8349 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3317 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9858 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8088 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8157 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1408 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.8686 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.938 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.4013 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.7898 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.7807 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 25.1966 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.7547 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 40.8317 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 52.3311 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 67.0702 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 85.3117 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 106.9096 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 137.9347 | PASS
31 | 148.75 | 175 | 201.25 | 179.9339 | PASS