## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S24046075
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 177.0386 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.12686 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 842.2729 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1729 | 0.4993 | 0.03 | 0.018754 | PASS
Radius Red | 0.4518 | 0.5286 | 0.03 | 0.001 | PASS
Radius Green | 0.123 | 0.561 | 0.03 | 0.011045 | PASS
Radius Blue | 0.1166 | 0.3104 | 0.03 | 0.028138 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.077712 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 58.256 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 84.9698 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1729 | 0.4993 | 0.018754 | PASS | -0.0041 | 0.0183 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4518 | 0.5286 | 0.001 | PASS | 0.0008 | 0.0006 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.123 | 0.561 | 0.011045 | PASS | 0.011 | -0.001 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1166 | 0.3104 | 0.028138 | PASS | -0.0064 | 0.0274 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 220.9115
Point 1 | 199.2552
Point 2 | 195.2859
Point 3 | 194.4687
Point 4 | 202.203

## Curves
CURVES
Step | Luminance | Status
1 | 0.1058 | 0
2 | 0.047982 | 0
3 | 0.077081 | 0
4 | 0.077052 | 0
5 | 0.10837 | 0
6 | 0.14757 | 0
7 | 0.068646 | 0
8 | 0.1084 | 0
9 | 0.12824 | 0
10 | 0.1283 | 0
11 | 0.1682 | 0
12 | 0.16826 | 0
13 | 0.2198 | 0
14 | 0.23804 | 0
15 | 0.11318 | 0
16 | 0.17559 | 0
17 | 0.20716 | 0
18 | 0.20728 | 0
19 | 0.2649 | 0
20 | 0.26484 | 0
21 | 0.34294 | 0
22 | 0.34294 | 0
23 | 0.4413 | 0
24 | 0.44101 | 0
25 | 0.56797 | 0
26 | 0.56767 | 0
27 | 0.72703 | 0
28 | 0.77898 | 0
29 | 0.38147 | 0
30 | 0.57906 | 0
31 | 0.67917 | 0
32 | 0.67975 | 0
33 | 0.86567 | 0
34 | 0.86508 | 0
35 | 1.1105 | 0
36 | 1.1126 | 0
37 | 1.4161 | 0
38 | 1.4164 | 0
39 | 1.8084 | 0
40 | 1.8119 | 0
41 | 2.3145 | 0
42 | 2.3008 | 0
43 | 2.942 | 0
44 | 2.9332 | 0
45 | 3.7504 | 0
46 | 3.7388 | 0
47 | 4.7836 | 0
48 | 4.7778 | 0
49 | 6.0211 | 0
50 | 6.0095 | 0
51 | 7.7811 | 0
52 | 7.7169 | 0
53 | 9.7979 | 0
54 | 9.7833 | 0
55 | 12.5064 | 0
56 | 12.2408 | 0
57 | 16.3181 | 0
58 | 15.5622 | 0
59 | 20.1298 | 0
60 | 19.8234 | 0
61 | 26.437 | 0
62 | 26.3845 | 0
63 | 32.4552 | 0
64 | 32.2801 | 0
65 | 40.8317 | 0
66 | 43.1374 | 0
67 | 52.9149 | 0
68 | 53.1483 | 0
69 | 67.187 | 0
70 | 67.1578 | 0
71 | 85.2533 | 0
72 | 85.1658 | 0
73 | 108.2522 | 0
74 | 108.1938 | 0
75 | 138.0223 | 0
76 | 137.8179 | 0
77 | 202.9619 | 0
78 | 100.5762 | 0
79 | 151.5063 | 0
80 | 177.1611 | 0
81 | 64.1224 | 0
82 | 81.4299 | 0
83 | 82.0428 | 0
84 | 103.845 | 0
85 | 103.9618 | 0
86 | 132.506 | 0
87 | 133.2065 | 0
88 | 206.0556 | 0
89 | 102.269 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 193.0385
150 | 200 | 177.0386 | PASS | Point 1 | 174.3009
|  |  |  | Point 2 | 170.8569
|  |  |  | Point 3 | 170.0105
Uniformity Test |  |  |  | Point 4 | 176.986
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.12686 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 192.951 | White
100 | 842.2729 | PASS | 0.22908 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.084786
0.05 | 0.1 | 0.077712 | PASS | Point 1 | 0.076497
|  |  |  | Point 2 | 0.075126
|  |  |  | Point 3 | 0.074746
|  |  |  | Point 4 | 0.077402

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 193.0969 | 76.6434 | 176.4023 | 65.5234
50 | 58.256 | PASS | Point 1 | 174.3884 | 71.5941 | 170.3024 | 66.7784
|  |  | Point 2 | 171.0028 | 70.9228 | 167.1794 | 65.5525
|  |  | Point 3 | 170.0689 | 75.651 | 158.9197 | 58.256
|  |  | Point 4 | 177.1611 | 75.9429 | 165.6617 | 59.1315

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 192.7467 | 76.6725 | 176.3147 | 65.6109
20 | 84.9698 | PASS | Point 0 | Black | 0.22967 | 0.29858 | 0.24502 | 0.75184
|  |  | Point 1 | White | 174.1258 | 71.5649 | 170.0689 | 66.8367
|  |  | Point 1 | Black | 0.19459 | 0.27803 | 0.22923 | 0.77373
|  |  | Point 2 | White | 170.6818 | 70.9228 | 167.1794 | 65.6693
|  |  | Point 2 | Black | 0.19523 | 0.26831 | 0.221 | 0.77285
|  |  | Point 3 | White | 170.0105 | 75.6802 | 158.6862 | 58.256
|  |  | Point 3 | Black | 0.21189 | 0.29974 | 0.22482 | 0.66399
|  |  | Point 4 | White | 177.0152 | 75.9137 | 165.6325 | 59.2191
|  |  | Point 4 | Black | 0.22637 | 0.2942 | 0.23807 | 0.67479

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.077694 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12889 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16873 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20766 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26522 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34323 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.44188 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.56797 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.67829 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.86538 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1135 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4132 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8034 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3034 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9181 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.7504 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.7807 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.0708 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.7315 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.7833 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.7398 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.4513 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.8292 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 26.0517 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 33.2433 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 42.437 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 53.3235 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 67.8583 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 86.4208 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 109.1278 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 137.8763 | PASS
31 | 148.75 | 175 | 201.25 | 177.2195 | PASS