## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S24090894
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 177.3946 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.12008 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 625.2885 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1735 | 0.4974 | 0.03 | 0.016769 | PASS
Radius Red | 0.4516 | 0.5283 | 0.03 | 0.00067082 | PASS
Radius Green | 0.124 | 0.5618 | 0.03 | 0.012002 | PASS
Radius Blue | 0.1198 | 0.302 | 0.03 | 0.019268 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.076141 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 56.1837 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 56.2836 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1735 | 0.4974 | 0.016769 | PASS | -0.0035 | 0.0164 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4516 | 0.5283 | 0.00067082 | PASS | 0.0006 | 0.0003 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.124 | 0.5618 | 0.012002 | PASS | 0.012 | -0.0002 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1198 | 0.302 | 0.019268 | PASS | -0.0032 | 0.019 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 233.8994
Point 1 | 214.0819
Point 2 | 206.2891
Point 3 | 216.3876
Point 4 | 219.4522

## Curves
CURVES
Step | Luminance | Status
1 | 0.11459 | 0
2 | 0.052448 | 0
3 | 0.08359 | 0
4 | 0.06815 | 0
5 | 0.075943 | 0
6 | 0.075914 | 0
7 | 0.10711 | 0
8 | 0.15962 | 0
9 | 0.07498 | 0
10 | 0.11762 | 0
11 | 0.13878 | 0
12 | 0.12813 | 0
13 | 0.12816 | 0
14 | 0.1682 | 0
15 | 0.1682 | 0
16 | 0.22001 | 0
17 | 0.25751 | 0
18 | 0.12343 | 0
19 | 0.19091 | 0
20 | 0.22392 | 0
21 | 0.20734 | 0
22 | 0.20743 | 0
23 | 0.26589 | 0
24 | 0.26574 | 0
25 | 0.34382 | 0
26 | 0.34352 | 0
27 | 0.44188 | 0
28 | 0.44217 | 0
29 | 0.56972 | 0
30 | 0.65932 | 0
31 | 0.32426 | 0
32 | 0.49237 | 0
33 | 0.57555 | 0
34 | 0.53469 | 0
35 | 0.5344 | 0
36 | 0.68267 | 0
37 | 0.68267 | 0
38 | 0.87063 | 0
39 | 0.87092 | 0
40 | 1.1167 | 0
41 | 1.1175 | 0
42 | 1.4208 | 0
43 | 1.422 | 0
44 | 1.8195 | 0
45 | 1.8198 | 0
46 | 2.3282 | 0
47 | 2.313 | 0
48 | 2.9537 | 0
49 | 2.9478 | 0
50 | 3.7884 | 0
51 | 3.7417 | 0
52 | 4.8099 | 0
53 | 4.7836 | 0
54 | 6.0649 | 0
55 | 6.0591 | 0
56 | 7.8132 | 0
57 | 7.7285 | 0
58 | 10.0343 | 0
59 | 9.7161 | 0
60 | 12.4363 | 0
61 | 12.3137 | 0
62 | 16.0583 | 0
63 | 15.5622 | 0
64 | 20.6873 | 0
65 | 20.6902 | 0
66 | 26.6209 | 0
67 | 26.4925 | 0
68 | 30.6457 | 0
69 | 36.5997 | 0
70 | 19.4848 | 0
71 | 29.4198 | 0
72 | 33.3016 | 0
73 | 30.85 | 0
74 | 44.48 | 0
75 | 48.1867 | 0
76 | 23.5067 | 0
77 | 37.2126 | 0
78 | 42.2618 | 0
79 | 43.3125 | 0
80 | 53.6445 | 0
81 | 53.7321 | 0
82 | 68.4712 | 0
83 | 68.763 | 0
84 | 86.9753 | 0
85 | 86.6543 | 0
86 | 112.4842 | 0
87 | 110.6746 | 0
88 | 140.649 | 0
89 | 141.3787 | 0
90 | 219.5981 | 0
91 | 109.7115 | 0
92 | 164.9321 | 0
93 | 191.9586 | 0
94 | 178.4162 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 189.8864
150 | 200 | 177.3946 | PASS | Point 1 | 174.476
|  |  |  | Point 2 | 168.3761
|  |  |  | Point 3 | 175.8478
Uniformity Test |  |  |  | Point 4 | 178.387
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.12008 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 189.7988 | White
100 | 625.2885 | PASS | 0.30354 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.081605
0.05 | 0.1 | 0.076141 | PASS | Point 1 | 0.074951
|  |  |  | Point 2 | 0.072324
|  |  |  | Point 3 | 0.07568
|  |  |  | Point 4 | 0.076147

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 189.9156 | 72.353 | 175.5267 | 61.7875
50 | 56.1837 | PASS | Point 1 | 174.6511 | 66.8659 | 168.5512 | 62.6047
|  |  | Point 2 | 168.6971 | 65.8444 | 164.611 | 61.2038
|  |  | Point 3 | 175.8769 | 73.2286 | 163.7062 | 56.8842
|  |  | Point 4 | 178.3578 | 72.0027 | 167.0335 | 56.1837

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 189.7113 | 72.2946 | 175.2932 | 61.6708
20 | 56.2836 | PASS | Point 0 | Black | 0.30471 | 0.34965 | 0.33681 | 1.0256
|  |  | Point 1 | White | 174.5344 | 66.8659 | 168.3469 | 62.5755
|  |  | Point 1 | Black | 0.2658 | 0.31113 | 0.29507 | 1.0061
|  |  | Point 2 | White | 168.4928 | 65.8444 | 164.3775 | 61.1746
|  |  | Point 2 | Black | 0.29566 | 0.32543 | 0.34352 | 1.0869
|  |  | Point 3 | White | 175.7018 | 73.1118 | 163.5603 | 56.8258
|  |  | Point 3 | Black | 0.23635 | 0.33272 | 0.26691 | 0.87793
|  |  | Point 4 | White | 178.2119 | 71.9444 | 166.8292 | 56.1837
|  |  | Point 4 | Black | 0.29002 | 0.3552 | 0.30908 | 0.93747

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.076439 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12845 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16843 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20716 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26539 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34323 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.44101 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53294 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.68267 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.86859 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1164 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4193 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8145 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3136 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.942 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.7738 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8012 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.0737 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.8424 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.6724 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.2904 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 16.3823 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.9051 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 25.7248 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.6088 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 44.013 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 53.9656 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 68.5587 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 87.6174 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 111.1708 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 140.4155 | PASS
31 | 148.75 | 175 | 201.25 | 178.2702 | PASS