## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S24268830
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 173.5129 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.14887 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 641.3725 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1717 | 0.4958 | 0.03 | 0.01572 | PASS
Radius Red | 0.4491 | 0.5285 | 0.03 | 0.0019647 | PASS
Radius Green | 0.122 | 0.5628 | 0.03 | 0.010032 | PASS
Radius Blue | 0.1188 | 0.3058 | 0.03 | 0.023184 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.074863 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 53.0024 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 61.7164 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1717 | 0.4958 | 0.01572 | PASS | -0.0053 | 0.0148 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4491 | 0.5285 | 0.0019647 | PASS | -0.0019 | 0.0005 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.122 | 0.5628 | 0.010032 | PASS | 0.01 | 0.0008 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1188 | 0.3058 | 0.023184 | PASS | -0.0042 | 0.0228 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 234.9209
Point 1 | 212.0388
Point 2 | 202.4073
Point 3 | 208.0987
Point 4 | 209.7331

## Curves
CURVES
Step | Luminance | Status
1 | 0.11234 | 0
2 | 0.051397 | 0
3 | 0.081955 | 0
4 | 0.06672 | 0
5 | 0.074367 | 0
6 | 0.074367 | 0
7 | 0.10449 | 0
8 | 0.15591 | 0
9 | 0.072966 | 0
10 | 0.11479 | 0
11 | 0.13563 | 0
12 | 0.12527 | 0
13 | 0.1253 | 0
14 | 0.16411 | 0
15 | 0.16414 | 0
16 | 0.21411 | 0
17 | 0.21402 | 0
18 | 0.27412 | 0
19 | 0.27406 | 0
20 | 0.35374 | 0
21 | 0.41007 | 0
22 | 0.19893 | 0
23 | 0.30471 | 0
24 | 0.35782 | 0
25 | 0.33068 | 0
26 | 0.33068 | 0
27 | 0.42554 | 0
28 | 0.42554 | 0
29 | 0.54841 | 0
30 | 0.54841 | 0
31 | 0.69989 | 0
32 | 0.69989 | 0
33 | 0.89427 | 0
34 | 0.89193 | 0
35 | 1.1438 | 0
36 | 1.145 | 0
37 | 1.4602 | 0
38 | 1.4567 | 0
39 | 1.8606 | 0
40 | 1.8703 | 0
41 | 2.3644 | 0
42 | 2.3775 | 0
43 | 3.0208 | 0
44 | 3.0179 | 0
45 | 3.8526 | 0
46 | 3.8526 | 0
47 | 4.9354 | 0
48 | 4.9383 | 0
49 | 6.2021 | 0
50 | 6.3043 | 0
51 | 8.0087 | 0
52 | 8 | 0
53 | 10.1043 | 0
54 | 10.1277 | 0
55 | 12.9733 | 0
56 | 12.9412 | 0
57 | 16.5166 | 0
58 | 16.1138 | 0
59 | 21.4987 | 0
60 | 24.6099 | 0
61 | 12.0773 | 0
62 | 18.9303 | 0
63 | 21.5629 | 0
64 | 19.7708 | 0
65 | 19.7942 | 0
66 | 24.8901 | 0
67 | 23.6789 | 0
68 | 31.2294 | 0
69 | 32.6887 | 0
70 | 41.5322 | 0
71 | 41.0944 | 0
72 | 51.8933 | 0
73 | 51.7182 | 0
74 | 65.2607 | 0
75 | 65.7568 | 0
76 | 83.794 | 0
77 | 84.0275 | 0
78 | 106.034 | 0
79 | 105.3335 | 0
80 | 135.1912 | 0
81 | 135.4247 | 0
82 | 212.8269 | 0
83 | 105.7713 | 0
84 | 159.3283 | 0
85 | 185.7711 | 0
86 | 172.5497 | 0
87 | 223.5674 | 0
88 | 111.4627 | 0
89 | 167.3253 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 191.0539
150 | 200 | 173.5129 | PASS | Point 1 | 172.5205
|  |  |  | Point 2 | 164.5818
|  |  |  | Point 3 | 169.1349
Uniformity Test |  |  |  | Point 4 | 170.2732
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.14887 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 190.9371 | White
100 | 641.3725 | PASS | 0.2977 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.082481
0.05 | 0.1 | 0.074863 | PASS | Point 1 | 0.074484
|  |  |  | Point 2 | 0.07101
|  |  |  | Point 3 | 0.073229
|  |  |  | Point 4 | 0.073112

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 191.3457 | 69.5803 | 165.6325 | 59.2191
50 | 53.0024 | PASS | Point 1 | 172.6081 | 66.3114 | 159.912 | 61.9918
|  |  | Point 2 | 164.6402 | 64.4143 | 155.1546 | 60.0363
|  |  | Point 3 | 169.1933 | 70.485 | 150.8059 | 53.7029
|  |  | Point 4 | 170.4191 | 68.8798 | 152.5571 | 53.0024

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 190.6744 | 69.4927 | 165.6034 | 59.1607
20 | 61.7164 | PASS | Point 0 | Black | 0.2977 | 0.33739 | 0.29741 | 0.92725
|  |  | Point 1 | White | 172.1119 | 66.1655 | 159.5326 | 61.9334
|  |  | Point 1 | Black | 0.28573 | 0.31405 | 0.3015 | 0.98825
|  |  | Point 2 | White | 164.2608 | 64.3559 | 154.9503 | 60.0655
|  |  | Point 2 | Black | 0.25666 | 0.29741 | 0.28188 | 0.90098
|  |  | Point 3 | White | 168.843 | 70.3975 | 150.6599 | 53.7321
|  |  | Point 3 | Black | 0.26708 | 0.34557 | 0.28001 | 0.87063
|  |  | Point 4 | White | 170.1272 | 68.7922 | 152.4987 | 52.9732
|  |  | Point 4 | Black | 0.26387 | 0.33243 | 0.27628 | 0.82685

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.074396 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12518 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16382 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21356 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.27362 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.3301 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42466 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.54666 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.69843 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.89164 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1406 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4538 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8525 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3746 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 3.0295 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8438 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8858 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.2488 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.9825 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.116 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 13.1718 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 16.4874 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.6862 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 25.6636 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.317 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 42.1451 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 51.7766 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 65.5817 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 83.7356 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 106.2675 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 133.9945 | PASS
31 | 148.75 | 175 | 201.25 | 172.287 | PASS