## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S24268832
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 180.1148 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.1189 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 662.4008 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1716 | 0.4937 | 0.03 | 0.0138 | PASS
Radius Red | 0.4509 | 0.528 | 0.03 | 0.0001 | PASS
Radius Green | 0.1199 | 0.5626 | 0.03 | 0.0079228 | PASS
Radius Blue | 0.1205 | 0.3 | 0.03 | 0.017183 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.079107 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 54.7536 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 66.5076 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1716 | 0.4937 | 0.0138 | PASS | -0.0054 | 0.0127 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4509 | 0.528 | 0.0001 | PASS | -0.0001 | 0 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1199 | 0.5626 | 0.0079228 | PASS | 0.0079 | 0.0006 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1205 | 0.3 | 0.017183 | PASS | -0.0025 | 0.017 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 223.3048
Point 1 | 203.6332
Point 2 | 198.0002
Point 3 | 201.882
Point 4 | 203.8375

## Curves
CURVES
Step | Luminance | Status
1 | 0.10685 | 0
2 | 0.04877 | 0
3 | 0.077811 | 0
4 | 0.077811 | 0
5 | 0.10933 | 0
6 | 0.14859 | 0
7 | 0.069609 | 0
8 | 0.10933 | 0
9 | 0.12915 | 0
10 | 0.12912 | 0
11 | 0.16934 | 0
12 | 0.16928 | 0
13 | 0.22103 | 0
14 | 0.2395 | 0
15 | 0.1145 | 0
16 | 0.17719 | 0
17 | 0.20824 | 0
18 | 0.20836 | 0
19 | 0.26656 | 0
20 | 0.26662 | 0
21 | 0.34469 | 0
22 | 0.34469 | 0
23 | 0.44334 | 0
24 | 0.44305 | 0
25 | 0.5703 | 0
26 | 0.61262 | 0
27 | 0.30091 | 0
28 | 0.45677 | 0
29 | 0.53469 | 0
30 | 0.53469 | 0
31 | 0.68442 | 0
32 | 0.68267 | 0
33 | 0.8718 | 0
34 | 0.86975 | 0
35 | 1.1199 | 0
36 | 1.121 | 0
37 | 1.422 | 0
38 | 1.4223 | 0
39 | 1.8189 | 0
40 | 1.8215 | 0
41 | 2.313 | 0
42 | 2.3092 | 0
43 | 2.9332 | 0
44 | 2.9624 | 0
45 | 3.765 | 0
46 | 3.7796 | 0
47 | 4.7749 | 0
48 | 4.8187 | 0
49 | 6.0474 | 0
50 | 6.1758 | 0
51 | 7.8832 | 0
52 | 7.7869 | 0
53 | 9.7249 | 0
54 | 9.7395 | 0
55 | 12.3779 | 0
56 | 12.3079 | 0
57 | 15.6468 | 0
58 | 16.2626 | 0
59 | 19.9314 | 0
60 | 20.6523 | 0
61 | 25.3775 | 0
62 | 26.6092 | 0
63 | 31.9591 | 0
64 | 33.4184 | 0
65 | 41.9992 | 0
66 | 43.8379 | 0
67 | 53.6737 | 0
68 | 52.8565 | 0
69 | 68.0626 | 0
70 | 68.0334 | 0
71 | 86.8002 | 0
72 | 85.7203 | 0
73 | 110.8789 | 0
74 | 109.7699 | 0
75 | 140.4447 | 0
76 | 140.328 | 0
77 | 204.0126 | 0
78 | 101.8312 | 0
79 | 152.8197 | 0
80 | 178.387 | 0
81 | 82.5098 | 0
82 | 82.539 | 0
83 | 105.0125 | 0
84 | 104.8666 | 0
85 | 133.4692 | 0
86 | 133.761 | 0
87 | 223.5674 | 0
88 | 111.4627 | 0
89 | 167.3253 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 195.0524
150 | 200 | 180.1148 | PASS | Point 1 | 178.0367
|  |  |  | Point 2 | 173.1626
|  |  |  | Point 3 | 176.1396
Uniformity Test |  |  |  | Point 4 | 178.1827
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.1189 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 194.8773 | White
100 | 662.4008 | PASS | 0.2942 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.085779
0.05 | 0.1 | 0.079107 | PASS | Point 1 | 0.078249
|  |  |  | Point 2 | 0.076176
|  |  |  | Point 3 | 0.07749
|  |  |  | Point 4 | 0.07784

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 194.994 | 69.697 | 173.688 | 60.8244
50 | 54.7536 | PASS | Point 1 | 178.1535 | 64.4435 | 165.6325 | 61.087
|  |  | Point 2 | 173.3086 | 63.7138 | 164.1149 | 60.6784
|  |  | Point 3 | 176.0521 | 69.5219 | 158.1316 | 54.7536
|  |  | Point 4 | 178.0951 | 69.4343 | 162.7431 | 55.2206

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 194.6438 | 69.6678 | 173.4545 | 60.8244
20 | 66.5076 | PASS | Point 0 | Black | 0.29537 | 0.33827 | 0.3155 | 0.89485
|  |  | Point 1 | White | 177.8324 | 64.4143 | 165.2239 | 61.0287
|  |  | Point 1 | Black | 0.26997 | 0.312 | 0.2883 | 0.91762
|  |  | Point 2 | White | 172.9875 | 63.7138 | 164.0273 | 60.7076
|  |  | Point 2 | Black | 0.25217 | 0.30383 | 0.28673 | 0.89339
|  |  | Point 3 | White | 175.6726 | 69.4927 | 157.7814 | 54.7828
|  |  | Point 3 | Black | 0.2663 | 0.33243 | 0.28168 | 0.80029
|  |  | Point 4 | White | 177.5989 | 69.4051 | 162.4512 | 55.2206
|  |  | Point 4 | Black | 0.29332 | 0.33915 | 0.30675 | 0.81167

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.077957 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12892 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16884 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20737 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26525 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34294 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.4413 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53148 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.68092 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.86654 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1138 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4185 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8058 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3022 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9361 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.7213 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.7924 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.0766 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.7752 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.9701 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.5209 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 16.0291 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.8321 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 26.4574 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.8423 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 38.9346 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 53.4694 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 67.8291 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 85.4284 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 109.2445 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 138.8395 | PASS
31 | 148.75 | 175 | 201.25 | 177.6573 | PASS