## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S25001604
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 177.5464 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.14141 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 802.4055 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1702 | 0.4989 | 0.03 | 0.019148 | PASS
Radius Red | 0.4511 | 0.5284 | 0.03 | 0.00041231 | PASS
Radius Green | 0.1216 | 0.5622 | 0.03 | 0.0096021 | PASS
Radius Blue | 0.1185 | 0.3056 | 0.03 | 0.023044 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.077817 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 64.1224 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 63.3474 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1702 | 0.4989 | 0.019148 | PASS | -0.0068 | 0.0179 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4511 | 0.5284 | 0.00041231 | PASS | 0.0001 | 0.0004 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1216 | 0.5622 | 0.0096021 | PASS | 0.0096 | 0.0002 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1185 | 0.3056 | 0.023044 | PASS | -0.0045 | 0.0226 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 218.635
Point 1 | 196.6284
Point 2 | 190.295
Point 3 | 207.515
Point 4 | 204.1002

## Curves
CURVES
Step | Luminance | Status
1 | 0.10673 | 0
2 | 0.048479 | 0
3 | 0.077519 | 0
4 | 0.07749 | 0
5 | 0.10898 | 0
6 | 0.1485 | 0
7 | 0.06923 | 0
8 | 0.10892 | 0
9 | 0.12895 | 0
10 | 0.129 | 0
11 | 0.16887 | 0
12 | 0.16893 | 0
13 | 0.22079 | 0
14 | 0.23901 | 0
15 | 0.11383 | 0
16 | 0.1764 | 0
17 | 0.2081 | 0
18 | 0.20816 | 0
19 | 0.26676 | 0
20 | 0.2665 | 0
21 | 0.34411 | 0
22 | 0.3444 | 0
23 | 0.44334 | 0
24 | 0.44305 | 0
25 | 0.57089 | 0
26 | 0.61321 | 0
27 | 0.29974 | 0
28 | 0.45502 | 0
29 | 0.53411 | 0
30 | 0.53382 | 0
31 | 0.6815 | 0
32 | 0.68354 | 0
33 | 0.87063 | 0
34 | 0.87063 | 0
35 | 1.1178 | 0
36 | 1.1175 | 0
37 | 1.4167 | 0
38 | 1.4205 | 0
39 | 1.8166 | 0
40 | 1.8133 | 0
41 | 2.311 | 0
42 | 2.3221 | 0
43 | 2.9478 | 0
44 | 2.942 | 0
45 | 3.7475 | 0
46 | 3.7767 | 0
47 | 4.772 | 0
48 | 4.7807 | 0
49 | 6.17 | 0
50 | 6.0445 | 0
51 | 7.857 | 0
52 | 7.7694 | 0
53 | 9.7015 | 0
54 | 9.722 | 0
55 | 12.2991 | 0
56 | 12.7457 | 0
57 | 16.1517 | 0
58 | 15.7752 | 0
59 | 20.2028 | 0
60 | 20.6698 | 0
61 | 26.5917 | 0
62 | 26.6004 | 0
63 | 34.3815 | 0
64 | 36.804 | 0
65 | 17.7687 | 0
66 | 25.9379 | 0
67 | 32.3093 | 0
68 | 30.3246 | 0
69 | 41.2403 | 0
70 | 39.5183 | 0
71 | 50.3756 | 0
72 | 50.1713 | 0
73 | 63.8597 | 0
74 | 64.1516 | 0
75 | 81.4883 | 0
76 | 81.1964 | 0
77 | 103.3489 | 0
78 | 103.5824 | 0
79 | 130.4922 | 0
80 | 150.8642 | 0
81 | 74.7171 | 0
82 | 112.455 | 0
83 | 130.4338 | 0
84 | 141.6705 | 0
85 | 141.3495 | 0
86 | 204.4504 | 0
87 | 101.5977 | 0
88 | 152.703 | 0
89 | 178.5037 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 190.9371
150 | 200 | 177.5464 | PASS | Point 1 | 171.3823
|  |  |  | Point 2 | 165.7201
|  |  |  | Point 3 | 181.2181
Uniformity Test |  |  |  | Point 4 | 178.4745
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.14141 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 190.8204 | White
100 | 802.4055 | PASS | 0.23781 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.083765
0.05 | 0.1 | 0.077817 | PASS | Point 1 | 0.075213
|  |  |  | Point 2 | 0.072703
|  |  |  | Point 3 | 0.079562
|  |  |  | Point 4 | 0.07784

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 190.9955 | 77.6065 | 169.5727 | 67.4497
50 | 64.1224 | PASS | Point 1 | 171.5574 | 68.9965 | 160.0288 | 66.1363
|  |  | Point 2 | 165.8952 | 67.1578 | 155.8843 | 64.1224
|  |  | Point 3 | 181.364 | 78.4237 | 163.1517 | 65.6985
|  |  | Point 4 | 178.5329 | 76.9352 | 162.6847 | 64.7061

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 190.8495 | 77.6065 | 169.5727 | 67.508
20 | 63.3474 | PASS | Point 0 | Black | 0.23904 | 0.33915 | 0.25089 | 1.0198
|  |  | Point 1 | White | 171.4114 | 69.0841 | 160.0288 | 66.1655
|  |  | Point 1 | Black | 0.22541 | 0.30033 | 0.24517 | 1.0026
|  |  | Point 2 | White | 165.6909 | 67.2162 | 155.8259 | 64.21
|  |  | Point 2 | Black | 0.20544 | 0.28209 | 0.22996 | 0.92696
|  |  | Point 3 | White | 181.2181 | 78.5113 | 163.035 | 65.7277
|  |  | Point 3 | Black | 0.25051 | 0.34819 | 0.26005 | 1.0376
|  |  | Point 4 | White | 178.4745 | 76.9936 | 162.6555 | 64.7937
|  |  | Point 4 | Black | 0.22287 | 0.33564 | 0.24376 | 0.98387

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.078219 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12973 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16969 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20848 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26708 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.3444 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.44305 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53353 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.68179 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.86859 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1149 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4205 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8087 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.304 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9566 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.7534 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.7836 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.0999 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.8365 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.7512 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.5706 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.9357 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.6581 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 27.0032 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 30.7332 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 41.1819 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 49.646 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 63.3928 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 81.605 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 102.6192 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 140.7366 | PASS
31 | 148.75 | 175 | 201.25 | 178.4162 | PASS