## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S25001606
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 170.1214 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.15507 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 958.284 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1736 | 0.4997 | 0.03 | 0.019007 | PASS
Radius Red | 0.4529 | 0.5286 | 0.03 | 0.0019925 | PASS
Radius Green | 0.1244 | 0.5616 | 0.03 | 0.012406 | PASS
Radius Blue | 0.1174 | 0.3065 | 0.03 | 0.024158 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.07101 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 54.345 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 70.1863 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1736 | 0.4997 | 0.019007 | PASS | -0.0034 | 0.0187 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4529 | 0.5286 | 0.0019925 | PASS | 0.0019 | 0.0006 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1244 | 0.5616 | 0.012406 | PASS | 0.0124 | -0.0004 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1174 | 0.3065 | 0.024158 | PASS | -0.0056 | 0.0235 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 252.1409
Point 1 | 232.7903
Point 2 | 216.1249
Point 3 | 216.9713
Point 4 | 217.3216

## Curves
CURVES
Step | Luminance | Status
1 | 0.12194 | 0
2 | 0.055746 | 0
3 | 0.088843 | 0
4 | 0.072353 | 0
5 | 0.072353 | 0
6 | 0.10227 | 0
7 | 0.16981 | 0
8 | 0.079562 | 0
9 | 0.12477 | 0
10 | 0.12477 | 0
11 | 0.16394 | 0
12 | 0.16391 | 0
13 | 0.21426 | 0
14 | 0.2144 | 0
15 | 0.27447 | 0
16 | 0.27464 | 0
17 | 0.3552 | 0
18 | 0.44801 | 0
19 | 0.21814 | 0
20 | 0.33243 | 0
21 | 0.33243 | 0
22 | 0.42787 | 0
23 | 0.42816 | 0
24 | 0.55133 | 0
25 | 0.55133 | 0
26 | 0.70485 | 0
27 | 0.70573 | 0
28 | 0.89894 | 0
29 | 0.89836 | 0
30 | 1.1529 | 0
31 | 1.1555 | 0
32 | 1.4692 | 0
33 | 1.4654 | 0
34 | 1.8811 | 0
35 | 1.8787 | 0
36 | 2.3974 | 0
37 | 2.3874 | 0
38 | 3.0646 | 0
39 | 3.0383 | 0
40 | 3.8847 | 0
41 | 3.8876 | 0
42 | 4.9704 | 0
43 | 6.3013 | 0
44 | 3.1025 | 0
45 | 4.6611 | 0
46 | 4.6786 | 0
47 | 5.9394 | 0
48 | 5.954 | 0
49 | 7.6118 | 0
50 | 7.6206 | 0
51 | 9.6081 | 0
52 | 9.4593 | 0
53 | 12.5209 | 0
54 | 12.4246 | 0
55 | 15.2207 | 0
56 | 15.9883 | 0
57 | 19.8 | 0
58 | 20.0802 | 0
59 | 24.464 | 0
60 | 25.9759 | 0
61 | 30.704 | 0
62 | 39.6643 | 0
63 | 19.8234 | 0
64 | 29.8576 | 0
65 | 36.2203 | 0
66 | 30.3538 | 0
67 | 32.6595 | 0
68 | 35.5782 | 0
69 | 43.4293 | 0
70 | 51.1345 | 0
71 | 26.3173 | 0
72 | 35.9868 | 0
73 | 46.99 | 0
74 | 40.0437 | 0
75 | 43.6628 | 0
76 | 52.9732 | 0
77 | 53.2067 | 0
78 | 67.3913 | 0
79 | 67.7123 | 0
80 | 85.4576 | 0
81 | 85.049 | 0
82 | 110.412 | 0
83 | 109.3029 | 0
84 | 139.7151 | 0
85 | 139.7442 | 0
86 | 232.9655 | 0
87 | 116.1909 | 0
88 | 174.3301 | 0
89 | 167.3253 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 189.0108
150 | 200 | 170.1214 | PASS | Point 1 | 174.1841
|  |  |  | Point 2 | 161.8091
|  |  |  | Point 3 | 162.5972
Uniformity Test |  |  |  | Point 4 | 163.0058
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.15507 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 189.0692 | White
100 | 958.284 | PASS | 0.1973 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.079007
0.05 | 0.1 | 0.07101 | PASS | Point 1 | 0.072674
|  |  |  | Point 2 | 0.067537
|  |  |  | Point 3 | 0.068121
|  |  |  | Point 4 | 0.067712

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 189.3902 | 67.1286 | 164.144 | 58.3143
50 | 54.345 | PASS | Point 1 | 174.3884 | 61.233 | 158.3651 | 58.8397
|  |  | Point 2 | 161.9842 | 59.5693 | 152.703 | 56.9134
|  |  | Point 3 | 162.889 | 68.5879 | 148.6753 | 56.0086
|  |  | Point 4 | 163.2684 | 66.1946 | 149.9595 | 54.345

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 189.1276 | 67.0994 | 164.1149 | 58.3143
20 | 70.1863 | PASS | Point 0 | Black | 0.19844 | 0.27511 | 0.20976 | 0.78891
|  |  | Point 1 | White | 174.0966 | 61.2038 | 158.19 | 58.8105
|  |  | Point 1 | Black | 0.18487 | 0.25121 | 0.20095 | 0.8105
|  |  | Point 2 | White | 161.7799 | 59.5402 | 152.5279 | 56.8842
|  |  | Point 2 | Black | 0.1722 | 0.24058 | 0.19432 | 0.75563
|  |  | Point 3 | White | 162.7723 | 68.5879 | 148.6461 | 56.067
|  |  | Point 3 | Black | 0.1872 | 0.28141 | 0.19394 | 0.79883
|  |  | Point 4 | White | 163.1809 | 66.1655 | 149.9011 | 54.4034
|  |  | Point 4 | Black | 0.17976 | 0.27205 | 0.19511 | 0.73608

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.07282 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12506 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16417 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21437 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.27429 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.33214 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42758 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.55075 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.70427 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.89806 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1497 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4652 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8714 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3924 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 3.0325 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8759 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.629 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 5.9453 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.5155 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 9.7541 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 11.9927 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 16.1313 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 19.4439 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 24.7792 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.4045 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 43.1958 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 52.9732 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 67.2745 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 84.9323 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 109.1278 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 138.139 | PASS
31 | 148.75 | 175 | 201.25 | 174.0382 | PASS