## ATP
5.6.2 Display Test | Min |  | Max | Result | [Result] | Serial Number
S25001610
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 181.2064 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.15392 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 907.0044 | PASS
5.6.2.4 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.1721 | 0.4986 | 0.03 | 0.018269 | PASS
Radius Red | 0.4529 | 0.5284 | 0.03 | 0.0019416 | PASS
Radius Green | 0.1239 | 0.5614 | 0.03 | 0.011915 | PASS
Radius Blue | 0.1175 | 0.3066 | 0.03 | 0.024232 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.077069 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 57.5847 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 67.2349 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r | u' | v' | r
white | 0.177 | 0.481 | 0.03 | 0.1721 | 0.4986 | 0.018269 | PASS | -0.0049 | 0.0176 | #VALUE! | PASS
red | 0.451 | 0.528 | 0.03 | 0.4529 | 0.5284 | 0.0019416 | PASS | 0.0019 | 0.0004 | #VALUE! | PASS
green | 0.112 | 0.562 | 0.03 | 0.1239 | 0.5614 | 0.011915 | PASS | 0.0119 | -0.0006 | #VALUE! | PASS
blue | 0.123 | 0.283 | 0.03 | 0.1175 | 0.3066 | 0.024232 | PASS | -0.0055 | 0.0236 | #VALUE! | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 248.6677
Point 1 | 221.2617
Point 2 | 213.5857
Point 3 | 219.3938
Point 4 | 220.7364

## Curves
CURVES
Step | Luminance | Status
1 | 0.1154 | 0
2 | 0.052098 | 0
3 | 0.083706 | 0
4 | 0.067917 | 0
5 | 0.075709 | 0
6 | 0.075709 | 0
7 | 0.10688 | 0
8 | 0.16061 | 0
9 | 0.074513 | 0
10 | 0.11774 | 0
11 | 0.13951 | 0
12 | 0.12865 | 0
13 | 0.12871 | 0
14 | 0.16887 | 0
15 | 0.16884 | 0
16 | 0.22079 | 0
17 | 0.25891 | 0
18 | 0.12273 | 0
19 | 0.19062 | 0
20 | 0.22491 | 0
21 | 0.20763 | 0
22 | 0.20778 | 0
23 | 0.26662 | 0
24 | 0.26665 | 0
25 | 0.3444 | 0
26 | 0.3444 | 0
27 | 0.44334 | 0
28 | 0.44334 | 0
29 | 0.57147 | 0
30 | 0.66282 | 0
31 | 0.32309 | 0
32 | 0.49179 | 0
33 | 0.5776 | 0
34 | 0.53411 | 0
35 | 0.53469 | 0
36 | 0.68296 | 0
37 | 0.68442 | 0
38 | 0.87121 | 0
39 | 0.87063 | 0
40 | 1.1187 | 0
41 | 1.1178 | 0
42 | 1.4266 | 0
43 | 1.4208 | 0
44 | 1.8204 | 0
45 | 1.8209 | 0
46 | 2.3121 | 0
47 | 2.3113 | 0
48 | 2.9507 | 0
49 | 2.9537 | 0
50 | 3.768 | 0
51 | 3.7709 | 0
52 | 4.8274 | 0
53 | 4.8128 | 0
54 | 6.1175 | 0
55 | 6.0591 | 0
56 | 7.9007 | 0
57 | 7.819 | 0
58 | 9.8533 | 0
59 | 9.973 | 0
60 | 12.807 | 0
61 | 12.6085 | 0
62 | 16.1225 | 0
63 | 16.1868 | 0
64 | 20.5881 | 0
65 | 20.3283 | 0
66 | 26.6471 | 0
67 | 26.5888 | 0
68 | 31.9882 | 0
69 | 32.3385 | 0
70 | 41.2987 | 0
71 | 43.9255 | 0
72 | 53.4694 | 0
73 | 53.0608 | 0
74 | 68.1793 | 0
75 | 68.0334 | 0
76 | 85.983 | 0
77 | 86.9461 | 0
78 | 110.733 | 0
79 | 110.0325 | 0
80 | 140.182 | 0
81 | 139.7151 | 0
82 | 221.1742 | 0
83 | 109.3904 | 0
84 | 164.9904 | 0
85 | 192.8342 | 0
86 | 178.7372 | 0
87 | 223.5674 | 0
88 | 111.4627 | 0
89 | 167.3253 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 200.7437
150 | 200 | 181.2064 | PASS | Point 1 | 178.708
|  |  |  | Point 2 | 172.0535
|  |  |  | Point 3 | 176.8109
Uniformity Test |  |  |  | Point 4 | 177.7157
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.15392 | PASS

## ContrastOnAxis
Contrast Test |  |  | Measured Values (fL)
REQUIRED CONTRAST MIN | MEASURED | RESULT | 200.6853 | White
100 | 907.0044 | PASS | 0.22126 | Black

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.085574
0.05 | 0.1 | 0.077069 | PASS | Point 1 | 0.076089
|  |  |  | Point 2 | 0.07317
|  |  |  | Point 3 | 0.07533
|  |  |  | Point 4 | 0.075184

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 200.6562 | 70.1056 | 174.0382 | 60.7952
50 | 57.5847 | PASS | Point 1 | 178.8248 | 62.809 | 167.734 | 61.233
|  |  | Point 2 | 171.9952 | 61.4081 | 162.8015 | 58.9272
|  |  | Point 3 | 176.6066 | 71.1563 | 161.167 | 58.6062
|  |  | Point 4 | 177.5114 | 68.8798 | 162.4512 | 57.5847

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 200.4227 | 69.9889 | 173.6296 | 60.7368
20 | 67.2349 | PASS | Point 0 | Black | 0.22193 | 0.29332 | 0.23413 | 0.87413
|  |  | Point 1 | White | 178.6497 | 62.7798 | 167.4713 | 61.1746
|  |  | Point 1 | Black | 0.19459 | 0.25774 | 0.21577 | 0.82451
|  |  | Point 2 | White | 171.7033 | 61.3789 | 162.5388 | 58.8397
|  |  | Point 2 | Black | 0.20883 | 0.25305 | 0.2151 | 0.80875
|  |  | Point 3 | White | 176.3147 | 71.1563 | 160.7 | 58.6062
|  |  | Point 3 | Black | 0.23063 | 0.29449 | 0.23372 | 0.86304
|  |  | Point 4 | White | 177.2195 | 68.7922 | 162.0718 | 57.5555
|  |  | Point 4 | Black | 0.22298 | 0.28953 | 0.23375 | 0.85604

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.076293 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.12918 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.16934 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.20789 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.2667 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.3444 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.44305 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.53499 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.68325 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.87092 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1187 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4231 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8262 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.3212 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9303 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.768 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8157 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1817 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.8307 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.0518 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.3254 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.6468 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.7106 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 26.6121 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 31.0251 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 42.0283 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 53.4986 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 67.8875 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 86.8002 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 111.1708 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 139.7442 | PASS
31 | 148.75 | 175 | 201.25 | 178.708 | PASS