## ATP
Display Test | Min |  | Max | Result | [Result] | Serial Number | Part Number | Date
[6 empty] | SXXXXXX14 | CAXXXXXA00 | DD-MM-YYYY
5.9.3.1 Day Uniformity Test: |  |  |  | percentage (%)
White Page |  |  | 30 | 70 | FAIL
Black Page |  |  | 30 | 0.076603 | PASS
5.9.3.2 NVG Uniformity Test: |  |  |  | percentage (%)
White Page |  |  | 30 | 0.078167 | PASS
Black Page |  |  | 30 | 0.078167 | PASS
5.9.4 Display Luminance Test
DAY : 1 Step | 1.5291 |  | 1.8688 |  | N/A
DAY : 8 Step | 2.4915 |  | 3.0451 |  | N/A
DAY : 10 Step | 2.8262 |  | 3.4542 |  | N/A
DAY : 16 Step | 4.0072 |  | 4.8977 |  | N/A
DAY : 32 Step | 8.6624 |  | 10.5873 |  | N/A
DAY : 48 Step | 15.9863 |  | 19.5388 |  | N/A
DAY : 50 Step | 17.1196 |  | 20.9239 |  | N/A
DAY : 64 Step | 26.5839 |  | 32.4914 |  | N/A
DAY : 84 Step | 45.3556 |  | 55.4346 |  | N/A
DAY : 100 Step | 65.5299 |  | 80.0921 |  | N/A
DAY : 104 Step | 71.3684 |  | 87.2281 |  | N/A
DAY : 128 Step | 113.8052 |  | 139.0952 |  | N/A
DAY : 180 Step | 257.0826 |  | 314.212 |  | N/A
DAY : 208 Step | 369.0591 |  | 451.0723 |  | N/A
DAY : 255 Step | 0 |  | 685 |  | N/A
NVG : 1 Step | 0.01386 |  | 0.01694 |  | N/A
NVG : 8 Step | 0.016664 |  | 0.020367 |  | N/A
NVG : 10 Step | 0.017564 |  | 0.021467 |  | N/A
NVG : 16 Step | 0.020569 |  | 0.025139 |  | N/A
NVG : 32 Step | 0.031338 |  | 0.038303 |  | N/A
NVG : 48 Step | 0.047747 |  | 0.058358 |  | N/A
NVG : 50 Step | 0.050328 |  | 0.061512 |  | N/A
NVG : 64 Step | 0.072748 |  | 0.088914 |  | N/A
NVG : 84 Step | 0.12314 |  | 0.15051 |  | N/A
NVG : 100 Step | 0.18762 |  | 0.22932 |  | N/A
NVG : 104 Step | 0.20845 |  | 0.25477 |  | N/A
NVG : 128 Step | 0.39202 |  | 0.47914 |  | N/A
NVG : 180 Step | 1.5404 |  | 1.8827 |  | N/A
NVG : 208 Step | 3.2186 |  | 3.9338 |  | N/A
NVG : 255 Step | 11.088 |  | 13.552 |  | N/A
5.9.5.1 Chromaticity Coordinates (DAY) | u' | v' | R
Radius White | 0.184 | 0.5 | 0.03 | 0 | PASS
Radius Red | 0.432 | 0.533 | 0.03 | 1.6361 | FAIL
Radius Green | 0.117 | 0.566 | 0.03 | 3.2199 | FAIL
Radius Blue | 0.13 | 0.274 | 0.03 | 4.7337 | FAIL
5.9.5.2 Chromaticity Coordinates (NVG) | u' | v' | R
Radius White | 0.172 | 0.498 | 0.03 | 0.96622 | FAIL
Radius Red | 0.381 | 0.539 | 0.03 | 1.6834 | FAIL
Radius Green | 0.13 | 0.57 | 0.03 | 3.2065 | FAIL
Radius Blue | 0.155 | 0.227 | 0.03 | 4.7406 | FAIL
5.9.6 Contrast Measurement
|  |  | 500 | 182.7941 | FAIL
5.9.7 Viewing angle measurement
+ 25° V | 75 |  |  | 0.6805 | FAIL
+ 60° V |  |  | 25 | 0.116 | PASS
- 10° V | 80 |  |  | 2.755 | FAIL
- 60° V |  |  | 25 | 1.35 | PASS
+ 60° H |  |  | 20 | 0.1631 | PASS
+ 30° H | 60 |  |  | 0.6148 | FAIL
+ 20° H | 75 |  |  | 0.5907 | FAIL
- 20° H | 75 |  |  | 0.9334 | FAIL
- 30° H | 60 |  |  | 0.6115 | FAIL
- 60° H |  |  | 20 | 0.7624 | PASS
5.6.2.1 Luminance Test
L_avg | 150 |  | 200 | 166.2805 | PASS
5.6.2.2 Uniformity Test
UNIFORMITY |  |  | 0.65 | 0.14206 | PASS
5.6.2.3 Contrast on-axis
Min Dark Ambient Contrast | 100 |  |  | 182.7941 | PASS
5.6.2.5 Luminance Dimming Test
L_avg | 0.05 |  | 0.1 | 0.07728 | PASS
5.6.2.6 Luminance Viewing Angle
L_min | 50 |  |  | 54.1699 | PASS
5.6.2.7 Contrast for Secondary Viewing angle
Min Dark ambient contrast | 20 |  |  | 70.4209 | PASS
*Curves
Step Encoder 0 |  |  |  |  | PASS
Step Encoder 1 |  |  |  |  | PASS
Step Encoder 2 |  |  |  |  | PASS
Step Encoder 3 |  |  |  |  | PASS
Step Encoder 4 |  |  |  |  | PASS
Step Encoder 5 |  |  |  |  | PASS
Step Encoder 6 |  |  |  |  | PASS
Step Encoder 7 |  |  |  |  | PASS
Step Encoder 8 |  |  |  |  | PASS
Step Encoder 9 |  |  |  |  | PASS
Step Encoder 10 |  |  |  |  | PASS
Step Encoder 11 |  |  |  |  | PASS
Step Encoder 12 |  |  |  |  | PASS
Step Encoder 13 |  |  |  |  | PASS
Step Encoder 14 |  |  |  |  | PASS
Step Encoder 15 |  |  |  |  | PASS
Step Encoder 16 |  |  |  |  | PASS
Step Encoder 17 |  |  |  |  | PASS
Step Encoder 18 |  |  |  |  | PASS
Step Encoder 19 |  |  |  |  | PASS
Step Encoder 20 |  |  |  |  | PASS
Step Encoder 21 |  |  |  |  | PASS
Step Encoder 22 |  |  |  |  | PASS
Step Encoder 23 |  |  |  |  | PASS
Step Encoder 24 |  |  |  |  | PASS
Step Encoder 25 |  |  |  |  | PASS
Step Encoder 26 |  |  |  |  | PASS
Step Encoder 27 |  |  |  |  | PASS
Step Encoder 28 |  |  |  |  | PASS
Step Encoder 29 |  |  |  |  | PASS
Step Encoder 30 |  |  |  |  | PASS
Step Encoder 31 |  |  |  |  | PASS

## CalibPosition
Luminance
Luminance
Point 0 | 244.2314
Point 1 | 213.7608
Point 2 | 211.6594
Point 3 | 217.4091
Point 4 | 223.3631

## Calibration
Mode | Brightness | Measured Luminance [cd/m2] | Default Duty | Calculated Duty
Night | 1 | 1
Night | 255 | 1
Day | 1 | 1
Day | 255 | 1

## CalibrationVerification
NVG | [5 empty] | DAY | [5 empty] | Tollerance | 0.1
Tipangle: |  | X: | 0 | Y: | 3.175 | Tipangle: | 15 | X: | 0 | Y: | -3.75
STEP# | BRT (cd/m2) | BRT- (cd/m2) | BRT+ (cd/m2) | LMIS |  | STEP# | BRT (cd/m2) | BRT- (cd/m2) | BRT+ (cd/m2) | LMIS
0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
1 | 0.0154 | 0.01386 | 0.01694 |  | N/A | 1 | 1.699 | 1.5291 | 1.8688 |  | N/A
2 | 0.015811 | 0.01423 | 0.017392 |  | N/A | 2 | 1.8309 | 1.6478 | 2.014 |  | N/A
3 | 0.016232 | 0.014609 | 0.017856 |  | N/A | 3 | 1.9695 | 1.7726 | 2.1665 |  | N/A
4 | 0.016665 | 0.014999 | 0.018332 |  | N/A | 4 | 2.115 | 1.9035 | 2.3265 |  | N/A
5 | 0.01711 | 0.015399 | 0.018821 |  | N/A | 5 | 2.2674 | 2.0407 | 2.4942 |  | N/A
6 | 0.017566 | 0.015809 | 0.019322 |  | N/A | 6 | 2.427 | 2.1843 | 2.6697 |  | N/A
7 | 0.018034 | 0.016231 | 0.019838 |  | N/A | 7 | 2.5939 | 2.3345 | 2.8533 |  | N/A
8 | 0.018515 | 0.016664 | 0.020367 |  | N/A | 8 | 2.7683 | 2.4915 | 3.0451 |  | N/A
9 | 0.019009 | 0.017108 | 0.02091 |  | N/A | 9 | 2.9503 | 2.6553 | 3.2454 |  | N/A
10 | 0.019516 | 0.017564 | 0.021467 |  | N/A | 10 | 3.1402 | 2.8262 | 3.4542 |  | N/A
11 | 0.020036 | 0.018033 | 0.02204 |  | N/A | 11 | 3.338 | 3.0042 | 3.6718 |  | N/A
12 | 0.020571 | 0.018513 | 0.022628 |  | N/A | 12 | 3.544 | 3.1896 | 3.8984 |  | N/A
13 | 0.021119 | 0.019007 | 0.023231 |  | N/A | 13 | 3.7582 | 3.3824 | 4.1341 |  | N/A
14 | 0.021682 | 0.019514 | 0.02385 |  | N/A | 14 | 3.981 | 3.5829 | 4.3791 |  | N/A
15 | 0.02226 | 0.020034 | 0.024486 |  | N/A | 15 | 4.2123 | 3.7911 | 4.6335 |  | N/A
16 | 0.022854 | 0.020569 | 0.025139 |  | N/A | 16 | 4.4525 | 4.0072 | 4.8977 |  | N/A
17 | 0.023463 | 0.021117 | 0.02581 |  | N/A | 17 | 4.7016 | 4.2314 | 5.1717 |  | N/A
18 | 0.024089 | 0.02168 | 0.026498 |  | N/A | 18 | 4.9598 | 4.4638 | 5.4558 |  | N/A
19 | 0.024732 | 0.022258 | 0.027205 |  | N/A | 19 | 5.2273 | 4.7046 | 5.7501 |  | N/A
20 | 0.025391 | 0.022852 | 0.02793 |  | N/A | 20 | 5.5043 | 4.9539 | 6.0547 |  | N/A
21 | 0.026068 | 0.023461 | 0.028675 |  | N/A | 21 | 5.7909 | 5.2118 | 6.37 |  | N/A
22 | 0.026763 | 0.024087 | 0.02944 |  | N/A | 22 | 6.0873 | 5.4785 | 6.696 |  | N/A
23 | 0.027477 | 0.024729 | 0.030225 |  | N/A | 23 | 6.3936 | 5.7542 | 7.0329 |  | N/A
24 | 0.02821 | 0.025389 | 0.031031 |  | N/A | 24 | 6.71 | 6.039 | 7.381 |  | N/A
25 | 0.028962 | 0.026066 | 0.031858 |  | N/A | 25 | 7.0367 | 6.333 | 7.7403 |  | N/A
26 | 0.029734 | 0.026761 | 0.032708 |  | N/A | 26 | 7.3738 | 6.6364 | 8.1112 |  | N/A
27 | 0.030527 | 0.027475 | 0.03358 |  | N/A | 27 | 7.7215 | 6.9494 | 8.4937 |  | N/A
28 | 0.031341 | 0.028207 | 0.034475 |  | N/A | 28 | 8.08 | 7.272 | 8.888 |  | N/A
29 | 0.032177 | 0.028959 | 0.035395 |  | N/A | 29 | 8.4494 | 7.6045 | 9.2943 |  | N/A
30 | 0.033035 | 0.029732 | 0.036339 |  | N/A | 30 | 8.8299 | 7.9469 | 9.7129 |  | N/A
31 | 0.033916 | 0.030524 | 0.037308 |  | N/A | 31 | 9.2217 | 8.2995 | 10.1438 |  | N/A
32 | 0.03482 | 0.031338 | 0.038303 |  | N/A | 32 | 9.6248 | 8.6624 | 10.5873 |  | N/A
33 | 0.035749 | 0.032174 | 0.039324 |  | N/A | 33 | 10.0396 | 9.0356 | 11.0436 |  | N/A
34 | 0.036702 | 0.033032 | 0.040373 |  | N/A | 34 | 10.4661 | 9.4195 | 11.5127 |  | N/A
35 | 0.037681 | 0.033913 | 0.041449 |  | N/A | 35 | 10.9045 | 9.8141 | 11.995 |  | N/A
36 | 0.038686 | 0.034817 | 0.042555 |  | N/A | 36 | 11.355 | 10.2195 | 12.4905 |  | N/A
37 | 0.039718 | 0.035746 | 0.043689 |  | N/A | 37 | 11.8178 | 10.636 | 12.9995 |  | N/A
38 | 0.040777 | 0.036699 | 0.044854 |  | N/A | 38 | 12.2929 | 11.0636 | 13.5222 |  | N/A
39 | 0.041864 | 0.037678 | 0.04605 |  | N/A | 39 | 12.7806 | 11.5025 | 14.0587 |  | N/A
40 | 0.04298 | 0.038682 | 0.047278 |  | N/A | 40 | 13.281 | 11.9529 | 14.6091 |  | N/A
41 | 0.044127 | 0.039714 | 0.048539 |  | N/A | 41 | 13.7944 | 12.4149 | 15.1738 |  | N/A
42 | 0.045303 | 0.040773 | 0.049834 |  | N/A | 42 | 14.3208 | 12.8887 | 15.7528 |  | N/A
43 | 0.046511 | 0.04186 | 0.051163 |  | N/A | 43 | 14.8604 | 13.3744 | 16.3464 |  | N/A
44 | 0.047752 | 0.042977 | 0.052527 |  | N/A | 44 | 15.4134 | 13.8721 | 16.9547 |  | N/A
45 | 0.049025 | 0.044123 | 0.053928 |  | N/A | 45 | 15.98 | 14.382 | 17.5779 |  | N/A
46 | 0.050332 | 0.045299 | 0.055366 |  | N/A | 46 | 16.5602 | 14.9042 | 18.2162 |  | N/A
47 | 0.051675 | 0.046507 | 0.056842 |  | N/A | 47 | 17.1544 | 15.4389 | 18.8698 |  | N/A
48 | 0.053053 | 0.047747 | 0.058358 |  | N/A | 48 | 17.7626 | 15.9863 | 19.5388 |  | N/A
49 | 0.054467 | 0.049021 | 0.059914 |  | N/A | 49 | 18.385 | 16.5465 | 20.2235 |  | N/A
50 | 0.05592 | 0.050328 | 0.061512 |  | N/A | 50 | 19.0218 | 17.1196 | 20.9239 |  | N/A
51 | 0.057411 | 0.05167 | 0.063152 |  | N/A | 51 | 19.6731 | 17.7058 | 21.6404 |  | N/A
52 | 0.058942 | 0.053048 | 0.064836 |  | N/A | 52 | 20.3391 | 18.3052 | 22.373 |  | N/A
53 | 0.060514 | 0.054462 | 0.066565 |  | N/A | 53 | 21.02 | 18.918 | 23.122 |  | N/A
54 | 0.062127 | 0.055915 | 0.06834 |  | N/A | 54 | 21.7159 | 19.5443 | 23.8875 |  | N/A
55 | 0.063784 | 0.057406 | 0.070163 |  | N/A | 55 | 22.427 | 20.1843 | 24.6697 |  | N/A
56 | 0.065485 | 0.058937 | 0.072034 |  | N/A | 56 | 23.1534 | 20.8381 | 25.4688 |  | N/A
57 | 0.067231 | 0.060508 | 0.073955 |  | N/A | 57 | 23.8954 | 21.5059 | 26.285 |  | N/A
58 | 0.069024 | 0.062122 | 0.075927 |  | N/A | 58 | 24.6531 | 22.1878 | 27.1184 |  | N/A
59 | 0.070865 | 0.063778 | 0.077951 |  | N/A | 59 | 25.4266 | 22.8839 | 27.9693 |  | N/A
60 | 0.072755 | 0.065479 | 0.08003 |  | N/A | 60 | 26.2161 | 23.5945 | 28.8377 |  | N/A
61 | 0.074695 | 0.067225 | 0.082164 |  | N/A | 61 | 27.0218 | 24.3196 | 29.724 |  | N/A
62 | 0.076687 | 0.069018 | 0.084355 |  | N/A | 62 | 27.8439 | 25.0595 | 30.6283 |  | N/A
63 | 0.078732 | 0.070858 | 0.086605 |  | N/A | 63 | 28.6824 | 25.8142 | 31.5507 |  | N/A
64 | 0.080831 | 0.072748 | 0.088914 |  | #NAME? | 64 | 29.5376 | 26.5839 | 32.4914 |  | N/A
65 | 0.082987 | 0.074688 | 0.091285 |  | N/A | 65 | 30.4097 | 27.3687 | 33.4506 |  | N/A
66 | 0.0852 | 0.07668 | 0.09372 |  | N/A | 66 | 31.2987 | 28.1689 | 34.4286 |  | N/A
67 | 0.087472 | 0.078724 | 0.096219 |  | N/A | 67 | 32.2049 | 28.9844 | 35.4254 |  | N/A
68 | 0.089804 | 0.080824 | 0.098785 |  | N/A | 68 | 33.1285 | 29.8156 | 36.4413 |  | N/A
69 | 0.092199 | 0.082979 | 0.10142 |  | N/A | 69 | 34.0695 | 30.6625 | 37.4764 |  | N/A
70 | 0.094658 | 0.085192 | 0.10412 |  | N/A | 70 | 35.0282 | 31.5254 | 38.531 |  | N/A
71 | 0.097182 | 0.087464 | 0.1069 |  | N/A | 71 | 36.0047 | 32.4042 | 39.6051 |  | N/A
72 | 0.099773 | 0.089796 | 0.10975 |  | N/A | 72 | 36.9991 | 33.2992 | 40.6991 |  | N/A
73 | 0.10243 | 0.092191 | 0.11268 |  | N/A | 73 | 38.0118 | 34.2106 | 41.8129 |  | N/A
74 | 0.10517 | 0.094649 | 0.11568 |  | N/A | 74 | 39.0427 | 35.1384 | 42.947 |  | N/A
75 | 0.10797 | 0.097173 | 0.11877 |  | N/A | 75 | 40.0921 | 36.0829 | 44.1013 |  | N/A
76 | 0.11085 | 0.099764 | 0.12193 |  | N/A | 76 | 41.1601 | 37.0441 | 45.2761 |  | N/A
77 | 0.11381 | 0.10242 | 0.12519 |  | N/A | 77 | 42.247 | 38.0223 | 46.4717 |  | N/A
78 | 0.11684 | 0.10516 | 0.12852 |  | N/A | 78 | 43.3528 | 39.0175 | 47.6881 |  | N/A
79 | 0.11996 | 0.10796 | 0.13195 |  | N/A | 79 | 44.4777 | 40.03 | 48.9255 |  | N/A
80 | 0.12315 | 0.11084 | 0.13547 |  | N/A | 80 | 45.622 | 41.0598 | 50.1842 |  | N/A
81 | 0.12644 | 0.11379 | 0.13908 |  | N/A | 81 | 46.7857 | 42.1071 | 51.4642 |  | N/A
82 | 0.12981 | 0.11683 | 0.14279 |  | N/A | 82 | 47.969 | 43.1721 | 52.7659 |  | N/A
83 | 0.13327 | 0.11994 | 0.1466 |  | N/A | 83 | 49.1721 | 44.2549 | 54.0893 |  | N/A
84 | 0.13683 | 0.12314 | 0.15051 |  | N/A | 84 | 50.3951 | 45.3556 | 55.4346 |  | N/A
85 | 0.14047 | 0.12643 | 0.15452 |  | N/A | 85 | 51.6383 | 46.4744 | 56.8021 |  | N/A
86 | 0.14422 | 0.1298 | 0.15864 |  | N/A | 86 | 52.9017 | 47.6115 | 58.1919 |  | N/A
87 | 0.14807 | 0.13326 | 0.16287 |  | N/A | 87 | 54.1856 | 48.767 | 59.6042 |  | N/A
88 | 0.15201 | 0.13681 | 0.16722 |  | N/A | 88 | 55.4901 | 49.9411 | 61.0391 |  | N/A
89 | 0.15607 | 0.14046 | 0.17168 |  | N/A | 89 | 56.8154 | 51.1338 | 62.4969 |  | N/A
90 | 0.16023 | 0.14421 | 0.17625 |  | N/A | 90 | 58.1615 | 52.3454 | 63.9777 |  | N/A
91 | 0.1645 | 0.14805 | 0.18095 |  | N/A | 91 | 59.5288 | 53.576 | 65.4817 |  | N/A
92 | 0.16889 | 0.152 | 0.18578 |  | N/A | 92 | 60.9174 | 54.8257 | 67.0091 |  | N/A
93 | 0.17339 | 0.15605 | 0.19073 |  | N/A | 93 | 62.3274 | 56.0946 | 68.5601 |  | N/A
94 | 0.17802 | 0.16022 | 0.19582 |  | N/A | 94 | 63.759 | 57.3831 | 70.1348 |  | N/A
95 | 0.18276 | 0.16449 | 0.20104 |  | N/A | 95 | 65.2123 | 58.6911 | 71.7335 |  | N/A
96 | 0.18764 | 0.16887 | 0.2064 |  | N/A | 96 | 66.6875 | 60.0188 | 73.3563 |  | N/A
97 | 0.19264 | 0.17338 | 0.21191 |  | N/A | 97 | 68.1849 | 61.3664 | 75.0033 |  | N/A
98 | 0.19778 | 0.178 | 0.21756 |  | N/A | 98 | 69.7044 | 62.734 | 76.6749 |  | N/A
99 | 0.20305 | 0.18275 | 0.22336 |  | N/A | 99 | 71.2464 | 64.1218 | 78.3711 |  | N/A
100 | 0.20847 | 0.18762 | 0.22932 |  | N/A | 100 | 72.811 | 65.5299 | 80.0921 |  | N/A
101 | 0.21403 | 0.19262 | 0.23543 |  | N/A | 101 | 74.3983 | 66.9585 | 81.8381 |  | N/A
102 | 0.21973 | 0.19776 | 0.24171 |  | N/A | 102 | 76.0085 | 68.4076 | 83.6093 |  | N/A
103 | 0.22559 | 0.20304 | 0.24815 |  | N/A | 103 | 77.6418 | 69.8776 | 85.4059 |  | N/A
104 | 0.23161 | 0.20845 | 0.25477 |  | N/A | 104 | 79.2983 | 71.3684 | 87.2281 |  | N/A
105 | 0.23779 | 0.21401 | 0.26157 |  | N/A | 105 | 80.9782 | 72.8803 | 89.076 |  | N/A
106 | 0.24413 | 0.21971 | 0.26854 |  | N/A | 106 | 82.6816 | 74.4135 | 90.9498 |  | N/A
107 | 0.25064 | 0.22557 | 0.2757 |  | N/A | 107 | 84.4088 | 75.9679 | 92.8497 |  | N/A
108 | 0.25732 | 0.23159 | 0.28305 |  | N/A | 108 | 86.1599 | 77.5439 | 94.7758 |  | N/A
109 | 0.26418 | 0.23777 | 0.2906 |  | N/A | 109 | 87.935 | 79.1415 | 96.7285 |  | N/A
110 | 0.27123 | 0.24411 | 0.29835 |  | N/A | 110 | 89.7343 | 80.7609 | 98.7077 |  | N/A
111 | 0.27846 | 0.25061 | 0.30631 |  | N/A | 111 | 91.558 | 82.4022 | 100.7138 |  | N/A
112 | 0.28589 | 0.2573 | 0.31448 |  | N/A | 112 | 93.4063 | 84.0657 | 102.7469 |  | N/A
113 | 0.29351 | 0.26416 | 0.32286 |  | N/A | 113 | 95.2793 | 85.7513 | 104.8072 |  | N/A
114 | 0.30134 | 0.2712 | 0.33147 |  | N/A | 114 | 97.1771 | 87.4594 | 106.8948 |  | N/A
115 | 0.30937 | 0.27844 | 0.34031 |  | N/A | 115 | 99.1 | 89.19 | 109.01 |  | N/A
116 | 0.31762 | 0.28586 | 0.34939 |  | N/A | 116 | 101.048 | 90.9432 | 111.1528 |  | N/A
117 | 0.32609 | 0.29348 | 0.3587 |  | N/A | 117 | 103.0215 | 92.7193 | 113.3236 |  | N/A
118 | 0.33479 | 0.30131 | 0.36827 |  | N/A | 118 | 105.0204 | 94.5184 | 115.5225 |  | N/A
119 | 0.34372 | 0.30934 | 0.37809 |  | N/A | 119 | 107.0451 | 96.3406 | 117.7496 |  | N/A
120 | 0.35288 | 0.31759 | 0.38817 |  | N/A | 120 | 109.0956 | 98.186 | 120.0052 |  | N/A
121 | 0.36229 | 0.32606 | 0.39852 |  | N/A | 121 | 111.1721 | 100.0549 | 122.2893 |  | N/A
122 | 0.37195 | 0.33476 | 0.40915 |  | N/A | 122 | 113.2749 | 101.9474 | 124.6023 |  | N/A
123 | 0.38187 | 0.34369 | 0.42006 |  | N/A | 123 | 115.4039 | 103.8635 | 126.9443 |  | N/A
124 | 0.39206 | 0.35285 | 0.43126 |  | N/A | 124 | 117.5595 | 105.8035 | 129.3154 |  | N/A
125 | 0.40251 | 0.36226 | 0.44276 |  | N/A | 125 | 119.7417 | 107.7676 | 131.7159 |  | N/A
126 | 0.41324 | 0.37192 | 0.45457 |  | N/A | 126 | 121.9508 | 109.7558 | 134.1459 |  | N/A
127 | 0.42426 | 0.38184 | 0.46669 |  | N/A | 127 | 124.1869 | 111.7682 | 136.6056 |  | N/A
128 | 0.43558 | 0.39202 | 0.47914 |  | N/A | 128 | 126.4502 | 113.8052 | 139.0952 |  | N/A
129 | 0.44719 | 0.40247 | 0.49191 |  | N/A | 129 | 128.7408 | 115.8667 | 141.6149 |  | N/A
130 | 0.45912 | 0.41321 | 0.50503 |  | N/A | 130 | 131.0589 | 117.953 | 144.1648 |  | N/A
131 | 0.47136 | 0.42423 | 0.5185 |  | N/A | 131 | 133.4047 | 120.0642 | 146.7451 |  | N/A
132 | 0.48393 | 0.43554 | 0.53232 |  | N/A | 132 | 135.7782 | 122.2004 | 149.3561 |  | N/A
133 | 0.49684 | 0.44715 | 0.54652 |  | N/A | 133 | 138.1798 | 124.3618 | 151.9978 |  | N/A
134 | 0.51009 | 0.45908 | 0.56109 |  | N/A | 134 | 140.6095 | 126.5486 | 154.6705 |  | N/A
135 | 0.52369 | 0.47132 | 0.57606 |  | N/A | 135 | 143.0676 | 128.7608 | 157.3743 |  | N/A
136 | 0.53765 | 0.48389 | 0.59142 |  | N/A | 136 | 145.5541 | 130.9987 | 160.1095 |  | N/A
137 | 0.55199 | 0.49679 | 0.60719 |  | N/A | 137 | 148.0692 | 133.2623 | 162.8762 |  | N/A
138 | 0.56671 | 0.51004 | 0.62338 |  | N/A | 138 | 150.6132 | 135.5519 | 165.6745 |  | N/A
139 | 0.58182 | 0.52364 | 0.64 |  | N/A | 139 | 153.1862 | 137.8676 | 168.5048 |  | N/A
140 | 0.59734 | 0.5376 | 0.65707 |  | N/A | 140 | 155.7883 | 140.2094 | 171.3671 |  | N/A
141 | 0.61327 | 0.55194 | 0.67459 |  | N/A | 141 | 158.4196 | 142.5777 | 174.2616 |  | N/A
142 | 0.62962 | 0.56666 | 0.69258 |  | N/A | 142 | 161.0805 | 144.9724 | 177.1885 |  | N/A
143 | 0.64641 | 0.58177 | 0.71105 |  | N/A | 143 | 163.771 | 147.3939 | 180.1481 |  | N/A
144 | 0.66365 | 0.59728 | 0.73001 |  | N/A | 144 | 166.4912 | 149.8421 | 183.1404 |  | N/A
145 | 0.68134 | 0.61321 | 0.74948 |  | N/A | 145 | 169.2415 | 152.3173 | 186.1656 |  | N/A
146 | 0.69951 | 0.62956 | 0.76947 |  | N/A | 146 | 172.0218 | 154.8196 | 189.224 |  | N/A
147 | 0.71817 | 0.64635 | 0.78998 |  | N/A | 147 | 174.8325 | 157.3492 | 192.3157 |  | N/A
148 | 0.73732 | 0.66359 | 0.81105 |  | N/A | 148 | 177.6735 | 159.9062 | 195.4409 |  | N/A
149 | 0.75698 | 0.68128 | 0.83268 |  | N/A | 149 | 180.5452 | 162.4907 | 198.5998 |  | N/A
150 | 0.77717 | 0.69945 | 0.85488 |  | N/A | 150 | 183.4477 | 165.1029 | 201.7925 |  | N/A
151 | 0.79789 | 0.7181 | 0.87768 |  | N/A | 151 | 186.3811 | 167.743 | 205.0193 |  | N/A
152 | 0.81917 | 0.73725 | 0.90109 |  | N/A | 152 | 189.3457 | 170.4111 | 208.2802 |  | N/A
153 | 0.84101 | 0.75691 | 0.92511 |  | N/A | 153 | 192.3415 | 173.1073 | 211.5756 |  | N/A
154 | 0.86344 | 0.7771 | 0.94978 |  | N/A | 154 | 195.3687 | 175.8318 | 214.9056 |  | N/A
155 | 0.88647 | 0.79782 | 0.97511 |  | N/A | 155 | 198.4275 | 178.5848 | 218.2703 |  | N/A
156 | 0.9101 | 0.81909 | 1.0011 |  | N/A | 156 | 201.5181 | 181.3663 | 221.6699 |  | N/A
157 | 0.93437 | 0.84094 | 1.0278 |  | N/A | 157 | 204.6406 | 184.1765 | 225.1047 |  | N/A
158 | 0.95929 | 0.86336 | 1.0552 |  | N/A | 158 | 207.7952 | 187.0157 | 228.5747 |  | N/A
159 | 0.98487 | 0.88638 | 1.0834 |  | N/A | 159 | 210.9821 | 189.8839 | 232.0803 |  | N/A
160 | 1.0111 | 0.91002 | 1.1122 |  | N/A | 160 | 214.2013 | 192.7812 | 235.6215 |  | N/A
161 | 1.0381 | 0.93429 | 1.1419 |  | N/A | 161 | 217.4532 | 195.7079 | 239.1985 |  | N/A
162 | 1.0658 | 0.9592 | 1.1724 |  | N/A | 162 | 220.7378 | 198.664 | 242.8116 |  | N/A
163 | 1.0942 | 0.98478 | 1.2036 |  | N/A | 163 | 224.0553 | 201.6498 | 246.4609 |  | N/A
164 | 1.1234 | 1.011 | 1.2357 |  | N/A | 164 | 227.4059 | 204.6653 | 250.1465 |  | N/A
165 | 1.1533 | 1.038 | 1.2687 |  | N/A | 165 | 230.7897 | 207.7108 | 253.8687 |  | N/A
166 | 1.1841 | 1.0657 | 1.3025 |  | N/A | 166 | 234.207 | 210.7863 | 257.6277 |  | N/A
167 | 1.2157 | 1.0941 | 1.3372 |  | N/A | 167 | 237.6578 | 213.892 | 261.4235 |  | N/A
168 | 1.2481 | 1.1233 | 1.3729 |  | N/A | 168 | 241.1423 | 217.0281 | 265.2565 |  | N/A
169 | 1.2814 | 1.1532 | 1.4095 |  | N/A | 169 | 244.6607 | 220.1946 | 269.1268 |  | N/A
170 | 1.3155 | 1.184 | 1.4471 |  | N/A | 170 | 248.2132 | 223.3919 | 273.0345 |  | N/A
171 | 1.3506 | 1.2156 | 1.4857 |  | N/A | 171 | 251.7999 | 226.6199 | 276.9799 |  | N/A
172 | 1.3866 | 1.248 | 1.5253 |  | N/A | 172 | 255.421 | 229.8789 | 280.9631 |  | N/A
173 | 1.4236 | 1.2813 | 1.566 |  | N/A | 173 | 259.0766 | 233.169 | 284.9843 |  | N/A
174 | 1.4616 | 1.3154 | 1.6077 |  | N/A | 174 | 262.767 | 236.4903 | 289.0437 |  | N/A
175 | 1.5006 | 1.3505 | 1.6506 |  | N/A | 175 | 266.4922 | 239.843 | 293.1414 |  | N/A
176 | 1.5406 | 1.3865 | 1.6946 |  | N/A | 176 | 270.2525 | 243.2272 | 297.2777 |  | N/A
177 | 1.5817 | 1.4235 | 1.7398 |  | N/A | 177 | 274.048 | 246.6432 | 301.4528 |  | N/A
178 | 1.6238 | 1.4614 | 1.7862 |  | N/A | 178 | 277.8788 | 250.0909 | 305.6667 |  | N/A
179 | 1.6671 | 1.5004 | 1.8338 |  | N/A | 179 | 281.7452 | 253.5707 | 309.9197 |  | N/A
180 | 1.7116 | 1.5404 | 1.8827 |  | N/A | 180 | 285.6473 | 257.0826 | 314.212 |  | N/A
181 | 1.7572 | 1.5815 | 1.933 |  | N/A | 181 | 289.5853 | 260.6267 | 318.5438 |  | N/A
182 | 1.8041 | 1.6237 | 1.9845 |  | N/A | 182 | 293.5592 | 264.2033 | 322.9152 |  | N/A
183 | 1.8522 | 1.667 | 2.0374 |  | N/A | 183 | 297.5694 | 267.8125 | 327.3264 |  | N/A
184 | 1.9016 | 1.7114 | 2.0917 |  | N/A | 184 | 301.6159 | 271.4543 | 331.7775 |  | N/A
185 | 1.9523 | 1.7571 | 2.1475 |  | N/A | 185 | 305.699 | 275.1291 | 336.2689 |  | N/A
186 | 2.0044 | 1.8039 | 2.2048 |  | N/A | 186 | 309.8187 | 278.8368 | 340.8006 |  | N/A
187 | 2.0578 | 1.852 | 2.2636 |  | N/A | 187 | 313.9753 | 282.5778 | 345.3728 |  | N/A
188 | 2.1127 | 1.9014 | 2.324 |  | N/A | 188 | 318.1689 | 286.352 | 349.9858 |  | N/A
189 | 2.169 | 1.9521 | 2.3859 |  | N/A | 189 | 322.3996 | 290.1597 | 354.6396 |  | N/A
190 | 2.2269 | 2.0042 | 2.4496 |  | N/A | 190 | 326.6677 | 294.001 | 359.3345 |  | N/A
191 | 2.2862 | 2.0576 | 2.5149 |  | N/A | 191 | 330.9734 | 297.876 | 364.0707 |  | N/A
192 | 2.3472 | 2.1125 | 2.5819 |  | N/A | 192 | 335.3166 | 301.785 | 368.8483 |  | N/A
193 | 2.4098 | 2.1688 | 2.6508 |  | N/A | 193 | 339.6977 | 305.728 | 373.6675 |  | N/A
194 | 2.4741 | 2.2267 | 2.7215 |  | N/A | 194 | 344.1168 | 309.7052 | 378.5285 |  | N/A
195 | 2.54 | 2.286 | 2.794 |  | N/A | 195 | 348.5741 | 313.7167 | 383.4315 |  | N/A
196 | 2.6078 | 2.347 | 2.8686 |  | N/A | 196 | 353.0697 | 317.7627 | 388.3767 |  | N/A
197 | 2.6773 | 2.4096 | 2.9451 |  | N/A | 197 | 357.6038 | 321.8434 | 393.3641 |  | N/A
198 | 2.7487 | 2.4738 | 3.0236 |  | N/A | 198 | 362.1765 | 325.9588 | 398.3941 |  | N/A
199 | 2.822 | 2.5398 | 3.1042 |  | N/A | 199 | 366.788 | 330.1092 | 403.4668 |  | N/A
200 | 2.8973 | 2.6075 | 3.187 |  | N/A | 200 | 371.4386 | 334.2947 | 408.5824 |  | N/A
201 | 2.9745 | 2.6771 | 3.272 |  | N/A | 201 | 376.1282 | 338.5154 | 413.741 |  | N/A
202 | 3.0539 | 2.7485 | 3.3592 |  | N/A | 202 | 380.8572 | 342.7715 | 418.9429 |  | N/A
203 | 3.1353 | 2.8218 | 3.4488 |  | N/A | 203 | 385.6257 | 347.0631 | 424.1882 |  | N/A
204 | 3.2189 | 2.897 | 3.5408 |  | N/A | 204 | 390.4337 | 351.3904 | 429.4771 |  | N/A
205 | 3.3047 | 2.9743 | 3.6352 |  | N/A | 205 | 395.2816 | 355.7535 | 434.8098 |  | N/A
206 | 3.3929 | 3.0536 | 3.7321 |  | N/A | 206 | 400.1695 | 360.1525 | 440.1864 |  | N/A
207 | 3.4833 | 3.135 | 3.8317 |  | N/A | 207 | 405.0975 | 364.5877 | 445.6072 |  | N/A
208 | 3.5762 | 3.2186 | 3.9338 |  | N/A | 208 | 410.0657 | 369.0591 | 451.0723 |  | N/A
209 | 3.6716 | 3.3044 | 4.0387 |  | N/A | 209 | 415.0745 | 373.567 | 456.5819 |  | N/A
210 | 3.7695 | 3.3926 | 4.1465 |  | N/A | 210 | 420.1238 | 378.1114 | 462.1362 |  | N/A
211 | 3.87 | 3.483 | 4.257 |  | N/A | 211 | 425.2139 | 382.6925 | 467.7353 |  | N/A
212 | 3.9732 | 3.5759 | 4.3705 |  | N/A | 212 | 430.345 | 387.3105 | 473.3795 |  | N/A
213 | 4.0792 | 3.6713 | 4.4871 |  | N/A | 213 | 435.5172 | 391.9655 | 479.0689 |  | N/A
214 | 4.188 | 3.7692 | 4.6067 |  | N/A | 214 | 440.7307 | 396.6576 | 484.8038 |  | N/A
215 | 4.2996 | 3.8697 | 4.7296 |  | N/A | 215 | 445.9856 | 401.387 | 490.5842 |  | N/A
216 | 4.4143 | 3.9729 | 4.8557 |  | N/A | 216 | 451.2821 | 406.1539 | 496.4103 |  | N/A
217 | 4.532 | 4.0788 | 4.9852 |  | N/A | 217 | 456.6204 | 410.9584 | 502.2824 |  | N/A
218 | 4.6529 | 4.1876 | 5.1181 |  | N/A | 218 | 462.0006 | 415.8006 | 508.2007 |  | N/A
219 | 4.7769 | 4.2992 | 5.2546 |  | N/A | 219 | 467.4229 | 420.6806 | 514.1652 |  | N/A
220 | 4.9043 | 4.4139 | 5.3948 |  | N/A | 220 | 472.8875 | 425.5988 | 520.1763 |  | N/A
221 | 5.0351 | 4.5316 | 5.5386 |  | N/A | 221 | 478.3945 | 430.5551 | 526.234 |  | N/A
222 | 5.1694 | 4.6524 | 5.6863 |  | N/A | 222 | 483.9441 | 435.5497 | 532.3385 |  | N/A
223 | 5.3072 | 4.7765 | 5.8379 |  | N/A | 223 | 489.5365 | 440.5828 | 538.4901 |  | N/A
224 | 5.4487 | 4.9039 | 5.9936 |  | N/A | 224 | 495.1717 | 445.6546 | 544.6889 |  | N/A
225 | 5.594 | 5.0346 | 6.1535 |  | N/A | 225 | 500.8501 | 450.7651 | 550.9351 |  | N/A
226 | 5.7432 | 5.1689 | 6.3175 |  | N/A | 226 | 506.5717 | 455.9145 | 557.2288 |  | N/A
227 | 5.8964 | 5.3067 | 6.486 |  | N/A | 227 | 512.3367 | 461.103 | 563.5703 |  | N/A
228 | 6.0536 | 5.4483 | 6.659 |  | N/A | 228 | 518.1452 | 466.3307 | 569.9598 |  | N/A
229 | 6.215 | 5.5935 | 6.8365 |  | N/A | 229 | 523.9976 | 471.5978 | 576.3973 |  | N/A
230 | 6.3808 | 5.7427 | 7.0189 |  | N/A | 230 | 529.8938 | 476.9044 | 582.8831 |  | N/A
231 | 6.5509 | 5.8958 | 7.206 |  | N/A | 231 | 535.8341 | 482.2506 | 589.4175 |  | N/A
232 | 6.7256 | 6.0531 | 7.3982 |  | N/A | 232 | 541.8186 | 487.6367 | 596.0004 |  | N/A
233 | 6.905 | 6.2145 | 7.5955 |  | N/A | 233 | 547.8475 | 493.0627 | 602.6322 |  | N/A
234 | 7.0891 | 6.3802 | 7.798 |  | N/A | 234 | 553.9209 | 498.5288 | 609.313 |  | N/A
235 | 7.2781 | 6.5503 | 8.006 |  | N/A | 235 | 560.0391 | 504.0352 | 616.043 |  | N/A
236 | 7.4722 | 6.725 | 8.2195 |  | N/A | 236 | 566.2022 | 509.582 | 622.8224 |  | N/A
237 | 7.6715 | 6.9043 | 8.4386 |  | N/A | 237 | 572.4103 | 515.1693 | 629.6513 |  | N/A
238 | 7.8761 | 7.0885 | 8.6637 |  | N/A | 238 | 578.6636 | 520.7973 | 636.53 |  | N/A
239 | 8.0861 | 7.2775 | 8.8947 |  | N/A | 239 | 584.9624 | 526.4661 | 643.4586 |  | N/A
240 | 8.3017 | 7.4716 | 9.1319 |  | N/A | 240 | 591.3066 | 532.1759 | 650.4373 |  | N/A
241 | 8.5231 | 7.6708 | 9.3754 |  | N/A | 241 | 597.6966 | 537.9269 | 657.4662 |  | N/A
242 | 8.7504 | 7.8754 | 9.6254 |  | N/A | 242 | 604.1324 | 543.7192 | 664.5456 |  | N/A
243 | 8.9837 | 8.0854 | 9.8821 |  | N/A | 243 | 610.6143 | 549.5528 | 671.6757 |  | N/A
244 | 9.2233 | 8.301 | 10.1456 |  | N/A | 244 | 617.1423 | 555.4281 | 678.8566 |  | N/A
245 | 9.4693 | 8.5223 | 10.4162 |  | N/A | 245 | 623.7168 | 561.3451 | 686.0884 |  | N/A
246 | 9.7218 | 8.7496 | 10.6939 |  | N/A | 246 | 630.3377 | 567.3039 | 693.3715 |  | N/A
247 | 9.981 | 8.9829 | 10.9791 |  | N/A | 247 | 637.0054 | 573.3048 | 700.7059 |  | N/A
248 | 10.2472 | 9.2225 | 11.2719 |  | N/A | 248 | 643.7199 | 579.3479 | 708.0918 |  | N/A
249 | 10.5204 | 9.4684 | 11.5725 |  | N/A | 249 | 650.4814 | 585.4332 | 715.5295 |  | N/A
250 | 10.801 | 9.7209 | 11.8811 |  | N/A | 250 | 657.2901 | 591.5611 | 723.0191 |  | N/A
251 | 11.089 | 9.9801 | 12.1979 |  | N/A | 251 | 664.1461 | 597.7315 | 730.5607 |  | N/A
252 | 11.3847 | 10.2462 | 12.5232 |  | N/A | 252 | 671.0497 | 603.9447 | 738.1547 |  | N/A
253 | 11.6883 | 10.5195 | 12.8571 |  | N/A | 253 | 678.0009 | 610.2008 | 745.801 |  | N/A
254 | 12 | 10.8 | 13.2 |  | N/A | 254 | 685 | 616.5 | 753.5 |  | N/A
255 | 12.32 | 11.088 | 13.552 |  | N/A | 255 | 692.0471 | 0 | 685 |  | N/A

## UniformityWhite
Day white | Luminance | NVG White | Luminance
Top Left | 753.4626 | Top Left | 11.8376
Top Center | 681.6821 | Top Center | 12.1601
Top Right | 729.083 | Top Right | 11.7409
Center Left | 755.2301 | Center Left | 11.3409
Center | 683.491 | Center | 11.7061
Center Right | 733.0289 | Center Right | 11.1949
Bottom Left | 717.6106 | Bottom Left | 12.6066
Bottom Center | 647.7569 | Bottom Center | 13.0934
Bottom Right | 699.2449 | Bottom Right | 12.5567
Uniformity: | 70 | Uniformity: | 0.078167

## UniformityBlack
Day black | Luminance | CIE31 y | CIE31 u | CIE31 v | NVG Blck | Luminance | CIE31 x | CIE31 y | CIE31 u | CIE31 v
Top Left | 753.4626 |  |  |  | Top Left | 11.8376
Top Center | 681.6821 |  |  |  | Top Center | 12.1601
Top Right | 729.083 |  |  |  | Top Right | 11.7409
Center Left | 755.2301 |  |  |  | Center Left | 11.3409
Center | 683.491 |  |  |  | Center | 11.7061
Center Right | 733.0289 |  |  |  | Center Right | 11.1949
Bottom Left | 717.6106 |  |  |  | Bottom Left | 12.6066
Bottom Center | 647.7569 |  |  |  | Bottom Center | 13.0934
Bottom Right | 699.2449 |  |  |  | Bottom Right | 12.5567
Uniformity: | 0.076603 |  |  |  | Uniformity: | 0.078167

## ChromaticityCoordinates
DAY CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r' | u | v | r
white | 0.184 | 0.5 | 0.03 | 0.184 | 0.5 | 0 | PASS | 0 | 0 | #VALUE! | PASS
red | 0.432 | 0.533 | 0.03 | 2 | 1 | 1.6361 | FAIL | 1.568 | 0.467 | #VALUE! | FAIL
green | 0.117 | 0.566 | 0.03 | 3 | 2 | 3.2199 | FAIL | 2.883 | 1.434 | #VALUE! | FAIL
blue | 0.13 | 0.274 | 0.03 | 4 | 3 | 4.7337 | FAIL | 3.87 | 2.726 | #VALUE! | FAIL
NVG CHROMATICITY COORDINATES | [10 empty] | PASS/FAIL
| REQUIRED |  |  | RESULT
DAY | u' | v' | r' | u | v | r
white | 0.172 | 0.498 | 0.03 | 1 | 0 | 0.96622 | FAIL | 0.828 | -0.498 | #VALUE! | FAIL
red | 0.381 | 0.539 | 0.03 | 2 | 1 | 1.6834 | FAIL | 1.619 | 0.461 | #VALUE! | FAIL
green | 0.13 | 0.57 | 0.03 | 3 | 2 | 3.2065 | FAIL | 2.87 | 1.43 | #VALUE! | FAIL
blue | 0.155 | 0.227 | 0.03 | 4 | 3 | 4.7406 | FAIL | 3.845 | 2.773 | #VALUE! | FAIL

## ContrastOnAxis
Contrast Test |  |  | Measured Values [cd/m2]
REQUIRED CONTRAST MIN | MEASURED | RESULT | 182.7941 | White
500 | 182.7941 | FAIL | 1 | Black

## AnglesLuminance
WHITE
Viewing angle (*) | L measured (cd/m2) | Required (%) | Result (%) | PASS/FAIL
DEP (15° VERT. +, 0° HOR.) | 0 | / | /
25° vert. + | 0.6805 | >=75% | #DIV/0! | #DIV/0!
60° vert. + | 0.116 | <=25% | #DIV/0! | #DIV/0!
10° vert. - | 2.755 | >=80% | #DIV/0! | #DIV/0!
60° vert. - | 1.35 | <=25% | #DIV/0! | #DIV/0!
60° hor. + | 0.1631 | <=20% | #DIV/0! | #DIV/0!
30° hor. + | 0.6148 | >=60% | #DIV/0! | #DIV/0!
20° hor. + | 0.5907 | >=75% | #DIV/0! | #DIV/0!
20° hor. - | 0.9334 | >=75% | #DIV/0! | #DIV/0!
30° hor. - | 0.6115 | >=60% | #DIV/0! | #DIV/0!
60° hor. - | 0.7624 | <=20% | #DIV/0! | #DIV/0!
(*) (+ in horizontal plane is clockwise turning; in vertical plane viewing from above the normal)

## Curves
CURVES
Step | Luminance | Status
1 | 0.11721 | 0
2 | 0.053499 | 0
3 | 0.085458 | 0
4 | 0.069493 | 0
5 | 0.077402 | 0
6 | 0.077373 | 0
7 | 0.10913 | 0
8 | 0.16306 | 0
9 | 0.07641 | 0
10 | 0.12001 | 0
11 | 0.14179 | 0
12 | 0.1309 | 0
13 | 0.13084 | 0
14 | 0.17185 | 0
15 | 0.20139 | 0
16 | 0.09541 | 0
17 | 0.14841 | 0
18 | 0.17506 | 0
19 | 0.16166 | 0
20 | 0.16163 | 0
21 | 0.21113 | 0
22 | 0.21131 | 0
23 | 0.27041 | 0
24 | 0.27015 | 0
25 | 0.35024 | 0
26 | 0.34994 | 0
27 | 0.45064 | 0
28 | 0.52214 | 0
29 | 0.2548 | 0
30 | 0.38847 | 0
31 | 0.45472 | 0
32 | 0.42116 | 0
33 | 0.42174 | 0
34 | 0.54316 | 0
35 | 0.54287 | 0
36 | 0.69551 | 0
37 | 0.69376 | 0
38 | 0.88581 | 0
39 | 0.88522 | 0
40 | 1.138 | 0
41 | 1.1339 | 0
42 | 1.4436 | 0
43 | 1.4453 | 0
44 | 1.849 | 0
45 | 1.8457 | 0
46 | 2.3585 | 0
47 | 2.3588 | 0
48 | 3.0004 | 0
49 | 2.9828 | 0
50 | 3.8234 | 0
51 | 3.8234 | 0
52 | 4.8683 | 0
53 | 4.8712 | 0
54 | 6.1612 | 0
55 | 6.2079 | 0
56 | 7.9562 | 0
57 | 7.857 | 0
58 | 10.1656 | 0
59 | 9.8591 | 0
60 | 12.5355 | 0
61 | 12.7924 | 0
62 | 16.429 | 0
63 | 16.4056 | 0
64 | 21.0317 | 0
65 | 20.267 | 0
66 | 25.7978 | 0
67 | 27.0003 | 0
68 | 32.8346 | 0
69 | 34.7318 | 0
70 | 44.4508 | 0
71 | 49.3833 | 0
72 | 25.2812 | 0
73 | 38.4968 | 0
74 | 45.1805 | 0
75 | 41.7073 | 0
76 | 37.271 | 0
77 | 51.2804 | 0
78 | 50.6967 | 0
79 | 65.0564 | 0
80 | 64.6478 | 0
81 | 82.5098 | 0
82 | 82.539 | 0
83 | 105.0125 | 0
84 | 104.8666 | 0
85 | 133.4692 | 0
86 | 133.761 | 0
87 | 223.5674 | 0
88 | 111.4627 | 0
89 | 167.3253 | 0
90 | 154.0456 | 0
91 | 179.8171 | 0

## LuminanceAndUniformity
Luminance Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 182.8525
150 | 200 | 166.2805 | PASS | Point 1 | 160.0288
|  |  |  | Point 2 | 158.5986
|  |  |  | Point 3 | 162.7139
Uniformity Test |  |  |  | Point 4 | 167.2086
| REQUIRED UNIFORMITY MAX | MEASURED | RESULT
| 0.65 | 0.14206 | PASS

## LuminanceDimming
Luminance Dimming Test |  |  |  |  | Measured Values (fL)
REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE MAX | MEASURED | RESULT | Point 0 | 0.085107
0.05 | 0.1 | 0.07728 | PASS | Point 1 | 0.074396
|  |  |  | Point 2 | 0.073754
|  |  |  | Point 3 | 0.075739
|  |  |  | Point 4 | 0.077402

## LuminanceViewingAngle
Luminance Viewing Angle |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED LUMINANCE MIN | MEASURED MIN | RESULT | Point 0 | 182.94 | 68.8506 | 162.5972 | 59.365
50 | 54.1699 | PASS | Point 1 | 160.1163 | 62.8966 | 150.1638 | 59.6569
|  |  | Point 2 | 158.6278 | 62.4588 | 149.9303 | 59.1024
|  |  | Point 3 | 162.7139 | 68.2085 | 146.9241 | 54.1699
|  |  | Point 4 | 167.267 | 68.3252 | 151.5063 | 54.345

## ContrastForSecondaryViewing
Contrast Secondary Viewing Angle |  |  |  |  | Measured Values (fL) (0,0) | Measured Values (fL) (0,55) | Measured Values (fL) (15,0) | Measured Values (fL) (15,55)
REQUIRED CONTRAST MIN | MEASURED MIN | RESULT | Point 0 | White | 182.7649 | 68.8506 | 162.5096 | 59.365
20 | 70.4209 | PASS | Point 0 | Black | 0.26498 | 0.31609 | 0.2724 | 0.83123
|  |  | Point 1 | White | 159.9704 | 62.8966 | 150.0178 | 59.6861
|  |  | Point 1 | Black | 0.25573 | 0.28757 | 0.26151 | 0.81634
|  |  | Point 2 | White | 158.4819 | 62.488 | 149.8427 | 59.1607
|  |  | Point 2 | Black | 0.24584 | 0.28039 | 0.26136 | 0.79708
|  |  | Point 3 | White | 162.5972 | 68.2085 | 146.8949 | 54.1991
|  |  | Point 3 | Black | 0.23089 | 0.31288 | 0.24657 | 0.76964
|  |  | Point 4 | White | 167.121 | 68.3544 | 151.4772 | 54.4034
|  |  | Point 4 | Black | 0.2447 | 0.31405 | 0.25585 | 0.76527

## TestCurves
Test Curves
ENCODER POSITION | REQUIRED LUMINANCE MIN | REQUIRED LUMINANCE | REQUIRED LUMINANCE MAX | MEASURED | RESULT
0 | 0.06375 | 0.075 | 0.08625 | 0.077548 | PASS
1 | 0.10843 | 0.12756 | 0.14669 | 0.13096 | PASS
2 | 0.13795 | 0.16229 | 0.18663 | 0.1616 | PASS
3 | 0.1755 | 0.20648 | 0.23745 | 0.21102 | PASS
4 | 0.22329 | 0.26269 | 0.3021 | 0.26992 | PASS
5 | 0.28408 | 0.33421 | 0.38435 | 0.34994 | PASS
6 | 0.36143 | 0.42521 | 0.48899 | 0.42028 | PASS
7 | 0.45983 | 0.54098 | 0.62212 | 0.5417 | PASS
8 | 0.58503 | 0.68827 | 0.79151 | 0.69201 | PASS
9 | 0.74431 | 0.87566 | 1.007 | 0.88318 | PASS
10 | 0.94696 | 1.1141 | 1.2812 | 1.1351 | PASS
11 | 1.2048 | 1.4174 | 1.63 | 1.4462 | PASS
12 | 1.5328 | 1.8033 | 2.0738 | 1.8472 | PASS
13 | 1.9501 | 2.2943 | 2.6384 | 2.365 | PASS
14 | 2.4811 | 2.9189 | 3.3568 | 2.9916 | PASS
15 | 3.1566 | 3.7136 | 4.2707 | 3.8117 | PASS
16 | 4.016 | 4.7247 | 5.4334 | 4.8362 | PASS
17 | 5.1094 | 6.0111 | 6.9128 | 6.1846 | PASS
18 | 6.5005 | 7.6477 | 8.7949 | 7.962 | PASS
19 | 8.2704 | 9.7299 | 11.1894 | 10.0693 | PASS
20 | 10.5222 | 12.379 | 14.2359 | 12.4947 | PASS
21 | 13.387 | 15.7494 | 18.1118 | 15.9445 | PASS
22 | 17.0318 | 20.0374 | 23.043 | 20.9908 | PASS
23 | 21.6689 | 25.4929 | 29.3168 | 27.012 | PASS
24 | 27.5686 | 32.4337 | 37.2987 | 34.7609 | PASS
25 | 35.0746 | 41.2642 | 47.4538 | 38.2049 | PASS
26 | 44.6241 | 52.499 | 60.3738 | 50.5508 | PASS
27 | 56.7737 | 66.7926 | 76.8115 | 64.998 | PASS
28 | 72.2312 | 84.9778 | 97.7245 | 82.86 | PASS
29 | 91.8972 | 108.1143 | 124.3314 | 105.1292 | PASS
30 | 116.9175 | 137.55 | 158.1825 | 133.6443 | PASS
31 | 148.75 | 175 | 201.25 | 167.2378 | PASS